## I. & II. Design Summary
Red triangles at the upper right hand corner indicate design comments
Please complete the yellow shaded items.
STORMWATER MANAGEMENT PERMIT APPLICATION FORM
401 CERTIFICATION APPLICATION FORM
INFILTRATION BASIN SUPPLEMENT
This form must be filled out, printed and submitted.
The Required Items Checklist (Part III) must be printed, filled out and submitted along with all of the required information.
I. PROJECT INFORMATION
Project Name
Contact Person
Phone Number
Date
Drainage Area Number
II. DESIGN INFORMATION
Site Characteristics
Drainage area |  | ft2
Impervious area |  | ft2
Percent impervious |  | %
Design rainfall depth |  | in
Peak Flow Calculations
1-yr, 24-hr rainfall depth |  | in
1-yr, 24-hr intensity |  | in/hr
Pre-development 1-yr, 24-hr discharge |  | ft3/sec
Post-development 1-yr, 24-hr discharge |  | ft3/sec
Pre/Post 1-yr, 24-hr peak flow control |  | ft3/sec
Large Design Storm
Design Storm to control |  | yr
hr
Rainfall intensity, large design storm | 0 | in/hr
Peak flow, large design storm |  | ft3/sec
Length of overflow weir |  | ft
Storage Volume: Non-SA Waters
Minimum design volume required |  | ft3
Design volume provided |  | ft3
Storage Volume: SA Waters
1.5" runoff volume |  | ft3
Pre-development 1-yr, 24-hr runoff volume |  | ft3
Post-development 1-yr, 24-hr runoff volume |  | ft3
Minimum required volume |  | ft3
Volume provided |  | ft3
Soils Report Summary
Soil type
Infiltration rate |  | in/hr
SHWT elevation |  | fmsl
Basin Design Parameters
Drawdown time |  | days
Basin side slopes |  | :1
Basin bottom elevation |  | fmsl
Storage elevation |  | fmsl
Storage Surface Area |  | ft2
Top elevation |  | fmsl
Basin Bottom Dimensions
Basin length |  | ft
Basin width |  | ft
Bottom Surface Area |  | ft2
Additional Information
Maximum runoff to each inlet to the basin? |  | ac-in
Length of vegetative filter for overflow |  | ft
Distance to structure |  | ft
Distance from surface waters |  | ft
Distance from water supply well(s) |  | ft
Separation from impervious soil layer |  | ft
Naturally occuring soil above shwt |  | ft
Bottom covered with 4-in of clean sand? |  | (Y or N)
Proposed drainage easement provided? |  | (Y or N)
Capures all runoff at ultimate build-out? |  | (Y or N)
Bypass provided for larger storms? |  | (Y or N)
Pretreatment device provided
Note on A16: For projects with multiple drainage areas, as identified on the plans.
Note on A23: 1.5 in. for SA waters and for CAMA Ph. II counties, 1.0 in. for others For Ph. II SR waters it is the difference in depth from the pre-development 1-yr, 24-hr storm runoffand the post-development 1-yr, 24-hr storm runoff.
Note on A49: Must include copy of soils report with application.
Note on A51: Infiltration rate must be a minimum of 0.52 inches per hour.
Note on A52: Seasonal High Water Table from soils report. All elevations shall be in feet mean sea level (fmsl).
Note on A38: Only complete if NOT within 1/2 mile & draining to an SA water.
Note on A65: Bottom surface area is the area used to calculate the drawdown time.
Note on A69: Minimum length of 50-feet for SA waters. Minimum length of 30-feet for all others.
Note on A71: System must be located 50 feet from SA waters and 30 feet from all other waters.
Note on A42: Only complete if within 1/2 mile & draining to an SA water.
Note on A72: Must be at least 100 feet from water supply wells.
Note on A75: Bottom of the basin must be covered with a layer of clean sand to an average depth of 4 inches, unless native soils contain less than 2% fines.
Note on A78: Runoff in excess of the design volume must be bypassed.
Note on A79: List the type(s) provided. A pretreatment device such as a catch basin, grease trap, filter strip, forebay or sediment trap must be provided to minimize sedimentation of the infiltration basin.
Note on A32: kelly_johnson: Example, 25-yr, 24-hr storm
Note on B34: kelly_johnson: Consult http://hdsc.nws.noaa.gov/hdsc/pfds/ or other qualified reference
Note on A57: All elevations shall be in feet mean sea level (fmsl).
Note on A58: All elevations shall be in feet mean sea level (fmsl).
Note on A60: All elevations shall be in feet mean sea level (fmsl).
Note on A59: Provide the surface area at the storage elevation
Note on A25: For projects in Phase II areas: The treatment volume must discharge at a rate less than or equal to the pre-development 1-year, 24-hour discharge rate. This section must also be completed if the treatment volume is based on the difference in the pre / post development 1-yr, 24-hr rainfall

## III. Required Items Checklist
III. REQUIRED ITEMS CHECKLIST
Please indicate the page or plan sheet numbers where the supporting documentation can be found. An incomplete submittal package will result in a request for additional information. This will delay final review and approval of the project. Initial in the space provided to indicate the following design requirements have been met. If the applicant has designated an agent, the agent may initial below. If a requirement has not been met, attach justification.
Initials | Page/ Plan Sheet No.
________ | _________ | 1. | Plans (1" - 50' or larger) of the entire site showing: - Design at ultimate build-out, - Off-site drainage (if applicable), - Delineated drainage basins (include Rational C coefficient per basin), - Basin dimensions, - Pretreatment system, - High flow bypass system, - Maintenance access, - Proposed drainage easement and public right of way (ROW), - Overflow device, and - Boundaries of drainage easement.
________ | _________ | 2. | Partial plan (1" = 30' or larger) and details for the infiltration basin showing: - Bypass structure, - Maintenance access, - Basin bottom dimensions, - Basin cross-section with benchmark for sediment cleanout, - Flow distribution detail for inflow, - Vegetated filter, and - Pretreatment device.
________ | _________ | 3. | Section view of the infiltration basin (1" = 20' or larger) showing: - Pretreatment and treatment areas, and - Inlet and outlet structures.
________ | _________ | 4. | A table of elevations, areas, incremental volumes & accumulated volumes to verify the volume provided.
________ | ________ | 5. | A soils report that is based upon an actual field investigation, soil borings, and infiltration tests. The results of the soils report must be verified in the field by DWQ, by completing & submitting the soils investigation request form. County soil maps are not an acceptable source of soils information.
________ | ________ | 6. | A construction sequence that shows how the infitlration basin will be protected from sediment until the entire drainage area is stabilized.
________ | ________ | 7. | The supporting calculations.
________ | ________ | 8. | A copy of the signed and notarized operation and maintenance (O&M) agreement.
________ | ________ | 9. | A copy of the deed restrictions (if required).