**LIMIT VIOLATION DISCHARGE MONITORING REPORT (DMR) – WASTEWATER**

***SUBMIT TO REGIONAL OFFICE\****

**General Permit No. NCG140000**

\*Use this form if any wastewater samples have EXCEEDED A WASTEWATER LIMIT for any parameter.

Send sample results to the DEMLR Regional Office *within 30 days of receipt from the laboratory*.

Certificate of Coverage No. NCG14 [ ] [ ] [ ] [ ]

Facility Name: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Sample Collection Period: Qtr 1 [ ]  Qtr 2 **[ ]** Qtr 3 [ ]  Qtr 4 **[ ]** Calendar Year \_\_\_\_\_\_\_\_\_

County: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ If Monthly Monitoring: Month\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Phone Number: (\_\_\_\_\_)\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Person Collecting Samples: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Certified Laboratory: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Lab # \_\_\_\_\_\_\_

 \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Lab # \_\_\_\_\_\_\_

**Discharge to HQW or ORW waters? Yes [ ]  No [ ]**

**Discharge to SA waters? Yes [ ]  No [ ]  Discharge to Tr (Trout) waters? Yes [ ]  No [ ]**

**Discharge to SB or PNA waters? Yes [ ]  No [ ]  If HQW, what is the 7Q10 flow rate? \_\_\_\_\_\_\_\_\_\_ or Tidal, 7Q10 not available [ ]**

**Wastewater Monitoring Requirements**

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | **Total Suspended Solids (TSS), mg/l** | **Settleable Solids,****ml/l*****if applicable*** |  |
| **Outfall****No.** | **Date Sample Collected** | **Daily Flow Rate, cfs** |  **pH,****SU** | **Non-Polar O&G (EPA Method 1664 (SGT-HEM)), mg/l** |
| - | **mo/dd/yr** **or “NO FLOW”** | **HQW or ORW****50% of 7Q10*****Indicate NO FLOW if applicable*** | **freshwater****6.0-9.0saltwater6.8-8.5** | **Standard****30****HQW****20****HQW / ORW and Tr, or PNA****10** | **HQW, ORW, SA, SB, PNA, or any Trout****5** | **No Limit****Samples above Benchmark** **subject to Tiered Responses****15** |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |

Certificate of Coverage No. NCG14 [ ] [ ] [ ] [ ]

**Wastewater Monitoring Requirements**

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | **Total Suspended Solids (TSS), mg/l** | **Settleable Solids,****ml/l*****if applicable*** |  |
| **Outfall****No.** | **Date Sample Collected** | **Daily Flow Rate, cfs** |  **pH,****SU** | **Non-Polar O&G (EPA Method 1664 (SGT-HEM)), mg/l** |
| - | **mo/dd/yr** **or “NO FLOW”** | **HQW or ORW****50% of 7Q10*****Indicate NO FLOW if applicable*** | **freshwater****6.0-9.0saltwater6.8-8.5** | **Standard****30****HQW****20****HQW / ORW and Tr, or PNA****10** | **HQW, ORW, SA, SB, PNA, or any Trout****5** | **No Limit****Samples above Benchmark** **subject to Tiered Responses****15** |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |

Certificate of Coverage No. NCG14 [ ] [ ] [ ] [ ]

**CERTIFICATION**

"I certify, under penalty of law, that this document and all attachments were prepared under my direction or supervision in accordance with a system designed to assure that qualified personnel properly gather and evaluate the information submitted. Based on my inquiry of the person or persons who manage the system, or those persons directly responsible for gathering the information, the information submitted is, to the best of my knowledge and belief, true, accurate, and complete. I am aware that there are significant penalties for submitting false information, including the possibility of fines and imprisonment for knowing violations." *[Required by 40 CFR §122.22]*

Signature \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Date \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**Mail Limit Violation DMR to Your DEMLR Regional Office Land Quality Section:**

|  |  |  |
| --- | --- | --- |
| ASHEVILLE REGIONAL OFFICE2090 US Highway 70Swannanoa, NC 28778(828) 296-4500 | FAYETTEVILLE REGIONAL OFFICE225 Green StreetSystel Building Suite 714Fayetteville, NC 28301-5043(910) 433-3300 | MOORESVILLE REGIONAL OFFICE610 East Center Avenue/Suite 301Mooresville, NC 28115(704) 663-1699 |
| RALEIGH REGIONAL OFFICE3800 Barrett DriveRaleigh, NC 27609(919) 791-4200 | WASHINGTON REGIONAL OFFICE943 Washington Square MallWashington, NC 27889(252) 946-6481 | WILMINGTON REGIONAL OFFICE127 Cardinal Drive ExtensionWilmington, NC 28405-2845(910) 796-7215 |
| WINSTON-SALEM REGIONAL OFFICE450 Hanes Mill Road, Suite 300 Winston-Salem, NC 27103(336) 776-9800 | CENTRAL OFFICEQuestions for The Central Office Stormwater Permitting Program? (919) 707-9220 |  |