|  |  |  |
| --- | --- | --- |
| **UST-6H/23C** | **Triennial UST Piping Integrity Testing****(for components installed on or after 11/1/2007 or when returning** **any UST system to service from temporary closure)** |  |
| This form must be used to document pipe integrity testing (for piping not monitored continuously for releases using vacuum, pressure, or hydrostatic methods) for UST systems installed on or after November 1, 2007 (this includes existing UST systems that have installed or replaced the piping on or after November 1, 2007) or for any existing UST system conducting interstitial monitoring of the piping regardless of installation date prior to returning to service from temporary closure.* If there are more than five (5) piping systems at this facility, make additional copies of this page.
* The primary containment and interstitial space of the piping shall be tested in accordance with the manufacturers written guidelines and PEI/RP100 “Recommended Practice for Installation of Underground Liquid Storage Systems.”
* The last periodic tightness test record must be maintained by the tank owner/operators and must be readily available for inspection.
* If any periodic test fails, a suspected release report must be submitted on a UST-17A form, *UST Suspected Release 24 Hour Notice,* and investigated in accordance with 15A NCAC 2N .0603, and any defective equipment repaired in accordance with 15A NCAC 2N .0404/.0900. Results of the investigation must be submitted on a UST-17B form, *UST Suspected Release 7 Day Notice.*
* If the piping fails a tightness test, it must be replaced or repaired by the manufacturer or the manufacturer’s authorized representative in accordance with the manufacturer’s specifications. Following any repair, the piping must be re-tested for tightness.
 |
| **UST FACILITY** |
| Owner/Operator Name      | Facility Name      | Facility ID#:       |
| Facility Street Address      | Facility City      | County      |
| **TESTING CONTRACTOR INFORMATION** |
| Company Name      | Phone      | E-mail Address      |
| Mailing Address      | City      | State     | Zip      |
|  | I certify, under penalty of law, that the testing data provided on this form documents the UST system equipment was tested in accordance with the manufacturer’s guidelines and the applicable national industry standards listed in 15A NCAC 2N .0900. |  |
|  |       |  |  |  |  |
|  | Print Name of person conducting test |  |  | Signature of person conducting test |  |
| Identify piping system (By Tank Number, Stored Product, etc.) | **Tank #**      | **Tank #**      | **Tank #**      | **Tank #**      | **Tank #**      |
| **Tank Size** |       |       |       |       |       |
| **Product** |       |       |       |       |       |
| **Piping Type**(DW FRP, DW Flex, Other ) |       |       |       |       |       |
| **Piping Configuration** | [ ]  Gravity[ ]  Manifold[ ]  Pressurized[ ]  Suction | [ ]  Gravity[ ]  Manifold[ ]  Pressurized[ ]  Suction | [ ]  Gravity[ ]  Manifold[ ]  Pressurized[ ]  Suction | [ ]  Gravity[ ]  Manifold[ ]  Pressurized[ ]  Suction | [ ]  Gravity[ ]  Manifold[ ]  Pressurized[ ]  Suction |
| **Piping Manufacturer** |       |       |       |       |       |
| **Pipe Model (Part No.)** |       |       |       |       |       |
| **Indicate Test Phase:** [ ]  Triennial Testing [ ]  Post-Installation [ ]  Return to Service from Temporary Closure |
| **Test Date** |       |       |       |       |       |
| **A. Primary Pipe Test (Note: Must be a third-party certified tightness test)** (Attach test data sheets to form) |
| **Line Tightness Test Results Attached** | [ ]  Yes [ ]  No | [ ]  Yes [ ]  No | [ ]  Yes [ ]  No | [ ]  Yes [ ]  No | [ ]  Yes [ ]  No |
| **B. Secondary Interstice Test (Indicate units for all measurements)** |
| Begin ị End test time |       |       |       |       |       |       |       |       |       |       |
| Begin ị End pressure |       |       |       |       |       |       |       |       |       |       |
| **Secondary Test Result** | [ ]  Pass [ ]  Fail | [ ]  Pass [ ]  Fail | [ ]  Pass [ ]  Fail | [ ]  Pass [ ]  Fail | [ ]  Pass [ ]  Fail |
| Comments and explanation of failing results and other problems noted during inspection: |
|  |       |  |
|  |       |  |
|  |       |  |
| NORTH CAROLINA DEPARTMENT OF ENVIRONMENTAL QUALITY, DIVISION OF WASTE MANAGEMENT, UST SECTION1646 MAIL SERVICE CENTER, RALEIGH, NC 27699-1646 PHONE (919) 707-8171 FAX (919) 715-1117 http://www.wastenotnc.org/web/wm 10/15 |