NORTH CAROLINA DEPARTMENT OF ENVIRONMENT & NATURAL RESOURCES

DIVISION OF WASTE MANAGEMENT

LEAKING PETROLEUM UNDERGROUND STORAGE TANK CLEANUP FUNDS

REASONABLE & NECESSARY TASK SCOPE-OF-WORK DOCUMENT

This document provides definitions and scopes-of-work of tasks that may be required to be performed in accordance with North Carolina General Statutes and Regulations at sites contaminated as a result of releases from petroleum underground storage tank systems.  Claims that are submitted to the Leaking Petroleum Underground Storage Tank Cleanup Funds must be prepared using the task codes listed in this document.  For the most recent maximum rates allowed for these tasks, please check the Price List located on the UST Section’s web site at http://portal.ncdenr.org/web/wm/ust/rrd or call the UST Section at (919) 733-8486.

## The reimbursable tasks described in this document are those that have been determined by the Department to be specifically related to environmental assessment and cleanup of contamination from leaking petroleum underground storage tanks (USTs) and are in no way inclusive of all required tasks to be performed.  Items not specifically mentioned in this document are not reimbursable.  The Department will consider items not listed within this document, that are required in order to conduct assessment or remedial activities as required by the Department, on a case by case basis. Some costs incurred by UST owners, operators and landowners are not reimbursable pursuant to regulation [15A NCAC 2P .0402(b)].  Such regulated non-reimbursable costs include:

- Costs of the removal and disposal of noncommercial underground storage tanks and contents removed on or after July 3, 1991, and of commercial underground storage tanks and contents removed on or after January 1, 1992.  This includes any materials necessary to be removed in order to access the USTs such as asphalt, concrete, overburden soils, etc.;

- Costs of the replacement of any underground storage tank, piping, fitting, or ancillary equipment such as, but not limited to, pump islands or canopies.  This includes asphalt, concrete, etc. if the system is not being permanently removed.;

- Costs incurred in preparation of any proposals or bid by a provider of service for the purpose of soliciting or bidding for the opportunity to perform an environmental investigation or cleanup, even if that provider is ultimately selected to provide the service solicited unless specifically requested by the Department as part of the Department’s responsibility to ensure cost-effective cleanups;

4.	Interest on any accounts, loans, etc.;

5. 	Expenses charged by the owner or operator or landowner in the processing and management of a

reimbursement application or subsequent claims;

6. 	Attorney's fees;

7. 	Penalties, fees, and fines assessed by any court or agency;

8.	Loss of profits, fees, and wages incurred by the owner or operator or landowner;

9. 	Costs incurred during cleanup if pre-approval of the cleanup tasks and associated costs was not obtained from the Division. Pre-approval is not required for Certain initial abatement and Limited Site Assessment activities or for costs determined by the Division to be related to emergency response actions.  It is the responsibility of the Responsible Party or their designate to contact the Regional Office concerning any questions concerning the pre-approval needs of an activity prior to the work being performed;

10.	Any other expenses not specifically related to environmental cleanup, or implementation of a cost effective environmental cleanup, or third party bodily injury or property damage.

If charges incurred by the Responsible Party exceed the listed rates within this document, then all costs above the listed rates will be the responsibility of the Responsible Party.  If you have any questions regarding the appropriate task to use for an activity, whether a task requires pre-approval or if you have any questions concerning this document, please contact the UST Section at (919) 733-8486.

## Important Reimbursement Notes:

## If you discover an error or discrepancy within the document, it is the responsibility of the individual preparing the claim to contact the Trust Fund Branch at (919) 733-8486 for clarification prior to claim submittal.

- Please note that any task (for which bidding is required as indicated in the RRD) where costs are expected to exceed $2,000 but less than $25,000 must receive three (3) competitive bids and bids greater than $25,000 must receive five (5) competitive bids prior to the initiation of the action except where otherwise noted.  The bids shall include any and all costs necessary to do the work as outlined in the bid requests as well as all taxes, shipping and handling charges.  Bids must be itemized by costs for material components, labor types and rates, rental equipment, etc.  Lump sum bids will not be accepted.  Only the lowest bid will be reimbursed.  Invoices must be broken down in accordance with the bid. Failure to provide the required bid information will result in the claim being reimbursed for the maximum non-bid amount ($2,000).  This being said, items that fall under the $2,000 bidding requirement must still be justified as to the requested cost.  The Trust Fund reserves the right to reject any and all bids or item invoices that it finds unreasonable.

- Cost is defined as that actual cost of conducting the work that can be supported by invoices and an itemized breakdown of the time and materials used in conducting the work.  If you are a responsible party that conducts the work yourself, owns your own environmental service company, or environmental contractor and equipment then actual costs are limited to those immediate costs to conduct the work.  Responsible parties are not allowed to “profit” from the contamination.  This includes the selling of any materials or equipment that has been reimbursed by the Trust Fund.

- The Trust Fund does not reimburse for property transaction investigations of potential releases (Environmental Site Assessments, Transaction Screening Audits, etc.) or for maintenance activities to comply with operating permit requirements under 15A NCAC 2N to investigate, locate, and repair existing system leaks (tightness testing, cathodic protection tests, Site Check, smoke testing, etc.).  However, it is possible in some cases to utilize a portion of the data from these ineligible events in a subsequent eligible abatement or assessment phase to avoid duplicate sampling at locations that have already been investigated.

Where some of earlier investigations were positioned and analyzed such that they may be utilized in one of these subsequent phases, the Trust Fund will consider those earlier costs to be applicable during that later stage.  For instance, if an incident manager agrees that a few soil samples from an ESA or Site Check can be used to create abatement over-excavation boundaries rather than recollecting confirmation samples in the same area, the analytical costs for those samples can be claimed as part of the eligible initial abatement.  If a monitoring well installed during one of these ineligible investigations is acceptable as a source area well, the installation, supervision, sampling and applicable analytical samples from that well can be claimed in the LSA lump sums (Task Code 2.600 or 2.610).  Similarly, where some of the soil or groundwater data be used to substitute for the new plume delineation samples during the Comprehensive Site Assessment, the boring/well installation, supervision, sampling, and analytical for those selected samples can be included in the CSA claim.  Any claim for portions of the ineligible investigations must include documentation showing exactly what was reused in the eligible assessment or abatement phases included in the claim.  Other data that are not considered valid substitutions for sampling during later phases would not be reimbursable.

- Energy surcharges will not be reimbursed.  The Department will periodically review mileage rates due to the fluctuating fuel prices and issue a price clarification if warranted.

## ACRONYMS USED IN THIS DOCUMENT

| AFVR | Aggressive Fluid-Vapor Recovery | NOV | Notice of Violation |
| --- | --- | --- | --- |
| AS | Insitu Air Sparging (groundwater) | NPDES | National Pollutant Discharge Elimination System |
| ASTM | American Society for Testing and Materials | NRP | Notice of Residual Petroleum |
| BOD/COD | Biological / Chemical Oxygen Demand | O&M | Operation and Maintenance |
| BTEX | Benzene, Toluene, Ethylbenzene, & Xylene | ORP | Oxygen Reduction Potential |
| CAMA | Coastal Area Management Act | OVA | Organic Vapor Analyzer |
| CAP | Corrective Action Plan | PAHs | Polycyclic Aromatic Hydrocarbons |
| CFM | Cubic Feet per Minute | PCB | Polychlorinated Biphenyls |
| CSA | Comprehensive Site Assessment | PID | Photo ionization Detector |
| DOT | Department of Transportation (NC) | POTW | Publicly Owned Treatment Works |
| DRO | Diesel Range Organics | QA/QC | Quality Assurance and Quality Control |
| DWQ | Division of Water Quality | RCRA | Resource Conservation & Recovery Act |
| EDB | Ethylene Dibromide | ROA | Right-of-Access |
| EMC | Environmental Management Commission | ROW | Right-of-Way |
| EPA | Environmental Protection Agency | RP | Responsible Party |
| GAC | Granular Activated Carbon | SDR | Standard Dimension Ratio |
| GC/MS | Gas Chromatography Mass Spectrometry | SOW | Scope of Work |
| GPM | Gallons Per Minute | STF | State Trust Fund |
| GRO | Gasoline Range Organics | SVE | Soil Vapor Extraction (soil) |
| IAAR | Initial Abatement Action Report | SVOC | Semi-Volatile Organic Compounds |
| IPE | Diisopropylether | TCLP | Toxicity Characteristic Leaching Procedure |
| LSA | Limited Site Assessment | TDS/TSS | Total Dissolved / Suspended Solids |
| MADEP | Massachusetts Department of Environmental Protection | TOC | Total Organic Carbon |
| MMPE | Mobile Multi-phase Extraction | TPH | Total Petroleum Hydrocarbons |
| MOBE | Mobilization to and from a site | ULOCO | Utility Locating Company |
| NCAC | North Carolina Administrative Code | UST | Underground Storage Tank |
| NOI | Notice of Intent | VOC | Volatile Organic Compounds |
| NORR | Notice of Regulatory Requirements | VRS | Vapor Recovery System (vapor abatement) |

TABLE OF CONTENTS

CODE	TASK	PAGE

# Section 1 - Pre-assessment Activities		10

1.010	Initial Project Review and Setup

1.020	Site Reconnaissance/Survey

1.025	Site Reconnaissance/Survey Update

1.040	Health and Safety Plan

1.050	Right-of-Access Agreements (Area Property Owners)

1.061	Request for Bid

## Section 2 – Release Investigation and Confirmation		13

Free Product Recovery		13

2.071	Cost of Free Product Evaluation

2.072	Cost for a Passive Skimmer

2.073	Installation and Service of Passive Skimmer

2.074	Hand Bailing of Free Product

Aggressive Fluid-Vapor Recovery		14

2.082	Field Supervision of AFVR

2.084	Cost for AFVR

2.085	Rental of AFVR Emission Control Equipment

2.086	Regulatory Reporting Requirements for AFVR

2.087	Free Product Level Check

###### Free Product/Vapor Recovery System		15

2.090	Specify Free Product/Vapor Recovery System

2.100	Cost for Free Product/Vapor Recovery System

  - Field Supervision for Installing Free Product/Vapor Recovery System

2.130	Cost for Installing Free Product/Vapor Recovery System

2.141	Cost for Free Product/Vapor Recovery System Maintenance

  - Maintenance and Operating Expenses for FP/VR System

  - Initial Site Check to Measure and Monitor Vapors

  - Cost for Leasing a Vapor Recovery System

###### Boom Maintenance		17

2.281	Boom & Sorbent Sock Maintenance

2.290	Cost for Booms and Sorbents

  - Cost for Drums

UST Removal, Closure and Assessment                                                                                  18

2.330	   Preparation of Work Plan for UST Closure:

2.340	   Prepare and Submit Local City or County Permits for UST Removal:

2.350	   Prepare and Submit the Notice of Intent (NOI):,

2.360	   Cost for the Removal of the Complete UST System and Contents:

2.370	   Cost for Removal and Disposal of Asphalt, Concrete, and Over-Burden:

2.381      Supervision of Initial Abatement Action Over-Excavation

  - Cost for Excavating and Stockpiling Soil During a UST Closure

  - Cost for Back-filling a Tank Pit for a UST Closure

2.413	Cost for a N.C. Professional Surveyor

  - Cost for Hauling/Disposal/Treatment of Contaminated Soil

  - Non-Regulated, Noncommercial UST Closure with Over-Excavation

2.510      Non-Regulated, Noncommercial UST In-Place Closure

2.520      Non-Regulated, Noncommercial UST Closure w/ Over-excavation and Groundwater

Assessment

  - Limited Site Assessment - Phase I

  - Commercial Limited Site Assessment – Combined Phase I & II

2.620      Limited Site Assessment Report (utilizing previously-obtained groundwater assessment                                                                             data)

# Section 3 – Field Assessment Services			28

Pre-Drilling Tasks			28

3.025	Clearing Access

3.030	DOT Encroachment Agreement (Monitoring Wells)

3.040	DOT Encroachment Agreement (Remedial Purposes)

3.060	Cost for a Utility Clearance (Subcontracted)

3.080	Procure Well Permits (All Phases of Drilling)

3.101	Supervision of Drilling Field Work

Multi-Phase Vertical Drilling			29

3.111	Soil Boring

3.112	1-inch Well

3.113	2-inch Well

3.114	4-inch Well

3.115	Cost for Telescoping Type III

3.116	   Cost for 1-inch Well using a Geoprobe

3.117	   Cost for 2-inch Well using a Geoprobe

###### Specialty Drilling			31

3.310	Cost for Specialty Drilling

###### Miscellaneous Items Related to Drilling		31

3.351	Measure Top of Well Casing Elevations (Surveying)

3.398	Cost for Drilling Equipment  Mobilization

3.399	Well Abandonment

3.400	Locking Remedial Well Vault

3.500	Drill Crew Per Diem

# Section 4 – Sampling & Analytical Costs			33

4.020	Cost for Stockpile Soil Composite Sampling

4.031	Cost for Sampling a Monitoring Well

4.041	Cost for Sampling Water Supply Wells

4.045  	Cost for Sampling Water Supply Wells (Third Party)

4.051	Cost for Sampling Surface Waters

4.060	Cost for Sampling Groundwater Influent & Effluent from a Pump & Treat System

4.070	Cost for Sampling Air Effluent from a Vapor Extraction System

4.090	Costs for Analytical and Shipping

Analytical Rate Table			36

4.095	Costs for Analytical and Shipping (Third Party)

### Section 5 - Field Testing & Evaluation		39

5.010	Slug Testing

5.020	Step Drawdown Test

5.030	12-Hour Aquifer Test

5.050	Soil Vapor Extraction Test

5.060	Air Sparge Test

5.070 	Contaminant Fate & Transport Modeling

5.080	Hydrogeological Parameter Test

Section 6 – Reports		41

6.010	20-Day Report

6.015	Initial Abatement Action Report

6.022	Free Product Recovery Report

(Subsequent Reports after Initial Abatement Action Report)

6.040	Comprehensive Site Assessment (CSA) Report (Soil only; High & Intermediate. Risk Sites)

6.041	Soil Assessment Report (Low Risk Sites only)

6.050	Comprehensive Site Assessment (CSA) Report

(Soil and Groundwater; High & Intermediate. Risk Sites)

6.060	Comprehensive Site Assessment (CSA) Report Addendum

6.070	Corrective Action Plan (CAP) with Proposed Remediation of

Groundwater and Soil (High & Intermediate. Risk Sites)

6.071	Corrective Action Plan (CAP) with Proposed Remediation

of Soil Only (High & Intermediate. Risk Sites)

6.080	Corrective Action Plan (CAP) using Natural Attenuation

6.081	Soil Cleanup Plan

6.082	Public Notification

6.090	Monitoring Report (Pre-CAP) (Initial Report)

6.091	Monitoring Report (Pre-CAP)

(Subsequent reports after initial Monitoring Report)

6.100	Remediation Monitoring Report (Initial Report)

6.101	Remediation Monitoring Report

(Subsequent reports after initial Remediation Monitoring Report)

6.120	System Enhancement Recommendations

6.121	New Technology Cleanup Plan

6.130	Air Emissions Monitoring Report

6.140	Non-Discharge Permit Report

6.150	POTW Monitoring Report

6.160	NPDES Monitoring Report

6.170	Site Closure Report

6.171	Soil Cleanup and Site Closure Report (Low Risk Sites)

  - Cost for a North Carolina Professional Surveyor for Deed Recordation/Restriction

  - Deed Recordation

6.180	Variance Request

6.190	Miscellaneous Letter Report

## Section 7 – Remedial Services		47

Design and Purchase Remedial System(s)		47

7.015	Design/Specify Remediation System(s)

7.020	Cost for a Turnkey Pump & Treat System

7.040	Cost for a Turnkey SVE System

7.060	Cost for a Turnkey AS System

7.065	Cost for Multiple Technology Remediation System

Installation of Remediation System(s)		48

7.081	Field Supervision of Remediation System Installation and Startup

7.100	Cost for Installing Remediation System and Startup

Installation of Recovery Trench(es)		48

7.121	Field Supervision of Recovery Trench Installation

7.140	Cost for Installing Recovery Trench

Installation of Infiltration Galleries		49

7.161	Field Supervision of Infiltration Gallery Installation

7.180	Cost for Installing Infiltration Galleries

Remediation System Operation and Maintenance		51

7.210	Cost for Remedial System Maintenance

7.250	Cost for Maintenance Supplies and Equipment for the Remedial System

7.260	Cost for Operating Expenses for the Remediation System

7.261	   Cost for GAC/AG Unit Replacement

Soil Excavation & Disposal		52

7.291	Field Supervision of Excavation and Back-filling

7.300	Cost for Soil Excavation and Back-filling

7.340	Cost for a N.C. Professional Land Surveyor

7.360	Cost for Treatment or Disposal of Contaminated Soil

Remedial Equipment Lease		53

7.390	Lease Charges for a Thermal or Catalytic Oxidizer

7.400	Purchase of a Thermal or Catalytic Oxidizer

  - Lease Charges for Remediation System

  - Lease Charges for Mobile Multi-Phase Extraction Systems

Relocation of Remedial Systems		54

7.500	Relocation of Remedial Systems

## Section 8 – Permits		55

Soil Disposal/Treatment Permits		38

8.010	Certificate of Disposal (GW-71)

8.020	Permit for Land Application (GW-70 or GW-70A)

8.030	Agreement for Land Application (GW-72)

Remedial Permits		55

8.040	Air Quality Permit where Required (for remedial systems)

8.041	Air Quality Registration (for remedial systems)

8.050	Injection Well Permit

8.060	Non-Discharge Permit

8.070	NPDES Individual Permit (Water Quality)

8.080	NPDES General Permit (Water Quality)

8.090	POTW Discharge Permit

8.091	CAMA Permit (Minor Development)

8.092	CAMA Permit (Major Development)

  - Cost for Permit Fees (any permit)

8.105	Cost for Well Permit Fees

  - Cost for Performing a Variance to any Permit

## Section 9 – Disposal Services		59

9.020	Cost for Disposal of Free Product and Contaminated Groundwater

9.040	Cost for Disposal of Sorbents (booms, carbon, etc.)

9.060	Cost for Disposal of Drummed Soil (from Drilling)

## Section 10 – Site Restoration		60

10.010	Structure Repair or Restoration

10.030	Cost for Repairing Utilities

10.050	Cost for Repairing Landscaping

10.070     Cost for Repairing Asphalt and/or Concrete

## Section 11 – Connecting to Public Water		62

11.020	Agreements to Connect Water Supply Well Users to Public Water

11.040	Coordination and Verification of Water Line Connection

11.050	Cost for Water Line Connections

Section 12 – Travel Time & Lodging		63

12.010	Required Consultant Travel (One Person)

12.030	Overnight Lodging

Section 1 - Pre-assessment Activities

1.010

Initial Project Review and Setup: This SOW includes review of existing site data, including incident information, past site history, agency requirements (NOV, NORR, etc.), previous assessments and remediation (closure reports, CSA, CAP, etc.).  SOW assumes client will provide consultant with all available information plus all reimbursement documentation.  SOW will also include one visit to the appropriate Regional Office to copy and review any needed documentation.  SOW includes file-copying costs, consultant mileage and travel time. This task is allowable only when a new primary consultant begins work at a site where an Initial Abatement Action Report has been generated by a prior consultant.  Subcontractors are not eligible for reimbursement of this task.  This task is not repeatable.  Responsible parties who contract with Environmental Service Providers and then change providers for whatever reason, will be responsible for this task after the initial payment. This task does not apply for changes in project managers within a firm, contracts maintained by the same project manager when changing firms, the reactivation of years-dormant sites by the same firm responsible for the prior work, or for internal reorganization following a merger or takeover of one firm by another.

1.020

Site Reconnaissance and Receptor Survey:  This SOW will consist of locating and identifying any potential receptors such as supply wells, unconfined or semi-confined deeper aquifers in the Coastal Plain physiographic region which the Department has determined is being used or may be used as a source of drinking water, surface waters, wellhead protection areas, basements and public utilities within 1,500 feet of the discharge, release or known extent of contamination. Determine the geographic coordinates using either a GPS or address matching for each potential receptor which can be described by a point location. Lat/Long will be reported in decimal degrees to six decimal places.  Identify all potentially affected parties and include names and property and mailing addresses in a table matching the format of Table B-5 located in the appendices of the guidelines. This SOW will also consist of gathering information about the site so that a detailed site map can be generated from field observations (i.e. location of discharge and extent, identify all receptors, monitoring wells, and other site features).  SOW will include review of city or county tax maps, local topographical maps, local or DOT aerial maps, city or county public utility maps.  SOW includes project manager oversight and staff level persons (or equal) to perform fieldwork, telephone coordination with property owners and local city and state government agencies.  SOW includes data review, evaluation, reporting (client, property owners, Regional Office), consultant mileage and per diems and the purchase of required maps. If this task has already been completed, it should only be duplicated where requested and pre-approved by the Division under Task 1.025 below.

1.025

Site Reconnaissance and Receptor Survey Update: This task is to be conducted when specifically  requested by the Regional Office and pre-approved by the Division.  Pre-approval of this task should not exceed one receptor survey per every five years unless other site-specific information determines a need for the update.  The RP is expected (by rule and guideline) to review the status of potential receptors continuously, providing updates of the status with every report submitted.  Such a review does not demand a full survey.  The scope of this task is similar to that of task 1.020.  The consultant is expected to review the current site reconnaissance/survey report on file and to update the well user information and/or waterline information.  The report should consist of an updated table of the well users in the area and an updated map. SOW includes data review, evaluation, reporting (client, property owners, Regional Office), consultant mileage and per diems and the purchase of required maps.  If a previous consultant has already completed this task, it should not be duplicated unless requested and pre-approved by the Regional Office.

1.040

Health and Safety Plan: The SOW includes preparation of a health and safety plan for all planned activities at the site which includes drilling, excavation, back-filling and any other activities that requires heavy or mobile equipment.  Plan should be generated from data gathered in Task 1.020 and 1.025 (if applicable) and should be in accordance with OSHA regulations (29 CFR 1910.120). The Regional Office, prior to requesting reimbursement for this task, must have received the Health and Safety Plan or no reimbursement will be approved.  This task is repeatable only if there is a change in the primary consultant at the site.

1.050

Right-of-Access Agreements (Area Property Owners): This SOW consists of presenting and acquiring a right-of-access from adjacent and nearby property owners.  Access purposes include; borings and soil sampling, monitor and remedial well installation, easements, and soil excavation, or other activities resulting in material or legal changes to the property.  This task is not applicable for simple door-knock access to obtain information such as receptor status, surveyor measurements for mapping purposes, water supply well sampling, etc.  The consultant will be responsible for his or her own standard access agreement format. SOW will include a third attempt to access adjacent properties for the purposes listed above.  SOW will also include a meeting with the subject property owner to reconcile any problems or attempt to clarify the need to have access as well as all consultant time and mileage. Restrictions to and contact requirements of this agreement will be at the discretion of the RP and/or property owner, and will be addressed within the maximum amount allowed per property for access  (i.e., multiple access events cannot exceed the maximum rate per property over the lifetime of the site). ROA’s are to be between the Property Owner and the RP & their agents (whoever their agent may be at any given time). The UST Section must be notified upon failure to obtain a signed right-of-access agreement. Unsuccessful agreements may be reimbursed as long as the consultant can provide sufficient documentation (certified mail, statements from the property owner, etc) that three attempts were made to contact the individual and all return correspondence from the property owner have been received. Price is per final agreement and is for the life of work on the property.

1.061

Request for Bid (Bid Solicitation Package Preparation and Distribution): This SOW consists of preparing (1) a quotation form and (2) a copy of technical specifications and drawings (where applicable), providing a copy of the quotation form and technical specifications and drawings (where applicable) to the UST Section incident manager for review and modification where required.  Submittal of: (1) the quotation form and (2) technical specifications and drawings (where applicable) to appropriate service providers and the receipt and processing of completed forms upon return. Bid requests must reference the applicable task codes for which the bid is being placed and include any and all costs necessary to do the work as outlined in the quotation forms as well as all taxes, shipping and handling charges.  Bids must be itemized by costs for material components, labor types and rates, rental equipment, etc. Lump sum bids without a cost breakdown will not be accepted.  If multiple tasks are being bid, each task must have a total amount specific for the work to be conducted within that task.

Bids are to be requested directly from a subcontractor capable of conducting the work.  Bids from general contractors or other intermediary subcontractors may only be accepted if shown to be more cost effective on system installation activities (Task 7.100) where several different professional service subcontractors will be required to complete the scope of work.   At least one bid must be solicited from a provider local to the site itself to allow for the comparison of the impact of travel costs among all bidders.  Where the consultant wishes to compete for the work themselves, their finalized bid plus a list of the prospective bidders must be provided with the pre-approval request for this task (1.061).  Additionally, copies of the actual bids (or no-bid responses) should be forwarded directly from those providers to the Trust Fund (by fax, mail, or email) to maintain the submittal schedule requirements for consultant bidding.  Notarization will no longer be necessary for bids processed in this fashion.  Price base is for first three bids, with an additional amount to accommodate 5-bid sets.  Please complete and attach Secondary Form Sec-J.

Please note that any task (for which bidding is required as indicated in the RRD) where costs are expected to exceed $2,000 but less than $25,000 must receive three (3) competitive bids, and bids greater than $25,000 must receive five (5) competitive bids prior to the initiation of the action except where otherwise noted.  Only the lowest bid will be reimbursed. Failure to provide the required bid information will result in the claim being reimbursed for the maximum non-bid amount ($2,000).

Section 2 – Release Investigation and Confirmation

###### Free Product Recovery

2.071

Cost of Free Product Evaluation: This SOW must include a bail-down test to provide an estimate of the recovery rate of free product and an estimate of product thickness.  This activity is to be conducted while onsite for either well installation or sampling.  The bail-down test must be conducted until at least 90% recovery in the water level has occurred or the test has progressed for two hours.  It also includes all personnel, miscellaneous equipment and expendables.  SOW includes initial measurement and recording of groundwater depths and product in affected well(s).  It also includes bailing or pumping free product from affected well(s) ONE TIME plus proper storage of product once recovered.

This SOW will be used to determine the free product method that is most appropriate at the site.  Using the data collected from the initial bail-down test, subsequent free product recovery events that may be conducted and other data gathered in the course of regular assessment, the consultant will recommend a method of continued free product recovery. For free product evaluations performed during initial response and abatement, the reporting of results and conclusions should be incorporated into the next required report (24-hour , 20-Day, IAA, and/or LSA) following the format provided  for FPR reporting in each such report, as described in the UST Section Guidelines for Site Checks, Tank Closure, and Initial Response and Abatement and the Guidelines for Assessment and Corrective Action.  A separate Free Product Recovery Report (6.022), described in the Guidelines for Assessment and Corrective Action, may be required in the longer intervals between CSA, CAP, and monitoring reports, but as a rule FPR reporting should be incorporated into the CSA, CAP, and monitoring reports, following the specific format provided for those reports in the Guidelines for Assessment and Corrective Action.  This report shall be presented to the Regional Office in 45 days or at a time agreed to in writing by the Regional Office.  All activities must be completed in this category to receive reimbursement.  No additional Free Product recovery beyond one AFVR event will be considered or reimbursed until the UST Section receives this report.  This task shall not be duplicated unless requested and pre-approved by the Division. Please record and submit bailing information on Primary Form P-2a.  Price is per site, and only one "Free Product Recovery Report" is allowed for this task.

2.072

Cost for a Passive Skimmer: Contractor must provide a copy of the invoice. Provide a copy of the invitation to bid letter and the written bids as described in Task 1.061 above. This task requires pre-approval from this Section. Passive skimmers are considered bailers that store recovered product inside a built-in canister that is positioned inside a well, and not a typical disposable bailer. This task is not to be used for the installation or maintenance of sorbent socks. Price is cost.

2.073

Cost for Installation and Service of Passive Skimmer: SOW includes measurement and recording of groundwater depths and product thickness of each well requiring passive skimmers.  This SOW includes the installation of a passive skimmer, emptying of free product from skimmer, and proper storage of recovered product.  SOW includes all personnel, miscellaneous equipment, and expendables.  This task requires pre-approval from the UST Section and the Division.  Price is per well.

2.074

Hand Bailing of Free Product: Occasional hand bailing of a well MAY be reimbursed if the consultant meets all the following criteria:

- No special trip is required. That is, it is combined with an assessment activity already scheduled

- No additional personnel are assigned

- No additional mileage is requested

- No additional report is generated

- Free product amount must be more than just a sheen; at least 1/8 inch

- Task includes all expendables, and

- Measure and record groundwater depth and product thickness prior to bailing each well.

Please record and submit bailing information on Primary Form P-2a. This task requires pre-approval from the UST Section and the Division.  Price is per well.

Aggressive Fluid/Vapor Recovery (AFVR)

Please note: All AFVR  events must be pre-approved by the Division and the Free Product Recovery Report or Initial Abatement Action Report documenting AFVR as the most effective product recovery alternative must have been received and approved by the UST Section unless there is a written documented emergency response by a local fire official.  Nuisance ordors, or other concerns that do not represent exceedances of explosive concentrations (LELs) or health-based exposure limits (TWA, STEL, or IDLH) do not qualify as emergency responses.  (see Task 2.071).

2.082

Field Supervision of AFVR Event (Consultant): SOW includes the setup and all supervision of sub-contracted employees, not self, of one complete event of AFVR. If the Environmental Service Provider is conducting this work, then this task code is not eligible for reimbursement.  SOW will include helping the vacuum truck contractor setup as well as tabulating results (product and groundwater measurements before and after the event plus vacuum pressure on affected wells during the event).  SOW covers recording the amount of product and water recovered, vacuum radius of influence, etc. SOW includes all required labor and equipment to perform oversight. Required equipment also includes, but is not limited to, instrumentation for measuring temperature, velocity, relative humidity, and the concentration of emissions. On average a typical AFVR event should be run at least 8 continuous hours. Results of this event should be incorporated into the Free Product Report or Initial Abatement Action Report (see Section 6).

2.084

Cost for Aggressive Fluid / Vapor Recovery (AFVR) Event: As indicated above, this task requires pre-approval from the regional office and may not be used on single MWs with less than six inches of free product.  Along with the AFVR subcontractor invoice, the consultant must include the Secondary Form 2B. Please also write the corresponding task (2.084) on the AFVR subcontractor invoice. The vacuum truck must meet the minimum performance requirements of 400 cubic feet per minute at 24 inches of mercury and 100 cubic feet per minute at 27 inches of mercury in order to be eligible for reimbursement.  Please see Secondary Form 2B for maximum rates.  Please complete and attach Secondary Form Sec-D and the subcontractor invoice.  Price is cost.

2.085

Rental of AFVR Emission Control Equipment (Outgassing Treatment): This SOW will only be allowed where state or local air requirements mandate emission control equipment during AFVR events.  This does not apply for emission monitoring equipment required for proper operation and evaluation of the recovery during an AFVR event, which is included in the hourly supervision rates under Task 2.082.  Please attach the vendor invoice.  Price is per day up to the purchase price of the equipment.

2.086

Regulatory Reporting Requirements for AFVR: This SOW will only be allowed where state or local regulators require emissions control data to be reported for AFVR events (see Task 2.085 above).  SOW includes any required public or governmental notification prior to and after the AFVR event.

2.087

Free Product Level Check:  This SOW includes all personnel and equipment necessary to measure the thickness and elevation of free product.  This task is to be conducted in conjunction with other activities at the site and is not eligible for reimbursement when conducted concurrently with Task Codes 2.082, 2.084 or 7.420, and may not be claimed for the same wells for which Task 4.031 is claimed.  Reimbursement for mileage for this task will only be allowed with written pre-approval from the Division.  Price is per well showing an accumulation of free product.  Dry wells are not eligible for this task code and must use Code #810 under Task 4.090.

Free Product/Vapor Recovery System

Please Note:  Vapor recovery under this section shall be defined as an abatement measure to withdraw or remove vapors that pose a documented threat to human health or results in a fire hazard or an explosion hazard as determined by the local fire marshal or fire department. Some examples include vapors in confined areas such as underground utilities, foundations, basements, etc. Vapor recovery under this section does not include vapor extraction for remediation of in-situ soil (i.e., Soil Vapor Extraction). Soil Vapor Extraction (SVE) is to be performed in later sections as part of corrective action (see Section 7).

2.090

Specify Free Product/Vapor Recovery System:  SOW includes developing specifications for a free product or vapor recovery system to meet the needs of the site.  If sorbent materials or passive skimmers are to be used and assuming the appropriate wells are in place, DO NOT use Task 2.130. For all passive skimmer installation and maintenance activities use Tasks 2.072 and 2.073.  For all sorbent installation and maintenance activities use Tasks 2.281 and 2.290. This task requires pre-approval from the UST Section and the Division.

2.100

Cost for a Free Product/Vapor Recovery System:  Along with the invoice, the consultant must provide a copy of the bid specification work plan, invitation to bid letter and the written bids as described in Task 1.061 above.(complete and submit Secondary Form Sec-J). This task requires pre-approval from this Section. Price is lowest bid cost. Please complete and attach Secondary Form Sec-J.

2.121

Field Supervision for Free Product/Vapor Recovery System Installation: SOW includes all required personnel to supervise installation performed by the subcontractor not to exceed 8-hours of field time per week with the exception of the initial start date of the installation and the completion date of the installation which is allowed eight total hours.  This task requires pre-approval from this Section. Price is per hour.

2.130

Cost to Install a Free Product/Vapor Recovery System:  Along with the subcontractor invoice, the consultant must provide a copy of the invitation to bid letter and written bids from those subcontractors as described in Task 1.061 above.  Please complete and attach Secondary Form Sec-J. SOW also includes startup and troubleshooting once system is installed. This task requires pre-approval from this Section. Price is lowest bid cost.

2.141

Cost for Free Product/Vapor Recovery System Maintenance: SOW includes a site visit to perform system check and maintenance.  SOW shall also include checking product levels and thickness in well(s), checking holding tank or drums for adequate storage of recovered product, arranging product disposal, and tabulating all data for compiling into the Free Product Report (see Section 6).  It is the responsibility of the consultant to provide detailed field notes sufficient to explain the activities being conducted along with a time breakdown for each activity.   It is highly recommended that the practice of rounding activities to the nearest quarter or half hour not be used because simple activities that have been rounded to default values may be deemed unreasonable in time and not reimbursed.  Please complete and attach Secondary Form Sec-E.  Mileage is to be claimed under Task Code 12.010.  Price is per hour.

2.150

Maintenance and Operating Expenses for Free Product/Vapor Recovery System:  SOW includes costs associated with maintenance supplies and overhead costs such as power bills.  Please complete and attach Secondary Form 2E plus the invoice(s).  Price is cost.

Typical operating and maintenance supplies include:

- Oil, belts, filters (compressor or skimmer components, etc.)

- Electrical components, drums or misc.

- Power bills, etc.

- Vapor Recovery (Emergency Response)

2.170

Initial Site Evaluation to Measure and Monitor Vapors: SOW includes office and field coordination to perform a site check to measure vapors plus visually locate source upon notification from the local fire officials of a documented explosive vapor situation. SOW includes notifying the local fire marshal or fire department to check the site for explosive vapors. Documentation of a report indicating an explosive potential from the fire marshal or fire department will be required for reimbursement of this task! SOW also includes notification of property owners and occupants of vapor hazards. Site check shall include all field personnel, and equipment to measure percent of oxygen and/or LEL  An OVA or a PID is not an acceptable instrument for measuring ambient vapors and should not be used. Instruments that measure % oxygen and/or % LEL should be used for this type of monitoring. SOW also includes notifying the Epidemiology Section for health risk evaluation only if best available instrumentation does not detect vapor hazards, but strong odors are persistent. This will require a site visit by the Epidemiology Section. SOW also includes reporting all information to the UST Section. This task requires pre-approval from this Section.  Price is per event.

Please Note: The consultant must evaluate if vapor recovery is necessary and make every effort to locate and remove the source prior to pursuing a VRS under Tasks 2.100 to 2.145 (where feasible). If vapor recovery is in fact needed, and the source cannot be isolated or removed, then the consultant should proceed with Task 2.090.

2.200

Cost for Leasing a Free Product / Vapor Recovery System:  Along with the invoice, the consultant must provide a copy of the invitation to bid letter and the written bids from those vendors as described in Task 1.061 above (include optional purchase price of VRS for comparison; complete and submit Secondary Form Sec-J). This task requires pre-approval from the UST Section.  Price is cost.

Please Note: The STF can only reimburse lease charges up to the purchase price of the equipment.

Boom Maintenance

2.281

Boom & Sorbent Sock Maintenance (Labor):  SOW shall include all field personnel required to mobilize booms and drums (if applicable) to the site. SOW will also include lying out or retrieving booms or sorbents to recover free floating product from impacted surface waters.  This also includes management of sorbent socks.  SOW will also include any additional area inspection for possible health risks or environmental impacts.  Please complete and attach Secondary Form Sec-E.  Price is per hour.

2.290

Cost for Booms and Sorbent Materials:  SOW will include purchasing and delivery of required booms and sorbents.  SOW includes submittal of the vendor invoice. Please complete and attach Secondary Form Sec-E.  Price is cost.

2.300

Cost for Drums: SOW will include purchasing and delivery of required drums to the site to store new and used booms and sorbents or free product. SOW includes properly sealing and labeling drums which contain used booms and sorbents or free product (cost excludes disposal, see Section 9).  This task is not to be used for the drumming of drill cuttings.  SOW includes submittal of the invoice.  Price is per drum.

UST Removal and Closure

Please Note: Many activities involved with the removal of USTs are not reimbursable.  These activities include, preparation of work plans for tank closure or removal, preparation and submittal of any and all required permits for tank closure or removal, preparation and submittal of a notice of intent for tank closure or removal, removal and disposal of the complete UST system (unless a non-commercial UST was removed on or before July, 7, 1991 or a commercial UST was removed on or before December 31, 1991) and its contents, removal and disposal and replacement of concrete, asphalt, or other UST System cover material, mobilization of any and all necessary equipment for the removal or closure of the tank system, rental of equipment for the removal of the tank system and supervision of the tank system removal and replacement of system cover material.

2.330

Preparation of Work Plan for UST Closure:  This SOW includes scheduling of field activities which will including procuring a contractor to remove and dispose of the complete UST system.  SOW will also include coordination and notification to all other subcontractors that will aid in the disposal and/or removal of the UST or UST system.  Please complete and attach Secondary Form Sec-A.1.  This task is not reimbursable.

2.340

Prepare and Submit Local City or County Permits for UST Removal:  The SOW includes preparation and submittal of required permits to remove the complete UST or UST system.  SOW includes the costs for these permits. Please complete and attach Secondary Form Sec-A.1.   This task is not reimbursable.

2.350

Prepare and Submit the Notice of Intent (NOI):  The SOW includes the preparation of a NOI to properly close the UST or UST system and submit the NOI to the appropriate regional office and in the case of a commercial, regulated UST, to the Permits and Inspections Branch of the UST Section.  The NOI should be included in the closure report and/or the Initial Abatement Action Report. Please complete and attach Secondary Form Sec-A.1.  This task is not reimbursable.

2.360

Cost for the Removal of the Complete UST System and Contents:  Please provide an invoice for the complete disposal of the UST system which includes the tanks, lines, dispensers, any ancillary equipment, tank contents, and fluids spilled as part of tank removal from the final disposal facility for the UST and the fluids. Please complete and attach Secondary Form Sec-A.1.  This task is not reimbursable.

2.370

Cost for Removal and Disposal of Asphalt, Concrete, and Over-Burden: Please provide an invoice for the complete disposal of asphalt, concrete, and/or over-burden necessary to be removed in order to remove the UST(s) which includes the final disposal facility for these materials. Please complete and attach Secondary Form Sec-A.1.  This task is not reimbursable.

2.381

Supervision of Initial Abatement Action Over-excavation: This SOW includes all labor, mileage/travel, and necessary equipment to supervise and manage stated, reimbursable subcontracted Initial Abatement Action excavation activities which include; required soil sampling of excavation and stockpiling of soil, soil disposal, back-filling of the over-excavation pit, and fill compaction.  The SOW will also include office support to assist with all certificates of disposal and manifests.  SOW will also include required field screening equipment as well as field sampling equipment and supplies (hand auger, sample jars, cooler(s), ice, packing, etc.).

The maximum reimbursable cost for these efforts is determined in relation to a sliding scale based on the actual tonnage removed.  As excavation footprints increase, the capacity of the excavation equipment should be adjusted as well, to accommodate the larger scale or work within a reasonable timeframe.  Overall, excavation supervision costs (in $) may not exceed the product of the following calculation: 141 times the square root of the total tonnage documented under Task 2.400 [or, 141*√(tonnage)].  The actual hourly rate billed may vary (within reason), depending on the skill level of staff tasked with completing the supervision, but the total reimbursed cost may not exceed the calculated maximum based on this equation.

Please complete and attach Primary Form P-2d and Secondary Form Sec-A.

2.400

Cost for Excavating Soil and Stockpiling During Excavation Associated with Initial Abatement Actions: SOW will include all necessary labor, equipment and materials to excavate and properly stockpile and/or load contaminated soil removed following the removal of a UST(s).  This includes any additional asphalt or concrete required to be removed in order to access the contaminated soils.  Excavations limits are 800 cubic yards for commercial sites and 38.5 cubic yards for non-commercial sites, exclusive of clean over-burden without prior Departmental authorization.  Removal of clean over-burden must be minimized in order to conform to the cost-effective cleanup requirements of the General Statutes.  Clean over-burden that is required to be removed in order to access and remove the contaminated soils that exceeds 50% of the volume and/or weight of the contaminated soils removed may require additional justification.  SOW includes submittal of the invoice.  Please complete and attach Secondary Form Sec-A.1.

Please Note: Stockpile sampling should be performed at the conclusion of the UST closure. If the stockpile samples indicate that the soils are not contaminated above those levels allowed to remain Insitu with petroleum by-products, then reimbursement for soil removal and/or purchase of new back fill will not be allowed.

Please Note: If contaminated soil cannot be weighed because it is being treated or disposed onsite, a North Carolina registered professional surveyor must be used to measure the stockpiled soil or the excavation for an exact volume and that same surveyor must perform and seal the calculations (Task 2.413). The total volume (cubic yards) should be converted to tons by multiplying by 1.5 if excavation was surveyed or 1.25 if stockpile was surveyed. This conversion to tons is required for proper bid evaluation.  The total tonnage must be documented in order to reimburse for costs associated with excavation during UST closure activities. A surveyors calculations may not be used in lieu of weight tickets for soils removed from the site for disposal.

2.410

Cost for Back-filling a Tank Pit following a Commercial UST Closure (and Non-commercial with a capacity 1,100 or more gallons) and Associated Initial Abatement Actions: This task includes all necessary labor, equipment and materials to properly backfill a tank pit as a result of a UST Removal or Closure. Cost includes back-filling tank pit with a like or equal material and includes the clean backfill. This SOW also includes necessary compaction where required.  Fill tonnage is not to exceed the tonnage removed plus the volume of the tanks removed.  SOW includes submittal of the invoice which lists both the volume and tonnage of fill material.  Please complete and attach Secondary Form Sec-A.1.

This cost is not considered to be site restoration and is not to be listed as such.

Please Note:  The contractor must supply an invoice showing the purchase of the fill material and the contractor’s invoice must reflect total tonnage of fill material.

2.413

Cost for NC Professional Surveyor (IAA Stockpile Survey):  This SOW covers the cost of a North Carolina registered professional surveyor used to measure all of the stockpiled soil or the final excavation for sites where the soils will be treated and disposed onsite. The surveyor’s signed and sealed calculations must be included with the claim. The total volume (cubic yards) should be converted to tons by multiplying by 1.5 if excavation was surveyed or 1.25 if stockpile was surveyed. This conversion to tons is required for proper claim evaluation. A surveyor’s calculations may not be used when contaminated soils are removed from the site for disposal. Only weight tickets that meet the requirements of the weights and measures law NCGS 81A-51(5) and are in accordance with Trust Fund policy memo dated August 1, 2006 titled, “Amendment to Reasonable Rate Document Policy Concerning Requirements for Determining the Weight of Soil Excavated or Disposed” can be provided as reimbursement documentation. SOW includes submittal of the surveyor’s invoice.  Price is per site.

Please Note: If all excavated soils are weighed, Task 2.413 will not be eligible for reimbursement.

Please Note: Where contaminated soil is loaded and hauled off site, it must be weighed and

substantiated with certified weight tickets signed by a licensed weighmaster!

2.415

Cost for Transport and Disposal of Contaminated Soil: This SOW includes all necessary labor, equipment and materials to properly load and haul contaminated soils generated during initial abatement activities. Manifests of disposal must be submitted with the claim along with certified weight tickets.  This SOW also includes all necessary labor, equipment and materials to properly dispose or treat contaminated soil generated during the initial abatement activities.  If the materials are not treated onsite, then an invoice from the disposal facility must be submitted for reimbursement. Treatment onsite must not exceed the cost of disposal at a licensed disposal facility.  Provide the soil stockpile analytical results with the Secondary Form Sec-A.1.   Reimbursement cannot exceed the actual invoiced amount.

Please Note: Only contaminated soils are to be removed!  Confirmation of contamination in excess of contaminant levels allowed to remain in situ is to be provided by the analytical results of the soil stockpile sample that is to be taken in accordance with the Guidelines for Ex-Situ Petroleum Contaminated Soil Remediation or Section 7.4, p.21, of the  UST Section Guidelines for Site Checks, Tank Closure, and Initial Response and Abatement.

All weight tickets must be in accordance with the Weights and Measures Act of 1975 NCGS 81A-51(5) and in accordance with Trust Fund policy memo dated August 1, 2006 titled, “Amendment to Reasonable Rate Document Policy Concerning Requirements for Determining the Weight of Soil Excavated or Disposed”.

2.500

Non-Regulated, Noncommercial UST Closure / Initial Abatement with Over-Excavation: This task is to be used for assessment and reporting following removal of a non-regulated, noncommercial UST with a confirmed release. This task is to be used if groundwater assessment is not required during the UST closure (see Tasks 2.510 and 2.520 below). This task excludes all removal and disposal costs for the tank and tank contents (i.e., fluids). The scope of work for this task includes:

- The collection and analysis of one (1) TPH tank closure sample under the former location of the tank, and one (1) TPH sample under the supply line (or as instructed in the Guidelines, Section 5.3.A and Table 1) for UST closure assessment;

- A health and safety plan;

- Excavation, backfill, compaction, consultant oversight, and disposal of up to 56.8 tons (38.5 cubic yards) of contaminated soils;

- Sampling and analytical costs for five (5) post-excavation confirmatory samples (four sidewall and one pit bottom sample via EPA Methods 8260 & 8270, and MADEP EPH/VPH, or per the Guidelines, Table 1), and one (1) composite soil stockpile TPH sample, (or sampling as instructed in the Guidelines, Section 7.1.C and 9.2.A);

- Site restoration, utility clearance, and consultant mileage with any per diems; and

- 20-Day Report and Initial Abatement Action (IAA) Report. UST Closure Reports are not eligible for reimbursement at non-regulated tank removals.  Closure activities and IAA are to be conducted in accordance with the UST Guidelines for Site Checks, Tank Closure, and Initial Response and Abatement and this SOW.

After determining that a release has occurred either by analyzing samples, OVA readings, observing free product or stained soil, and after removing the UST from the ground, the responsible party or their agent must excavate in the area of the release a minimum of 125 cubic feet (4.63 cubic yards or 6.8 tons) of soils to qualify for this task code. If, after removal of the 6.8 tons of contaminated soils obvious soil contamination remains, the responsible party or their agent shall continue to excavate those contaminated soils that do not require structural supporting of the foundation of the primary structure up to a maximum of 915 cubic feet (33.9 cubic yards or 50 tons). The incident manager may authorize further excavation beyond 38.5 cubic yards in writing prior to the performance of the additional work. All soil removed for certified weight tickets must document offsite disposal. If the tank is located at or on the water table or bedrock, or the water table is encountered during the over-excavation activities, please contact the incident manager and proceed with the completion of the scope of work in Task 2.520.  After excavation, the consultant shall collect samples to be analyzed for EPA Methods 8260 and 8270 and MADEP EPH/VPH in accordance with the UST Guidelines for Site Checks, Tank Closure, and Initial Response and Abatement. The incident manager may authorize additional sampling activities based on site-specific concerns.

Complete the section for Task 2.500 on Secondary Form Sec-B Part I and, where applicable, provide a copy of the written authorization from the incident manager for additional over-excavation or sampling.  If the incident manager approves further excavation beyond 38.5 cubic yards, reimbursement will be increased for each ton excavated, back-filled and disposed of using the rates described in Secondary Form Sec-B.

Please Note: If a Phase I Limited Site Assessment is required following tank closure utilizing Task 2.500, the LSA should be conducted and claimed under Task 2.600 – Phase I Limited Site

Assessment.

Failure to complete the basic excavation and sampling requirements of this task may result in denial of all costs for this and other subsequent tasks.  Failure to complete the full scope of work for this task will result in the reimbursement of only the applicable portions of the task, as described in the attached Secondary Form Sec-B. Copies of the written authorization from the incident manager for any additional excavation or sampling costs must be submitted with the claim package to receive reimbursement.

2.510

Non-Regulated, Noncommercial UST In Situ Closure / Initial Abatement Action: Where a non-regulated, noncommercial tank with a confirmed release cannot be removed because it is wholly or partially located under the foundation of a primary structure, the UST Section incident manager may issue written approval for the tank to be closed in place. In-place closures shall be conducted in accordance with Section 5.3C of the Guidelines for Site Checks, Tank Closure, and Initial Response and Abatement. This task excludes all removal and disposal costs for the tank contents (i.e., fluids), as well as the cost for cleaning and filling the tank with inert materials. Where the incident manager grants written approval for in-place tank closure, reimbursement for

the task may be allowed as follows:

- The collection and analysis of at least four (4) TPH tank closure samples from around the perimeter of the tank (one sample per sidewall), one (1) TPH sample under the supply line, and one (1) TPH sample at the fill port (or as instructed in the Guidelines, Section 5.3.C and Table 1) for in-place UST closure assessment;

- A health and safety plan;

- Over-excavation of accessible contaminated soil around the tank and lines, backfill, compaction, consultant oversight, and disposal of up to 56.8 tons (38.5 cubic yards) of contaminated soils;

- Sampling and analytical costs for a maximum of six (6) soil samples (Methods EPA 8260, EPA 8270, and MADEP EPH/VPH, or per the Guidelines, Table 1) for additional risk-based assessment around the perimeter of the tank where the initial TPH closure sampling results exceeded the action limit of 10 ppm, and/or post-excavation confirmatory samples including one (1) composite soil stockpile TPH sample (or sampling as instructed in the Guidelines, Section 7.1.C and 9.2.A). (Note: In areas where no excavation will occur, risk-based tank closure assessment samples should be collected during the initial soil sampling activities under #1 above, and ‘held’ by the laboratory pending the results for the associated TPH samples. Care should be taken to insure compliance with any applicable hold times, including sample extraction, where appropriate. Along the tank perimeter where excavation is expected at tank closure, the risk-based tank closure assessment samples should not be collected during the initial soil sampling activities in #1 above. Instead, collect the sample(s) for that area on the pit bottom and side wall(s) of the final excavation.);

- Advancement of three (3) soil borings up to 24 feet in total depth (~8 feet per boring);

- Installation of one (1) monitoring well up to 25 feet in depth including analysis of one  groundwater sample in accordance with Table 4, Row 2 of the Guidelines (Note: the fourth perimeter soil sample should be collected during the installation of this well.);

- Site restoration, utility clearance, and consultant mileage with any per diems; and

- 20-Day Report and Initial Abatement Action (IAA) Report.

If the tank closure is conducted before the incident manager grants approval, reimbursement will not be allowed for this or any further work at the site. If the tank is not wholly or partially located under the foundation of the primary structure and a release is confirmed from the tank, the responsible party or their agent must complete Task 2.500 prior to conducting any further work.  Tanks located under structures without foundations, such as driveways, sidewalks, decks, patios, poured-slab carports, heat pumps, fences, sheds, walls, ornamental objects/structures, etc., are not considered eligible for in place closure under this task. The only exception to this restriction will be for large (greater than 3 feet in diameter), trees or certified historic structures where removal will destroy the structure.  Complete Secondary Form Sec-B and, where applicable, provide a copy of the written authorization for additional over-excavation or sampling from the UST Section incident manager. If additional soil boring footage beyond 24’ total or an increased well depth beyond 25’ total is required to obtain appropriate samples, the additional footage may be claimed Secondary Form Sec-B Part II with attached documentation of the footage and depth to water.

Please Note: If a Phase I Limited Site Assessment (LSA) is required following tank closure utilizing Task 2.510, the LSA should be conducted and claimed under Task 2.620 – Receptor Survey with Limited Site Assessment Report, as this in-place closure task includes coverage for the groundwater assessment activities. Task Code 2.600 may not be claimed for sites where Task 2.510 has been completed.

Failure to complete the basic excavation and sampling requirements of this task may result in denial of all costs for this and other subsequent tasks.  Failure to complete the full scope of work for this task will result in the reimbursement of only the applicable portions of the task, as described in the attached Secondary Form Sec-B. Copies of the written authorization from the incident manager for any additional excavation or sampling costs must be submitted with the claim package to receive reimbursement.

2.520

Non-Regulated, Noncommercial UST Closure/ IAA with Over-excavation to Bedrock/Water Table: This task is to be used for assessment and reporting following the removal of a non-regulated, non-commercial UST with a confirmed release. This task scope of work is identical to Task Code 2.500 with the exception that the tank is located at or on the water table or bedrock, or groundwater is encountered during the subsequent over-excavation activity. This task also applies where groundwater assessment is required by the UST Section incident manager as part of the tank closure activities based on site-specific conditions, as described in the Guidelines, Section 5.3.A.

(Note: For sites where bedrock is encountered during subsequent over-excavation, follow the scope of work listed under Task 2.500 unless otherwise directed by the incident manager.)

This task excludes all removal and disposal costs for the tank and tank contents (i.e., fluids).

The scope of work for this task includes:

- The collection and analysis of one (1) TPH tank closure sample under the former location of the tank, and one (1) TPH sample under the supply line (or as instructed in the Guidelines, Section 5.3.A or 5.3.E and Table 1) for UST closure assessment (Note: for tanks located at or below the water table, four (4) tank sidewall TPH samples and one supply line sample should be collected instead per the Guidelines, Section 5.3.D.  Contact your incident manager for sampling guidance if the water table is above the top of the tank, or if the tank is wholly surrounded by competent bedrock);

- A health and safety plan;

- Excavation, backfill, compaction, consultant oversight, and disposal of up to 56.8 tons (38.5 cubic yards) of contaminated soils;

- Sampling and analytical costs for four (4) post-excavation confirmatory sidewall samples (Methods EPA 8260, EPA 8270, and MADEP EPH/VPH, or per the Guidelines, Table 1) and one (1) composite soil stockpile TPH sample, (or sampling as instructed in the Guidelines, Section 7.1.C and 9.2.A). Where groundwater is encountered during the over-excavation, soil samples should be collected only from areas above the water table (i.e., sidewall samples above the water table and below the top of the tank, with no pit bottom sample) (Note: for tanks where no groundwater is encountered during over-excavation, but groundwater assessment is directed under Section 5.3.A of the Guidelines, a pit bottom confirmatory sample should also be collected for the risk-based parameters.);

- Site restoration, utility clearance, and consultant mileage with any per diems;

- Labor, drilling, and supervision costs for the installation of a monitoring well (up to 25 feet in depth); and

- 20-Day Report and Initial Abatement Action (IAA) Report. UST Closure Reports are not eligible for reimbursement at non-regulated tank removals.

Closure activities and IAA are to be conducted in accordance with the UST Guidelines for Site

Checks, Tank Closure, and Initial Response and Abatement and this SOW.  Complete the section for Task 2.520 on Secondary Form Sec-B, and where applicable, provide a copy of the written authorization for additional over-excavation or sampling. If the UST Section incident manager approves further excavation beyond 38.5 cubic yards, reimbursement will be increased for each ton excavated, back filled and disposed of using the rates described in Secondary Form Sec-B. If an increased well depth beyond 25’ total is required to obtain a groundwater sample, the additional footage may be claimed under Secondary Form Sec-B Part II with attached documentation of the total well depth and measured water level. Where multiple separate source areas are defined on a single site by the incident manager, the footage for any additional wells (beyond the initial 25 feet included in this task) may also be claimed under Secondary Form Sec-B Part II with attached documentation of the requirement for the additional wells by the incident manager.

Please Note: If a Phase I Limited Site Assessment is required following tank closure utilizing Task 2.520, the LSA should be conducted and claimed under Task 2.620 – Receptor Survey with Limited Site Assessment Report, as this closure task includes coverage for the groundwater assessment activities. Task Code 2.600 may not be claimed for sites where Task 2.520 has been completed.

Failure to complete the basic excavation and sampling requirements of this task may result in denial of all costs for this and other subsequent tasks.  Failure to complete the full scope of work for this task will result in the reimbursement of only the applicable portions of the task, as described in the attached Secondary Form Sec-B. Copies of the written authorization from the incident manager for any additional excavation or sampling costs must be submitted with the claim package to receive reimbursement.

2.600

Limited Site Assessment - Phase I: This task is applicable where an LSA Phase I (only) is required in accordance with 15A NCAC 2L .0405 at the following sites: low or intermediate risk commercial UST releases, high risk commercial UST releases where groundwater contamination concentrations are less than or equal to 10 times the 2L standards, and noncommercial UST releases following completion of Task 2.500. This task is not allowed at sites where Task Codes 2.510 and 2.520 have been conducted, or where Task 2.610 is conducted. This task includes all aspects of the Phase I Site Assessment: receptor survey, travel, reports, drilling, site access and restoration, analytical and any other miscellaneous costs needed to complete the requirements for a Phase I LSA as described in the UST Guidelines for Assessment and Corrective Action. Drilling is to be based upon the installation of a single monitoring well of 25 feet or less located within the source area. Analytical costs are to be based only on the soil and groundwater samples required to be taken by the guidelines. When sampling down the borehole for the monitoring well located in the source area, do not sample in the backfill material or above the tank bed. The first sample should be collected in native soils below the bottom of the base of any earlier over-excavation, and should not be collected below the water table.  Please complete and attach Task 2.600 on Secondary Form Sec-C.1. Where it is necessary to install total well depths of greater than 25 feet, the additional footage may be claimed on Secondary Form Sec-C.1 with attached documentation of the total well depth and measured water level. Where multiple separate source areas are defined on a single site, the footage for any additional wells (beyond the initial 25 feet included in this task) may also be claimed on Secondary Form Sec-C.1 with attached documentation from the UST Section incident manager verifying the necessity of the additional wells. Additional soil or groundwater samples resulting from these two situations may be similarly added to Secondary Form Sec-C.1 as well.

Add only these costs to the total for Task Code 2.600 and CLEARLY indicate in the Project Summary and Secondary Forms where you have done so.

The rate for this activity is a maximum rate and reflects the completion of the full scope of work defined in the Reasonable Rate Document and this addendum. Failure to complete the basic requirements of this task may result in denial of all costs for this and other subsequent tasks. Failure to complete the full scope of work for this task will result in the reimbursement of only the applicable portions of the task, as described in the attached Secondary Form Sec-C.1.

2.610

Commercial Limited Site Assessment – Combined Phase I & II: This task includes all aspects of both the Phase I and Phase II Limited Site Assessments where required under 15A NCAC 2L .0405: receptor survey, travel, reports, drilling, site access and restoration, analytical and any other miscellaneous costs needed to complete the LSA Phase II requirements as described in the UST Guidelines for Assessment and Corrective Action (see also Task 2.600 above). Drilling for this task is to be based upon the installation of four wells (one source-area and three additional Phase II monitoring wells, or any combination of multiple source-area wells and Phase II wells resulting in four total wells) as described in the UST Guidelines for Assessment and Corrective Action. The rate for this task includes the combined costs for the completion of both the LSA Phase I and Phase II investigation. Reimbursement will not be allowed for both a Phase I (Task 2.600) and a Combined Phase I/Phase II LSA (Task 2.610). Phase II investigations will not be reimbursed for noncommercial sites.  Please complete and attach Secondary Form Sec-C.2 for Task 2.620. Analytical costs are to be based only on those soil and groundwater samples required by the guidelines. Total well footage in excess of 100 total feet should be handled as stated in Task 2.600. Where the installation of additional wells (beyond four total) is required, the footage for the additional wells (beyond the initial 100 feet) may also be claimed on Secondary Form Sec-C.2 with attached documentation from the UST Section verifying the necessity of the additional wells. Additional soil or groundwater samples resulting from these two situations may be similarly added to Secondary Form Sec-C.2, as well.

The rate for this activity is a maximum rate and reflects the completion of the full scope of

work defined in the Reasonable Rate Document and this addendum. Failure to complete the basic requirements of this task may result in denial of all costs for this and other subsequent tasks. Failure to complete the full scope of work for this task will result in the reimbursement of only the applicable portions of the task, as described in the attached Secondary Form Sec-C.2.  Failure to provide a thorough, accurate receptor survey may also result in denial of all costs for this and other subsequent tasks.

Task 2.620

Phase I Limited Site Assessment Report (utilizing previously-obtained groundwater assessment data): This task is to be used where a Limited Site Assessment is required following the completion of tank closures using Tasks 2.510 or 2.520, and excludes all costs covered under those tasks. This task includes all aspects of the Limited Site Assessment Report: receptor survey, travel, report preparation (including the health & safety plan), soil analytical, and any other miscellaneous costs needed to complete the requirements as described in the UST Guidelines for Assessment and Corrective Action. This task does not include the costs of the monitoring well installation and groundwater sample collection and analysis performed during tank closure/over-excavation assessment (see Tasks 2.510 & 2.520).  Soil sampling for the evaluation of the vertical extent of soil contamination may be necessary where the water table or bedrock was not intersected during the closure or subsequent over-excavation.  The soil sample collection and analytical costs may be claimed on Secondary Form Sec-C.3, with documentation provided for the total boring depth. Soil boring and sample analytical costs will not be reimbursed for samples collected below the seasonal high water table (smear zone), in excavation backfill material, or for duplicate assessment at sample depths previously evaluated during the initial abatement actions (for wells placed outside of the over excavation area). See Table 1 in the UST Section’s Guidelines for Site Check, Tank Closure, and Initial Response and Abatement (March 1, 2007) for all appropriate analytical parameters. If the required analyses vary from those listed here, include documentation of the change and claim the additional costs on Secondary Form Sec-C.3.

The Limited Site Assessment report should incorporate the groundwater assessment data obtained during the tank closure activities and presented in the Initial Abatement Action Report.

Failure to complete the basic requirements of this task may result in denial of all costs for this and other subsequent tasks.  The rate for this activity is a maximum rate and reflects the completion of the full scope of work defined in the Reasonable Rate Document and this addendum. Failure to complete the full scope of work for this task will result in the reimbursement of only the applicable portions of the task, as described in the attached Secondary Form Sec-C.3.  Failure to provide a thorough, accurate receptor survey may also result in denial of all costs for this and other subsequent tasks.

Section 3 – Field Assessment Services

###### Pre-Drilling Tasks

3.025

Clearing Access: SOW includes clearing vegetation and/or debris in order to provide access for drill rigs (does not include lawn mowing or weed eating).  This task requires pre-approval from the UST Section.  SOW includes submittal of the invoice.  This task is not reimbursable for drilling activities to be conducted on the site of the release.  Although it is uncommon for costs to reach the Task 1.061 threshold, the consultant must provide a copy of the invitation to bid letter and the written bids (3 bids required) from the vendors if the cost is expected to exceed $2,000 and five (5) bids are required if the costs exceed $25,000 Price is lowest bid cost when applicable.  Please submit Secondary form Sec-J if applicable.

3.030

DOT Encroachment Agreement (Monitoring Wells): SOW involves preparation and submittal of a standard DOT encroachment application for the installation of monitoring wells within a DOT right-of-way (ROW) for property not owned, operated or maintained by the NC DOT.  SOW includes preparing maps, Right-of-Access Agreements from property owners, tax maps and list of addresses, well construction diagrams, proposed boring and well location maps, type of materials and sizes, load ratings (if applicable), traffic control plan (if required) and a brief discussion to justify borings and wells.  Price is per Site.  Reimbursement will not be given for sites owned, operated or maintained by the NC DOT or sites where no agreement is reached with the NC DOT.

3.040

DOT Encroachment Agreement (Remedial purposes): This task will not be allowed unless the plume has impacted the DOT Right-of-way.  This will be determined by the results of the monitoring well(s) installed under Task 3.030.  This SOW will involve getting permission to install recovery wells, trenches, conduits, etc. on a DOT Right-of-way.  SOW will be similar as outlined above.  However, more detail of engineering design will be required (i.e. cross sections, list of material type, H-20 load ratings, equipment type, ASTM ratings, SDR ratings, etc.), detailed conduit and vault layout, calculations on design, plus a discussion of the work plan and contracted activities.  It is the policy of DOT not to allow encroachments of this type.  However, in some cases they may make exceptions if the plume has already contaminated their right-of-way.  Therefore, the consultant should also include a brief discussion of the plume in relation to the right-of-way as well as a justification of the need to install recovery wells or to place discharge lines underground in the right-of-way or under roads. Price is per Site. Reimbursement will not be given for sites owned, operated or maintained by the NC DOT or sites where no agreement is reached with the NC DOT..

.

Please Note: If encroachment is not granted, reimbursement for this task will not be made.

3.060

Cost for a Utility Clearance (Private Subcontractor): SOW includes hiring a contractor to locate underground utilities and a site visit by the primary consultant during utility clearance activities.  Reimbursement under this task is limited to the location of public service utilities such as electricity, natural gas, water, sewer, and telephone. This task is only reimbursable if "ULOCO" or “First Call” services are shown not to be sufficient.  This task may be used during the LSA phase of work only if the USTs were not removed.  If new underground utilities have been recently installed (since the last underground utility inspection) then the location of such utilities will be known. If it is necessary to go off-site for assessment and/or correction action activities then this task may be used with written pre-approval if ULOCO or First Call services are insufficient. After the first location, any subsequent location event resulting from the installation of new private utility lines by the RP or current property owner would be at the RP’s expense, and that any repairs due to hit lines using historic info would not be covered by the Fund (either the previous location was faulty, or the maintenance of the records [maps] was faulty.)  Use of this task after completion of the LSA phase requires pre-approval from the UST Section.  This task is not applicable for utility location through boring techniques (hand-auger, air knife, etc.) which are included in the per-foot tasks applicable for that boring type.  This task is also not applicable for subsurface mapping techniques, such as ground-penetrating radar, which are tracked via Task 3.310.  SOW includes submittal of invoice.  Price is cost and, though it is uncommon for costs to reach the Task 1.061 threshold, this task is subject to the bidding requirement if in excess of $2000.  Please submit Secondary form Sec-J if applicable.

3.080

Procure Well Permits (NCDENR Permits for Offsite Wells):  This SOW includes all necessary personnel to acquire all well permits. Well permits are only necessary for wells that are installed on property other than where the release has occurred, recovery wells, or by select counties.  Well permits fees required by individual counties are to be claimed under Task 8.105.  Price is per site for all wells installed after the LSA.  This task is reimbursable only after permits are procured.  Failure to acquire the necessary well permits prior to the installation of the wells will result in no reimbursement for this task.

3.101

Consultant Supervision of Drilling: This SOW includes all field personnel, travel, and necessary equipment to supervise and manage drilling activities. Included in the SOW, the consultant is required to ensure completion of all boring logs, well construction records, and retrieve all necessary soil samples. Supervisory time shall not exceed drilling time and may not be claimed if the driller is the supervisor.  It is the responsibility of the consultant to keep detailed records of when the drilling began (groundbreaking) and when drilling ended (installation of the sand pack). This task is not applicable for supervision of soil borings installed by hand- or power-auger, but may be used if wells are being installed by these methods as a N.C. Certified Well Driller is required for all well installation.

The maximum reimbursable cost for this task is $10 per foot of total depth for soil boring and Type II well installations (1”-, 2”-, and 4”-diameter wells), and $15 per foot for Type III telescoping well installations.  Where compelling evidence is provided to show extreme difficulty in the installation of wells in competent bedrock, the $15 per foot rate may also be preapproved for only the rock portion of the total boring, at the discretion of Division personnel.  In all cases, total eligible well depth may not exceed the measured depth to water by more than 10 feet (unless otherwise authorized by the Division for deep and/or bedrock wells.) Please complete and attach Secondary Form Sec-F.

###### Multi-Phase Vertical Drilling

Please Note: Cost per foot includes boring and drilling costs, complete well construction, all required labor, well development, equipment use and well materials (i.e. well covers, above ground protectors, well I.D. plates, lockable well caps, solid casing, slotted screen casing, concrete pad, filter sand pack, Bentonite pellets, grout, etc.). Cost per foot also covers any repairs necessary to the wells. Cost for installing wells also includes split spoon samples taken at 5-foot intervals, decontamination of all equipment and all setup charges.

Reimbursement is not allowed for the replacement of wells that have been destroyed unless the destruction was necessary due to the excavation of soil performed under an approved soil cleanup or corrective action plan.  Costs for the following tasks are not reimbursable if the wells were not installed in accordance with the N.C. well construction standards (15A NCAC 2C).  Any issuance of a NOV for an installed well due to improper construction standards, location (ROW) or well maintenance that results in an order to replace the well will result in denial of reimbursement for all costs associated with the new well and any and all required sampling and reporting from the new well.  For dry wells that could not have been anticipated, reimbursement of drilling is allowed at the same per foot rate as a soil boring.

Temporary or direct push wells will be reimbursed according to the diameter of the well and in accordance with the scope of work corresponding to the diameter of the well.

3.111

Cost for Soil Boring (Code HA or SB): Maximum rate includes all drilling costs including boring abandonment. Field supervision costs (Task 3.101) for hand- and power-augered borings are not reimbursable.  Please complete and attach Secondary Form Sec-F.  Price is per foot.

3.112

Cost for 1-inch Permanent Monitoring Well (Auger/Air/Mud, Code 1A): Maximum rate includes all drilling and development costs. To qualify for reimbursement, the driller must be licensed by the State of North Carolina and well construction records must be included in the claim (attach to Secondary Forms). Please complete and attach Secondary Form Sec-F.  Price is per foot.

3.113

Cost for 2-inch Permanent Monitoring Well (Auger/Air/Mud, Code 2A):  Maximum rate includes all drilling and development costs. To qualify for reimbursement the driller must be licensed by the State of North Carolina and well construction records must be included in the claim (attach to Secondary Forms). Please complete and attach Secondary Form Sec-F.  Price is per foot.

3.114

Cost for 4-inch Permanent Monitoring Well (Auger/Air/Mud, Code 4A): Maximum rate includes all drilling and development costs. To qualify for reimbursement the driller must be licensed by the State of North Carolina and well construction records must be included in the claim (attach to Secondary Forms). Please complete and attach Secondary Form Sec-F.  Price is per foot.

3.115

Cost for Telescoping Type III Permanent Monitoring Well (Auger/Air/Mud, Code T3): This well type may only be installed at the specific request of the regional office and where the outer casing is set into the shallow aquifer.  Installations of this type of well are no longer a requirement for conducting a Limited Site Assessment Phase II.  Maximum rate includes all drilling and development.  To qualify for reimbursement the driller must be licensed by the State of North Carolina and well construction records must be included in the claim (attach to Secondary Forms). Please complete and attach Secondary Form Sec-F.  Price is per foot.

3.116

Cost for 1-inch Well via Direct Push Technology (Code 1P): Maximum rate includes all drilling and development costs for the installation of a 1-inch well utilizing a Geoprobe. To qualify for reimbursement, the driller must be licensed by the State of North Carolina and well construction records must be included in the claim. Where groundwater samples are collected from screened direct push segments, only the boring cost under Task 3.111 may be claimed (no well construction required). Please complete and attach Secondary Form Sec-F.  Price is per foot.

3.117

Cost for 2-inch Well via Direct Push Technology (Code 2P): Maximum rate includes all drilling and development costs. To qualify for reimbursement the driller must be licensed by the State of North Carolina and well construction records must be included in the claim (attach to Secondary Forms). Where groundwater samples are collected from screened direct push segments, only the boring cost under Task 3.111 may be claimed (no well construction required). Please complete and attach Secondary Form Sec-F.  Price is per foot.

3.310

Cost for Specialty Drilling (Code S):  Maximum rate includes all drilling and development.  If installing a well, the driller must be licensed by the State of North Carolina and well construction records must be included in the claim (attach to Secondary Form Sec-F). Along with the invoice, the consultant must provide a copy of the invitation to bid letter and the written bids (3 bids required) from the vendors if the cost is expected to exceed $2,000 and five (5) bids are required if the costs exceed $25,000 Price is lowest bid cost (complete and attach Secondary Form Sec-J as well as the invoice). Also, the consultant must provide total linear footage, boring diameter, and depths.

Specialty drilling includes, but is not limited, to:

- Drilling inside buildings (i.e. low clearances)

- Bore and Jack drilling

- Down hole geophysical logging

- Ground penetrating radar

- Packer tests (may be used in conjunction with pump test in Section 5.0)

- Remedial wells with large diameter bore holes (> 4-inchs)

- Multiple well points inside a single bore hole (i.e. vapor monitoring points)

- Horizontal Drilling

- Abandonment of large diameter wells (> 4-inchs)

###### Miscellaneous Items Related to Drilling

3.351

Surveying Top of Well Casing Elevations: SOW includes two qualified people to measure top-of-casing elevations at each well head.  SOW includes accurately measuring all casing elevations.  The consultant should maintain a degree of accuracy within 0.01 feet. Travel will not be allowed for this task unless pre-approved by the Regional Office. The consultant should plan to conduct this activity either during well installation or during a sampling event.  This task may not be claimed with Task 6.173.  Price is per well.

3.398

Cost for Drilling Rig/Equipment Mobilization: SOW includes mobilization of all drilling equipment and personnel to and from the site.  This task is limited to drill rigs only.  Drill rigs are defined as such equipment that are self-propelled and require a driver or permanently mounted equipment on trucks or vans that cannot be moved by hand.  Equipment capable of being moved by hand is not considered to be a drill rig.  This task is not allowed for hand augurs, power augurs or other equipment not meeting this definition.  If a well is installed with a hand auger, power auger or other non-drill rig equipment, the, subcontracted Certified Well Driller installing this well may use Task 12.010 for travel to and from the site. This task is limited to once per drilling event, regardless of the number of support vehicles or drilling rig types included in the event.  If it is necessary to re-mob to a site due to the inability of the initially selected drilling technology to successfully advance the boring (e.g., to get access under a canopy, hit bedrock with an auger rig, or soft ground causing a big rig to sink) this task may not be requested for reimbursement for the additional trips.  Please complete and attach Secondary Form Sec-F.

3.399

Well Abandonment:  Maximum rate includes all equipment and reporting. To qualify for reimbursement the driller must be licensed by the state of North Carolina.  Well abandonment records must be included in the claim (attach to Primary Form P-3c).  Consultant supervision is not required or reimbursed for this task.  Subcontractor may use Task 12.010 for travel to and from the site. Price is per foot.

3.400

Locking Remedial Point/Well Vault: This task includes both cost of the vault and installation of up to a 36" x 36" locking vault for remedial wells only (not monitoring well vaults).  The vault should be rated to handle the appropriate site conditions.

3.500

Drill Crew Per Diem:  See task Code 12.030. Per diems are only reimbursable for overnight stays between two working days (10 hours or more field time onsite or 15 total hours field and travel combined), and are not reimbursable for staying the night before starting or night after completing the eligible activities (except where done as part of a milk-run with other eligible sites.)  For milk-run events, however, the per diem and drill rig mobilization costs must be divided evenly between all sites included in the milk-run.  Cost is per night.  Please attach the lodging invoice and Secondary Form 2F.

Section 4 – Sampling & Analytical Costs

4.020

Cost for Stockpile Soil Composite Sampling: SOW is to be completed during remedial soil removal and is intended to be used for soil disposal/treatment certification under initial abatement soil removal activities. This task may not be claimed at the time of tank closure and soil removal conducted for non-regulated sites under Task Codes 2.500 or 2.520 because it is included within the scope of work for that task. The SOW is for one person to perform all necessary composite sampling of the stockpiled soil in one day. Composite sample protocol should be followed in accordance with the UST Guidelines for Ex Situ Petroleum Contaminated Soil Remediation. SOW includes all necessary field equipment and expendables to perform sampling of the stockpile including Method Code 370 TPH analytical costs.

Please Note: If 24-hour turnaround time is not used, the rate will be reduced at the time of claim

review by the equivalent analytical cost.  The TPH analytical costs are included under this task code and not under Task Code 4.090.

Please Note: If only water level measurements are to be collected, then use Code #810 from the Analytical Rates Table for Task 4.090 with travel costs under Task 12.010 (if not covered elsewhere) for that event.

4.031

Cost for Sampling a Monitoring Well:  SOW assumes sampling of monitoring wells of any depth or diameter. SOW includes all necessary expendables, equipment, personnel, sample prep, sample shipping and travel to perform required well gauging, sampling, and water level measurements conducted as part of sampling, purging, calculations, and groundwater sampling.  SOW also includes performing field measurements such as: dissolved oxygen, pH, specific conductivity, temperature, ORP and CO2 as required.  Please complete and attach Secondary Form Sec-G.  Price is per well.

4.041

Cost for Sampling Water Supply Wells: SOW assumes sampling of an off-site, non-responsible party, supply well and/or an initial on-site, responsible party owned supply well (subsequent RP wells samples will not be reimbursed it is the responsibility of the RP to check their own supply wells) (i.e. indoor or outdoor spigot). Prior to sampling water supply wells not immediately adjacent to the site of the contamination or where there is no documented groundwater contamination, pre-approval must be received by the Regional Office.  SOW includes all necessary equipment; personnel, sample prep, and sample shipping to perform well purging followed by sampling. SOW also includes performing field measurements such as: pH, dissolved oxygen and specific conductivity as required. Please complete and attach Secondary Form Sec-G.  Price is per well.

4.045

Cost for Sampling Contaminated Water Supply Wells (Third Party Expenses):  SOW is identical to Task Code 4.041 with the exception that this task, the associated laboratory analysis, and all equipment, personnel, time and mileage are for expenses that apply to the third party deductible.  Indicate the analytical methods under task code as 4.091 (not 4.090) when utilizing this task code.  Point of Entry treatment system monitoring, even where no contaminates are detected in the influent sample, are considered third party deductible costs due to loss of normal use for the third party.  RP-owned supply wells, either on-site or off-site, that are being sampled due to contamination or threat of contamination after a single initial sampling are considered self-inflicted “loss of normal use” and therefore are not eligible for reimbursement from the Trust Fund. Please complete and attach Secondary Form Sec-G.  Rate is per well.

4.051

Cost for Sampling Surface Waters: SOW assumes sampling of various types of surface waters (i.e. includes ponds, streams, creeks, etc.) to verify contamination. SOW includes all necessary equipment, sample prep, sample shipping, travel, and personnel to perform sampling. Please complete and attach Secondary Form Sec-G.  Price is per sample point and requires pre-approval.

4.060

Cost for Sampling Groundwater Influent and Effluent from a Pump & Treat Treatment System:  SOW assumes sampling various types of remediation systems. SOW includes all necessary equipment, travel, sample prep, sample shipping and personnel to grab the required samples from the influent before treatment and one after carbon polishing. Samples collected between the GAC units are not allowed for reimbursement.  Sampling should be performed as required by a permit or as pre-approved by the Division.  Use only approved lab methods for detecting VOCs or SVOC or whatever lab method required by the permit.  SOW includes a brief inspection of system (look for needed repairs, see Section 7). Please complete and attach Secondary Form Sec-G.  Price is per sample event.

4.070

Cost for Sampling Air Effluent from a Vapor Extraction System:  SOW assumes sampling (BTEX) the air stream from a VE remediation system. SOW will include all necessary equipment, personnel, sample preparation, sample shipping and travel to perform grab samples from the remediation system. Once a remediation system is installed, sampling frequency should be performed quarterly unless otherwise required by a permit or the UST Section. Results of the sampling should be used to determine a mass removal of contaminants which is then reported in the remediation monitoring report as required by guidance and directed by the regional office. Please complete and attach Secondary Form Sec-G.  Price is per sample event.

4.090

Costs for Analytical and Shipping: SOW includes laboratory and shipping costs associated with all sampling of soil, water and air. The lab must be North Carolina certified and must be certified to perform the recommended sample methods as outlined in the UST Section Guidelines for Site Checks, Tank Closure, and Initial Response and Abatement, the Guidelines for Assessment and Corrective Action, and the Guidelines for Sampling at the time of sampling.  Consultant must attach the laboratory and shipping invoice to the completed Secondary Form Sec-H.  Lab analytical rates are not to exceed the Analytical Rate Table rates listed below.  Bidding is not required for this task.

4.091

Costs for Analytical and Shipping (Third Party Deductible Costs): The SOW for this task is identical to Task 4.090 but is to be used when conducting third party sampling under Task 4.045.  Consultant must attach the laboratory and shipping invoice to a completed Secondary Form Sec-H (use a separate Sec-H Form from the information provided for Task 4.090 above.)

| Code # | Analytical Method |  |  | Max. Rate |
| --- | --- | --- | --- | --- |
| Hydrocarbon Sampling (water) |  |  |
| Code # 210 | EPA 601 |  |  |  | $45.00 |
| Code # 220 | EPA 602 (Including Xylenes, MTBE & IPE) | $43.00 |
| Code # 230 | EPA 601 & EPA 602 (Including Xylenes, MTBE, IPE & EDB*) | $78.00 |
|  | *for low detection on EDB see EPA 504.1 |  |
| Code # 240 | STANDARD METHODS 6200B (Including MTBE & IPE) | $104.00 |
| Code # 271 | STANDARD METHODS 6200B |  | $73.00 |
| Code # 272 | STANDARD METHODS 6200B (Including MTBE, IPE, & EDB*) | $73.00 |
| Code # 280 | EPA 504.1 EDB |  |  | $49.00 |
| Code # 290 | EPA 610 POLYNUCLEAR AROMATICS (GC/MS Confirmed) | $103.00 |
| Code # 300 | EPA 625 (Base Neutral and Acid Extractables) | $213.00 |
| Code # 301 | EPA 625 (Base Neutral and Acid Extractables with 10 Largest Non-Target Peaks) | $231.00 |
| Code # 310 | EPA 625 (Base Neutral Extractables Only) | $164.00 |
| Code # 320 | EPA 625 (Base Neutral Extractables Only with 10 Largest Non-Target Peaks) | $181.00 |
| Code # 321 | EPA 625 Polynuclear Aromatic Hydrocarbons (PAHs) Only | $107.00 |
| Code # 330 | Total Lead with STANDARD METHODS 3030C Sample Preparation | $15.00 |
| Code # 331 | Total Lead & Chromium with STANDARD METHODS 3030C Sample Preparation | $22.00 |
| Code # 340 | TCLP RCRA Metals (Method 1311) with extraction | $200.00 |
| Code # 341 | Massachusetts Dept. of Environmental Protection VPH: Alkanes/Aromatics | $61.00 |
| Code # 342 | Massachusetts Dept. of Environmental Protection EPH: Alkanes/Aromatics | $111.00 |
| Hydrocarbon Sampling (soil) |  |  |  |
| Code # 350 | 8015B GRO | $39.00 |
| Code # 360 | 8015B DRO | $43.00 |
| Code # 370 | 8015B DRO and 8015B GRO | $70.00 |
| Code # 380 | EPA METHOD 9071A OIL AND GREASE with freon extraction | $46.00 |
| Code # 390 | EPA METHOD 9071B (HEM) N-Hexane extractable material (replaces 9071A when required) | $46.00 |
| Code # 409 | EPA METHOD 5035/8260B (Including MTBE & IPE) | $93.00 |
| Code # 410 | EPA METHOD 8270C (Base Neutral and Acid Extractables) | $207.00 |
| Code # 411 | EPA METHOD 8270C (Base Neutral Extractables Only) | $161.00 |
| Code # 412 | EPA METHOD 8270C (Polynuclear Aromatic Hydrocarbons (PAHs) Only) | $108.00 |
| Code # | Analytical Method |  |  | Max. Rate |
| Code # 415 | EPA METHOD 8082 (PCB) (used waste oil) |  | $140.00 |
| Code # 416 | EPA METHOD 8100 (Polynuclear Aromatic Hydrocarbons) | $145.00 |
| Code # 417 | EPA METHOD 8310 (Polynuclear Aromatic Hydrocarbons) | $175.00 |
| Code # 420 | TCLP RCRA Metals (Method 1311) with Extraction (used waste oil) | $111.00 |
| Code # 421 | Massachusetts Dept. of Environmental Protection VPH: Aliphatics/Aromatics | $63.00 |
| Code # 422 | Massachusetts Dept. of Environmental Protection EPH: Aliphatics/Aromatics | $111.00 |
| Code # 424 | Total Metals (Chromium and Lead) EPA 3050 or 3051 Sample Preparation | $21.00 |
| Natural Attenuation Sampling (water) |  |  |
| Please Note: These parameters shall be used for modeling purposes and attenuation evaluation. See Section 5. |
| Code # 430 | TOTAL PHOSPHATE |  |  | $17.00 |
| Code # 440 | NITRATE + NITRITE NITROGEN |  | $23.00 |
| Code # 441 | NITRATE NITROGEN |  |  | $15.00 |
| Code # 442 | NITRITE NITROGEN |  |  | $12.00 |
| Code # 460 | AMMONIA NITROGEN |  |  | $19.00 |
| Code # 470 | TOTAL ORGANIC NITROGEN |  | $31.00 |
| Code # 490 | IRON (total or ferrous) |  |  | $14.00 |
| Code # 500 | ALKALINITY |  |  | $11.00 |
| Code # 510 | SULFATE |  |  |  | $14.00 |
| Code # 520 | MASS FRACTION OF BTEX COMPOUNDS (free product sample only) | $80.00 |
| Code # 521 | MAXIMUM DISSOLVED METHANE |  | $72.00 |
| Natural Attenuation Sampling (Soil) |  |  |  |
| Code # 590 | TOTAL ORGANIC CARBON (TOC) |  | $32.00 |
| Code # 600 | EPA METHOD 5035/8260 (BTEX, MTBE & IPE) | $97.00 |
| Code # 620 | EPA METHOD 8270 (Base Neutral Extractables Only) | $154.00 |
| Engineering Parameters (Soil) |  |  |  |
| Code # 630 | ASTM 5084-90 use for estimating hydraulic conductivity in soil | $250.00 |
|  | (limited to three Shelby tube samples taken during drilling) |  |
| Code # 640 | ASTM D422-63 grain size distribution for estimating hydraulic conductivity in soil | $60.00 |
|  | (saturated soil samples taken from split spoon samples during drilling) |  |
| Code # | Analytical Method |  |  | Max. Rate |
| Engineering Parameters (Water) |  |  |  |
| Code # 650 | IRON (total or ferrous) |  |  | $14.00 |
| Code # 660 | MANGANESE |  |  | $10.00 |
| Code # 670 | MAGNESIUM |  |  | $10.00 |
| Code # 680 | ALKALINITY |  |  | $12.00 |
| Code # 690 | HARDNESS |  |  |  | $11.00 |
| Code # 700 | TOTAL DISSOLVED SOLIDS (TDS) |  | $12.00 |
| Code # 710 | TOTAL SUSPENDED SOLIDS (TSS) |  | $12.00 |
| Monitoring parameters related to discharge and non-discharge permits (water) |  |
| Please Note: All parameters listed below are only to be used for various remediation permits that require a unique method or specific parameter not previously mentioned. These parameters shall not be reimbursed for any other reasons. |  |
| Code # 720 | EPA METHOD 420.1 PHENOL |  | $35.00 |
| Code # 740 | EPA METHOD 5030/8260 (including MTBE & IPE) | $88.00 |
| Code # 760 | EPA METHOD 8270 (Base Neutral Extractables Only Plus 10 Largest Non-Target Peaks) | $174.00 |
| Code # 770 | EPA METHOD 9070 Oil and Grease (freon extraction) | $43.00 |
| Code # 771 | EPA METHOD 1664 (HEM) N-Hexane extractable material (replaces 9070 when required) | $39.00 |
| Code # 780 | BOD (lab only) |  |  | $22.00 |
| Code # 781 | COD (lab only) |  |  | $17.00 |
| Code # 790 | CO2 (lab only) |  |  | $32.00 |
| Code # 800 | NITRATE + NITRITE (lab only) |  | $23.00 |
| Code # 810 | * WATER LEVELS and pH, FIELD MEASUREMENTS | $12.00/WELL |
| * | Not to be used with Task Code 4.031 |
| Soil Sampling for Disposal/Treatment Purposes (Soil) |  |
| Code # 820 | 8015B GRO (methanol extracts composited by lab) | $41.00 |
| Code # 830 | 8015B DRO (composite sample) | $97.00 |
| Code # 840 | EPA 8270C Base Neutral and Acid Extractables (composite sample) | $197.00 |
| Code # 850 | EPA 5030/8260B (methanol extracts composited by lab) | $89.00 |
| Code # 860 | EPA 8082 PCBs (composite sample) |  | $140.00 |
| Code # 870 | TOX (composite sample) |  |  | $65.00 |
| Code # 874 | Total Metals (Chromium and Lead) EPA 3050 or 3051 | $23.00 |
| Code # | Analytical Method |  |  | Max. Rate |
| Code # 875 | TCLP RCRA Metals (Method 1311) with Extraction (composite sample) | $111.00 |
| Air Sampling (Vapor Extraction units) |  |  |
| Code # 880 | BTEX Air Sampling (TPH GC Compounds) EPA Method 18 Bag Procedure | $145.00 |
|  | Analysis includes: benzene, toluene, ethylbenzene, xylene and total petroleum hydrocarbons as isooctane |
|  | Rate includes new Tedlar bag(s), sampling pump and expendables. Only as required by permit. |  |
| Please Note: All of the requirements listed below must be met prior to reimbursement. |  |
| The laboratory which performs the analysis must be North Carolina DWQ Certified (for parameters for which certification is available |
| The consultant/contractor must get prior approval from the UST Section for accelerated turnaround of any analysis. |
| The consultant/contractor must also get pre-approval from the UST Section if they wish to use an analytical method not specified herein. |
| The consultant/contractor must secure laboratory analytical reports which include any permit required reporting elements. |

Please Note: The tasks outlined in this section are for the purposes of determining various hydrogeological characteristics of a site in preparation of a corrective action plan.  Reimbursement will not be allowed for these tasks after the submittal and approval of a CAP without a thorough explanation as to why such testing is necessary after a CAP is approved or by pre-approval from the UST Section.

Section 5 – Field Testing & Evaluation

5.010

Slug Test: This SOW includes all necessary field personnel, and equipment to conduct one day of slug testing activities per the UST Guidelines for Assessment and Corrective Action.  This task requires pre-approval from the UST Section.

5.020

Step Drawdown Test: SOW includes all necessary field personnel, and equipment to conduct one day of step drawdown testing per the pump test requirements shown in the UST Guidelines for Assessment and Corrective Action. Price includes field supervision, project scheduling, data reduction/evaluation, oversight, and permitting requirements.  Disposal of the contaminated groundwater or product resulting from the test is to be claimed under Task 9.020. This task requires pre-approval from the UST Section.

Please Note: This SOW is designed to assist in collecting data for performing the actual aquifer pump test. The step drawdown test is primarily used to establish well yield (gallons per minute -gpm) for establishing a constant flow rate for the aquifer test (5.030).

5.030

12-Hour Aquifer Test: SOW includes all necessary field personnel, and equipment to conduct an aquifer test for a 12 hour duration, followed by a recovery test conducted for a duration that allows steady state conditions to be achieved or for a maximum duration of 12 hours, whichever occurs first. SOW also includes field supervision, project scheduling, data reduction/evaluation, site map production and oversight, and permitting.  Disposal of the contaminated groundwater or product resulting from the test is to be claimed under Task 9.020.  Aquifer tests must be performed in accordance with the UST Guidelines for Assessment and Corrective Action. This task requires pre-approval from the UST Section.

5.050

Soil Vapor Extraction Test: SOW includes all necessary field personnel, and equipment to conduct one Soil Vapor Extraction test or one Bio-venting test or one Dual-Phase Extraction test for one full day. SOW includes field supervision, project scheduling, data reduction/evaluation and oversight.  SOW also includes all analytical costs (i.e. BTEX), a site map showing all wells and reported influences and results. This task requires pre-approval from the UST Section.

5.060

In Situ Air Sparge Test: SOW includes all necessary field personnel, and equipment to conduct one air sparge test.  SOW assumes Task 5.050 has been completed.  SOW includes establishing baseline measurements of water levels, hydrocarbons, dissolved oxygen (DO) and CO2 at select monitoring and/or observation wells and sparge points as well as all necessary equipment.  SOW assumes the test will include field supervision, project scheduling, data reduction/evaluation and oversight.  SOW also includes generation of a site map showing all wells and reported influences and results.  SOW also includes generating tables of dissolved oxygen and water levels from the various wells, and CFM vs. pressure of all AS wells during different intervals of the test. This task requires pre-approval from the UST Section.

5.070

Contaminant Fate &Transport Modeling: SOW includes all necessary field personnel, and equipment to conduct the modeling.  This SOW includes identifying and evaluating any additional physical and chemical data to support natural attenuation pursuant to 15A NCAC 2L and performing necessary calculations and/or computer modeling to allow prediction of the extent and concentration of the contaminant plume over time. This task also incorporates development of a long range monitoring plan.  The SOW does not include actual sample collection and analysis (see Sections 3.0 and 4.0).  This SOW includes demonstrating that continued active remedial efforts would not result in any further significant reduction in the concentration of contaminants. Information collected in this task should be compiled in the CAP (see Section 6). This task requires pre-approval from the UST Section.

Please Note: Tasks under this SOW will be reimbursed in addition to preparing a CAP under 15A NCAC 2L.

5.080

Hydrogeologic Parameter Test: SOW includes all necessary field personnel, and equipment to conduct the parameter test.  The SOW is for specific or unique hydrogeologic tests, such as dye tracing, that are recommended by either the Regional Office or by the consultant but are pre-approved by the Regional Office.  All tests are to be conducted in accordance to both state and federal guidelines covering the test to be run. Three (3) bids are required if cost exceeds $2,000 and five (5) bids are required if the costs exceed $25,000.  Please submit Secondary form Sec-J if applicable.  This task requires pre-approval from the UST Section.  If the test is innovative, it must first be approved by the Innovative Technology Committee in the Central Office.

Section 6 - Reports

Please Note: Each report must be completed, submitted, and approved by the UST Section prior to receiving reimbursement. Reports will not be reimbursed until the Regional Office has approved the submitted report. DO NOT SUBMIT INTERIM OR PARTIALLY COMPLETED REPORTS. These are not reimbursable.  Multiple reports may not be combined without prior authorization pre-approval from this Section except in the case of the LSA Phase I/II report.  Please refer to the Guidelines for Assessment and Corrective Action and the Guidelines for Site Checks, Tank Closure, and Initial Response and Abatement for the specific requirements for the reports.

Please Note: Unless otherwise indicated, all reports must be formatted to meet the requirements as outlined in the Guidelines for Assessment and Corrective Action and the Guidelines for Site Checks, Tank Closure, and Initial Response and Abatement.

6.010

Cost for a 20-Day Report:  SOW shall include preparation and submittal of a 20-day report.  This report is to be submitted as the only report during non-commercial and non-regulated commercial UST removals were the tank closure sample indicates that a release has occurred.  According to 2N requirements, this report is to be submitted within 20 days of confirmation of a release (submitted analytical results). Please complete and attach Secondary Form 2G.

Please Note: This task should only be used for NEW releases, and is not repeatable (one per site). Please see the SOW for Task 2.500 for further clarification.

6.015

Initial Abatement Action Report: Upon completion of initial abatement actions for petroleum UST releases, the responsible party must submit an Initial Abatement Action Report (IAAR), a newly created report which follows the 20-Day Report.  The purpose is to report the initial investigation that resulted in the discovery of the release and the initial response and abatement actions.

The SOW includes the preparation of a report that systematically;

- presents site history and characterization,

- incorporates the requirements of the previous Site Check Report and/or a UST Closure Report (these reports are no longer reimbursable),

- incorporates the requirements of a Free Product Investigation and Recovery Report, presenting the results of all free product investigation and recovery actions performed to date,

- reports any groundwater and surface water investigation performed to date,

- summarizes all  initial response and abatement actions,

- Describes soil excavation and reports subsequent confirmation soil sample analytical data to demonstrate the extent to which the contaminated soil has been removed.

The responsible party must submit the Initial Abatement Action Report within 90 days following the date of discovery of the release to the Corrective Action Branch of the UST Section (or to Permits and Inspections Branch, if the investigation was initiated by a UST inspector).  The report format is presented in Appendix A, p. 60 of the Guidelines for Site Checks, Tank Closure, and Initial Response and Abatement.

The application of this task will be based on the four check-boxes designated in the IAAR report format under Appendix A of the March 1, 2007, Guidelines for Site Checks, Tank Closure, and Initial Response and Abatement.  The first included report will be applied at a base rate of $730, with each of the three accessory report subgroups adding an additional $245 (i.e., one of the four boxes checked will equate to $730, two boxes - $975, and so on).

6.022

Free Product Recovery Report (Subsequent Reports After Initial Abatement Action Report): This SOW includes the preparation of a report, which provides information on product recovery activities over a maximum duration of 12 months (i.e. four recovery events in a 12-month period Free product shall be defined as a measurable level (0.01 feet or more) that has accumulated on the groundwater, detectable by an oil/water interface probe from a groundwater monitoring well.   Information from this report must be included in any Pre-Cap or Active Remediation Monitoring Report (Task 6.090 to 6.101) where applicable.  Price is per report.  If AFVR or enhanced vacuum recovery is used during the reporting period, the maximum rate is doubled (e.g., $250 x 2 = $500).  Please complete and attach Secondary Form 2G.

6.040

Comprehensive Site Assessment Report - Soil Only (No groundwater contamination encountered; for high and intermediate risk sites only): This SOW includes preparation and submittal of a site assessment report where a site investigation has been performed.

6.041

Soil Assessment Report (For low risk sites only):  This SOW includes the preparation of a Site Assessment Report.

6.050

Comprehensive Site Assessment Report – Soil and Groundwater (For high/intermediate risk sites only where groundwater contamination is encountered):  This SOW includes the preparation and submittal of a comprehensive site assessment report.  This report relates to work performed in Sections 1 through 4.

6.060

CSA Report Addendum: This SOW includes preparation and submittal of an update to the current site assessment report as pre-approved by the Regional Office. This task can only be utilized if conditions of the site (characterization) have changed (i.e. new release, plume migration, etc.). This assumes that a CSA was submitted and approved at a previous date. This SOW does not include submittal of information which was missing from the original CSA (i.e. information requested by the Regional Office for approval of a previously submitted CSA Report).

6.070

Corrective Action Plan for Proposed Remediation (CAP) of Groundwater and Soil (For high and intermediate risk sites only): This SOW includes the preparation of a CAP that clearly and specifically outlines the total amount of time to reach cleanup and the cost to reach the established cleanup standards including all sampling and reporting costs.  Removal and/or closing of an active station is not a reason for not considering a remedial technology.  Please complete and attach the cost comparison chart showing the remedial technology, cost of cleanup and length of time for cleanup.

6.071

Corrective Action Plan for Proposed Remediation (CAP) of Soil Only (For high and intermediate risk sites only):  This SOW includes the preparation of a soil-only CAP that clearly and specifically outlines the total amount of time to reach cleanup and the cost to reach the established cleanup standards including all sampling and reporting costs. Removal and/or closing of an active station is not a reason for not considering a remedial technology.  Please complete and attach the cost comparison chart showing the remedial technology, cost of cleanup and length of time for cleanup.

6.080

Corrective Action Plan for Natural Attenuation:  This SOW includes the preparation of a CAP that clearly and specifically outlines the total amount of time to reach cleanup and the cost to reach the established cleanup standards including all sampling and reporting costs.     Information and conclusions gathered in Task 5.070 are to be incorporated in this CAP. Removal and/or closing of an active station is not a reason for not considering a remedial technology.  Please complete and attach the cost comparison chart showing the remedial technology, cost of cleanup and length of time for cleanup.

6.081

Soil Cleanup Plan (For sites reduced from high/intermediate risk to low risk on review of a CSA): This report should be used for low risk sites after the CSA.

6.082

Public Notification: This SOW includes all requirements of public notification outlined in the UST Guidelines for Assessment and Corrective Action.

6.090

Monitoring Report (Pre CAP - Initial): This SOW includes preparation of an initial Monitoring Report that provides documentation of groundwater monitoring and sampling data plus laboratory analysis.  This task will only be reimbursed one time.  This task requires pre-approval from the UST Section.

Please Note: This report is inclusive of the Free Product Recovery Report.  The regional office will pre-approve separate Free Product Recovery Reports. The CSA must be completed prior to initiating this task. This report should only be utilized on high or intermediate risk sites.

6.091

Monitoring Report (Pre CAP) (Subsequent reports after initial Monitoring Report): This SOW includes the preparation of a Monitoring Report that provides documentation of groundwater monitoring and sampling data plus laboratory analysis. This task requires pre-approval from the UST Section.

Please Note: This report is inclusive of the Free Product Recovery Report.  The regional office will pre-approve separate Free Product Recovery Reports. The CSA must be completed prior to initiating this task. This report should only be utilized on high or intermediate risk sites.

6.100

Remediation Monitoring Report (Initial Report): This SOW includes preparation of Remediation Monitoring Report that provides information on the progress of the soil and groundwater cleanup, either through active remediation or natural attenuation. SOW includes documentation of groundwater monitoring and sampling data, treatment system sampling and operation, laboratory analysis, and all information related to permit compliance.  This task will be reimbursed only one time. This task requires pre-approval from the UST Section.

Please Note: This report is inclusive of the Free Product Recovery Report.  The regional office will pre-approve separate Free Product Recovery Reports. The CSA must be completed prior to initiating this task. This report should only be utilized on high or intermediate risk sites.

6.101

Remediation Monitoring Report (subsequent to the initial Remediation Monitoring Report): This SOW includes preparation of Remediation Monitoring Report,that provides information on the progress of an ongoing soil and groundwater cleanup, either through active remediation or natural attenuation. Allowable frequency of this report will be at the discretion of the UST Section. This task requires pre-approval from the UST Section.

Please Note: This report is inclusive of the Free Product Recovery Report.  The regional office will pre-approve separate Free Product Recovery Reports. The CSA must be completed prior to initiating this task. This report should only be utilized on high or intermediate risk sites.

6.120

System Enhancement Recommendations: This report should only be submitted when requested by the Division for a major enhancement or change of an existing system.  This task is only reimbursable where the proposed enhancement is not the result of an ineffective CAP or improper or negligent installation or operation of an approved CAP.  Addition or removal of wells or sparge points does not constitute major system enhancements and should be included in the recommendations presented in the typical Active Remediation Monitoring Report.  SOW includes the inspection of existing remediation equipment and a review of information gathered from task 6.100. SOW includes one site visit, with mileage plus project time to evaluate data plus investigate alternatives and propose solutions and recommendations to ensure system compliance. The recommendations should include alternatives or modifications to obtain efficient and effective site remediation.  This report includes written recommendations plus preliminary engineering drawings for system modifications (if required). Any requests to modify an existing monitoring program should be incorporated into this document.  This task requires pre-approval from the UST Section and, where applicable, the Innovative Technology Committee.

6.121

New Technology Cleanup Plan: SOW includes preparation of a report providing new remediation options and recommendations.  This task will be allowed only if the existing system clearly is no longer effective, and if it is clear that the consultant’s original design, installation, operation, and maintenance of the existing system was adequate and found not to have been inappropriately designed or installed, or failure was due to poor operation and maintenance ..  This task requires pre-approval from the UST Section and Innovative Technology Committee where applicable.

6.130

Air Emissions Monitoring Report: SOW includes preparation and submittal of a two-page letter report summarizing air emissions data for no more than a six month period (semi-annually). The basic letter report shall include a description of the work performed during the reporting period, the frequency of monitoring, and the analytical results of air samples (outlined in a table). Mass balance calculations if necessary, and discharge rates. Includes system layout and site map. The SOW may vary dependent upon specific air permit requirements. This task is only reimbursable for sites in a nonattainment area where such monitoring is required.

6.140

Non-Discharge Permit Report: This SOW includes the preparation and submittal of the Underground Storage Tank Section's UST-59 Forms.

6.150

Publicly-Owned Treatment Works (POTW) Permit Report: This SOW includes the preparation and submittal of a report (if required by the POTW) summarizing the required POTW monitoring data for no more than a three month period (quarterly). The basic letter report will include a description of the work performed during the reporting period, the frequency of monitoring, and the analytical results of water samples. Mass balance calculations if necessary, discharge rates and whatever else required. This SOW may vary depending upon specific POTW permit requirements.

6.160

National Pollutant Discharge Elimination System (NPDES) Permit Report: This SOW includes the preparation of a brief report summarizing the required NPDES monitoring data. The basic report will include a description of the work performed during the reporting period, the frequency of monitoring, and the analytical results of water samples. Mass balance calculations if necessary, and discharge rates.  Includes figures (site map and discharge location) and compiling the required Discharges Monitoring Reports (DMR).  The SOW may vary depending on specific NPDES permit requirements (General versus Individual).

6.170

Site Closure Report (For high and intermediate sites only): This SOW includes the preparation of a report that documents the justification for a request for site closure. The report is to summarize the past and present subsurface conditions, regulatory requirements and concerns, results of corrective actions taken to date and justifications for a request for closure. This task is not repeatable and will only be reimbursed upon approval from the Regional Office to close the site.

6.171

Soil Cleanup and Closure Report (For low risk sites only):  This SOW includes preparation of the report.

6.173

Cost for a North Carolina Professional Surveyor for Deed Recordation/Restriction:  SOW includes cost of a licensed N.C. surveyor who generates an accurate site map, including all well head elevations, above- and below-ground site features, utilities and necessary information as required by the Department for the development of a plot survey description as part of a deed recordation/restriction. Please submit Secondary form Sec-J if applicable.   Price is per site.

6.174

Deed Recordation / Notice of Residual Petroleum with Land Use Restrictions:  SOW includes preparation and filing of a deed recordation with the appropriate county register-of-deeds office.  Landowners are to be notified prior to the placement of a deed recordation.  The instructions for preparing and filing a “Notice of Residual Petroleum” with land use restrictions may be obtained from the Division.  Attorney's fees are not reimbursable.  Price is once per site.  This is not the Notice of Residual Petroleum required to be filed by property owners prior to a property transaction, which is not reimbursable

6.180

Variance Request: This SOW includes the preparation of a Variance Request for site closure for submittal to the NC Environmental Management Commission (EMC).  This report must document the justification that a variance be granted for the requirement to perform remediation and/or to close a site that has contaminant concentrations that remain above the groundwater standards.  Reimbursement will not be granted until the Department approves the variance.

6.190

Miscellaneous Letter Report: SOW includes the preparation of a simple letter report, without historical tables or historical figures or graphs, that outlines the activities that have been requested at the written pre-approval of the incident manager.  This task is to be used in lieu of other reports if the incident manager determines that the level of work being requested does not justify the preparation of one of the above reports. [For example, monitoring of a 1-3 monitoring well(s) or WSW(s), 1-3 soil sample(s)s being collected, etc.]  Price is per report.

##### Section 7 – Remedial Services

Design and Purchase Remedial System(s)

Please Note: This section relates to all phases of remediation, from data evaluation to system startup and operation. This section assumes that the consultant has completed the Corrective Action Plan (CAP) in which all available remedial technologies have been reviewed and the life-time cleanup costs have been presented. All tasks in this section require pre-approval from the UST Section.  Any technology not listed in this document must have prior approval from the Innovative Technology Committee before a CAP is initiated.

Reimbursement for all remedial activities will be limited to the amount approved in the CAP.  For example, if the approved CAP, as presented to the UST Section, indicates that a SVE system, running for five (5) years will bring the contamination within the applicable clean-up standards, and the total cost for the system purchase, installation, O&M, sampling, permitting, reporting, etc. for five years is $350,000, then that is the maximum amount that will be reimbursed.   One TA for all the remedial activities will be issued and costs tracked through it as claims are submitted for the work.  Once the TA is exhausted, any additional monies necessary to meet the CAP cleanup goals will have to be thoroughly justified to the Department for approval.

All consultants and contractors must always compile site-specific design information and a subsequent bid specification when purchasing a remediation system. This data should be sent out to the required number of equipment vendors, who provide turnkey systems.

A common problem with not being able to provide bids is that the design is left solely up to the equipment vendor. Some vendors cannot spend the extra time to do the work of the consultant and therefore will decline to bid. It is very important that the consultant provide an adequate design and specification to the equipment vendors. The consultant should also require performance guarantees and a standard 12-month warranty on equipment, materials and workmanship.

7.015

Design/Specify Remediation System(s): SOW includes data evaluation of site parameters and information obtained from pilot tests. This SOW requires the consultant to prepare design drawings and equipment specifications for a turnkey remediation system or systems and bidding the system out where costs are expected to exceed $2,000 but less than $25,000 must receive three (3) competitive bids, and bids greater than $25,000 must receive five (5) competitive bids prior to the initiation of the action except where otherwise noted.  Only the lowest bid will be reimbursed. Failure to provide the required bid information will result in the claim being reimbursed for the maximum non-bid amount ($2,000)...  The maximum rate for one technology is $3,000; each required additional technology has a maximum rate of $2,000.  Task Code 1.061 may not be claimed in association with this task code.  If it is later determined that the designed system(s) is(are) inappropriate or ineffective, then this task will not be reimbursed for the design of a replacement, upgraded or new system.

7.020

Cost for a Turnkey Pump & Treat System: SOW includes payment for the Pump & Treat system. The consultant must submit the bid specification work sheet, invitation to bid letters, all written bids from a minimum of three vendors (complete and submit Secondary Form Sec-J) and the invoice. Three written bids are required if cost exceeds $2,000 and five (5) bids if the costs exceed $25,000.  The STF will only reimburse the lowest bid. Payment will not be authorized without certification that the system that is approved is installed as designed. When requesting reimbursement for the approved remedial system, the completed certification form must be included with the reimbursement claim.

7.040

Cost for a Turnkey Soil Vapor Extraction System:  SOW includes payment for the SVE system. The consultant must submit the bid specification work sheet, invitation to bid letters, all written bids from a minimum of three vendors (complete and submit Secondary Form Sec-J) and the invoice. Three written bids are required if cost exceeds $2,000 and five (5) bids if the costs exceed $25,000.  The STF will only reimburse the lowest bid. Payment will not be authorized without certification that the system that is approved is installed as designed. When requesting reimbursement for the approved remedial system, the completed certification form must be included with the reimbursement claim.

7.060

Cost for a Turnkey Air Sparge System: SOW includes payment for the AS system. Along with the invoice, the consultant must provide a copy of the bid specification work plan, invitation to bid letters, all written bids from a minimum of three vendors (complete and submit Secondary Form Sec-J) and the invoice. Three written bids are required if cost exceeds $2,000 and five (5) bids if the costs exceed $25,000.  The STF will only reimburse the lowest bid. Payment will not be authorized without certification that the system that is approved is installed as designed. When requesting reimbursement for the approved remedial system, the completed certification form must be included with the reimbursement claim.

7.065

Cost for Multiple Technology Remediation System:  SOW includes payment for combination remedial systems (e.g., air sparge and soil vapor extraction).  This task should be used if multiple systems are bid together.  Along with the invoice, the consultant must provide a copy of the bid specification work plan, invitation to bid letters to all vendors, the written bids from those vendors (complete and submit Secondary Form Sec-J) and the invoice. Three written bids are required if cost exceeds $2,000 and five (5) bids if the costs exceed $25,000.  The STF will only reimburse the lowest bid. Payment will not be authorized without certification that the system that is approved is installed as designed. When requesting reimbursement for the approved remedial system, the completed certification form must be included with the reimbursement claim.

Installation of Remediation System(s)

7.081

Remedial System Installation Inspection/Certification: SOW includes project management and field coordination. SOW also includes one person to oversee the installation performed by a subcontractor not to exceed 8-hours of field time per week with the exception of the initial start date of the installation and the completion date of the installation. This is considered to be a Project Manager Level or Principal/Senior Level as the person certifying the system installation must be the person conducting this work activity or their responsible charge.  Price is per hour.

7.100

Cost for Installing a Remediation System: SOW includes submitting the final invoice from the subcontractor for installing system conduits. Along with the invoice, the consultant must provide a copy of the bid specification work plan, invitation to bid letters to all subcontractors and written bids from those subcontractors (complete and submit Secondary Form Sec-J). Three written bids are required if cost exceeds $2,000 and five (5) bids if the costs exceed $25,000.  The STF will only reimburse the lowest bid. Payment will not be authorized without certification that the system that is approved is installed as designed. When requesting reimbursement for the approved remedial system, the completed certification form must be included with the reimbursement claim.

Installation of Recovery Trench(es)

7.121

Recovery Trench Installation Inspection/Certification: SOW includes project management and field coordination. SOW also includes one person to oversee the installation performed by a subcontractor not to exceed 8-hours of field time per week with the exception of the initial start date of the installation and the completion date of the installation. .    Price is per hour.

7.140

Cost for Installing a Recovery Trench:  SOW includes submitting the final invoice from the subcontractor for installing a recovery trench(es). Along with the invoice, the consultant must provide a copy of the bid specification work plan, invitation to bid letters to all subcontractors and written bids from those subcontractors (complete and submit Secondary Form Sec-J). Three written bids are required if cost exceeds $2,000 and five (5) bids if the costs exceed $25,000.  The STF will only reimburse the lowest bid.

Installation of Infiltration Galleries

7.161

Infiltration Gallery Installation Inspection/Certification: SOW includes project management and field coordination. SOW also includes one person to oversee the installation performed by a subcontractor not to exceed 8-hours of field time per week with the exception of the initial start date of the installation and the completion date of the installation.   Price is per hour.

7.180

Cost for Installing an Infiltration Gallery: SOW includes submitting the final invoice from the subcontractor for installing an infiltration gallery. Along with the invoice, the consultant must provide a copy of the bid specification work plan, invitation to bid letters to all subcontractors and written bids from those subcontractors (complete and submit Secondary Form Sec-J). Three written bids are required if cost exceeds $2,000 and five (5) bids if the costs exceed $25,000.  The STF will only reimburse the lowest bid.

Remediation System Operation & Maintenance

7.201

Cost for Remedial System Maintenance:  This SOW includes site visits as indicated in the CAP as being required (i.e. monthly) to provide such maintenance necessary to ensure that the remedial system is operating effectively.  Inspect and document system performance. Tabulate gauge and meter readings, inspect for leaks, excessive equipment heat and noise, equipment wear. Perform repairs or scheduled repairs during the site visit. Check recovery well pumps and components, change out filters, hoses, compressor oil, pressure steam stripper, backwash system to remove fouling and iron buildup. Price includes all necessary equipment and personnel to operate and maintain the equipment. The labor tasks cover all onsite activities, including those by vendors when the consultant is not capable of completing the repairs (e.g., electrician, blower manufacturer repairs post-warranty, etc.) and for all personnel.  Landscaping (raking, weed eating, mowing, etc), debris removal and pest removal are not reimbursable.  The price does not include major repairs or extensive troubleshooting which may be covered by the manufacturer’s warranty.  This task does not include damage due to acts of negligence, vandalism, accidents, or acts of God/nature which are to be covered by the responsible party’s or equipment owner’s insurance.  Only repair or replacement costs due to component aging or normal wear and tear are reimbursable under this task.  Office coordination, scheduling, and telemetry time is included in the hourly price rate and therefore, only the actual time spent on-site is to be reimbursed. Please complete and submit Secondary Form Sec-I. Price is per hour but limited to the system maintenance requirements as outlined in the approved CAP for the site.  This task my be used for additional maintenance needs outside of that indicated within the approved CAP if approved and sufficient documentation is provided to justify the maintenance request.

Please Note: If numerous site visits are expected, the consultant should explore the use of remote telemetry and make every effort to minimize operation and maintenance costs.  Additionally, pre-approval of this task does not guarantee payment for the total hours requested in the pre-approval without justification of the time being requested.  It is the responsibility of the Responsible Party or their designate to provide the necessary documentation to support the request for maintenance hours.

7.250

Cost for Remediation System Maintenance Supplies and Equipment :  SOW includes costs for regularly scheduled maintenance supplies and non-scheduled supplies, components and equipment replacement.  Please complete and submit Secondary Form Sec-I.  Three written bids are required if cost for any one item exceeds $2,000 and five (5) bids if the costs exceed $25,000. (complete and submit Secondary Form Sec-J).  SOW includes submittal of invoice(s).

Typical reimbursable supplies include:

- Oil, belts, filters (compressor components)

- Faulty float switches, relays, electrical components

- Leaky plumbing

- Worn out motors (blower, transfer pumps, etc.)

- Replace pressure switches and gauges

- Bag filters or cartridge filters

- Replenish green sand filters

SOW requires inclusion (at least in the TA’s) of the maintenance breakdown from the CAP where it is required to show the cost effectiveness of the system.  If system maintenance costs are significantly more than what was originally proposed in the original CAP cost analysis, then some changes in the system may need to be made to bring the maintenance back in line.  This could be an earlier extension of any subsequent duration accountability requirement, when the system has significantly outlived its CAP-proposed operational schedule without achieving cleanup.

7.260

Cost for Utility/Operating Expenses for the Remediation System: SOW includes monthly overhead costs for operating the system. This SOW is limited to utility bills (must be pre-approved prior to month of service), bottled gas usage.  Please complete and submit Secondary Form Sec-I.  If monthly utility bills fluctuate significantly (e.g., the rate doubles), please provide an explanation for the fluctuation in the Comments Box on Secondary Form Sec-I. Price is cost.

7.261

Cost for GAC/AG (Carbon/Gracel) Unit Replacement:  SOW is for the replacement of granular activated carbon and GAC aggregate gravel units.   Please provide the invoice and complete Secondary Form 2F.  Price is per pound.

Please Note: It is very important that a Pump & Treat system maintain a certain level of efficiency to prevent excessive carbon usage. In some cases the Consultant should contract with a vendor to perform on-site regeneration or carbon change out to reduce down time of system, if possible. Additionally, iron-fouling problems should be addressed in the design tasks prior to system purchase (phosphates, sequestering agents, high pressure backwash systems, etc.).

Soil Excavation and Disposal

Please Note: Please refer to the UST Guidelines for Assessment and Corrective Action for information about these tasks.   Please also note this section does not cover UST removals (see Section 2).  The STF will only reimburse the most cost-effective technology for remediating contaminated soil.

7.291

Supervision of Corrective Action Excavation of Contaminated Soil: This SOW includes all labor, mileage/travel, and necessary equipment to supervise and manage stated, reimbursable subcontracted Corrective Action excavation activities which include; required soil sampling of excavation and stockpiling of soil, soil disposal, back-filling of the over-excavation pit, and fill compaction.  The SOW will also include office support to assist with all certificates of disposal and manifests.  SOW will also include required field screening equipment as well as field sampling equipment and supplies (hand auger, sample jars, cooler(s), ice, packing, etc.).

The maximum reimbursable cost for these efforts is determined in relation to a sliding scale based on the actual tonnage removed.  As excavation footprints increase, the capacity of the excavation equipment should be adjusted as well, to accommodate the larger scale or work within a reasonable timeframe.  Overall, excavation supervision costs (in $) may not exceed the product of the following calculation: 141 times the square root of the total tonnage documented under Task 7.300 [or, 141*√(tonnage)].  The actual hourly rate billed may vary (within reason), depending on the skill level of staff tasked with completing the supervision, but the total reimbursed cost may not exceed the calculated maximum based on this equation.

Please complete and attach Primary Form P-7c.

7.300

Cost for Excavation and Back-filling of Contaminated Soil (Corrective Action): SOW includes reimbursement for the supervision, excavation, stockpiling and back-filling of soils. SOW requires that compaction of backfill be performed adequately and no follow-up visits will be approved.

7.340

Cost for N.C. Professional Land Surveyor for Stockpile/Excavation Measurement: The consultant will be required to submit not only the subcontractor invoice, but also the calculations performed by that surveyor. This task may also be used with Task 8.020.  Please attach invoice. Three (3) bids are required if cost exceeds $2,000 and five (5) bids are required if the costs exceed $25,000.Price is cost.  If the contaminated soil is weighed, no costs will be reimbursed for this task.  Please submit Secondary form Sec-J if applicable.

7.360

Cost for Transport and Disposal of Contaminated Soil (Corrective Action): SOW includes reimbursement of the loading and transport of contaminated soils.  This SOW also includes all necessary labor, equipment and materials to properly dispose or treat contaminated soil generated during remedial activities.  If the materials are not treated onsite, then an invoice from the disposal facility must be submitted for reimbursement. Treatment onsite must not exceed the cost of disposal at a licensed disposal facility.   The consultant must also submit disposal manifests (documenting tonnage) and weight tickets, or a professional surveyor’s signed and sealed volume calculations. Tonnage disposed is not to exceed tonnage removed (Task 7.300).  Must include the stockpile analytical results with the disposal manifest. Price is cost.

Please Note: If the most cost effective method of treating or disposing of contaminated soil is to treat on site and the soil cannot be weighed, a North Carolina registered professional surveyor must be used to measure the stockpiled soil or the excavation for an exact volume and that same surveyor must perform and seal the calculations. The total volume (cubic yards) should be converted to tons by multiplying by 1.5 if excavation was surveyed or 1.25 if stockpile was surveyed.

Please Note: If contaminated soil is loaded and hauled off site, it must be weighed!

Remedial Equipment Lease

7.390

Lease Charges for a Thermal or Catalytic Oxidizer: SOW includes submitting invoices from the vendor with the lowest bid documented in Task 7.400. SOW shall include documenting all costs in the Secondary Form Sec-J. SOW excludes monthly power bills, propane usage, site visits and sampling.  This task will only be reimbursable where necessary as a reasonably unforeseen additional requirement for effective operation of an approved CAP remediation system.  Please attach invoice.  Price is cost.

Please Note: The STF will only reimburse lease charges up to the purchase price of the equipment. The consultant must be able to reasonably predict if a lease is the most cost-effective approach.  The STF will track all lease charges for the above-referenced equipment and will immediately discontinue reimbursement once the purchase price is met. If a lease is expected to come within 15% of the purchase price, it is in the best interest of the consultant to purchase the system and apply for reimbursement. If the system is purchased, the equipment will become the property of the State and will remain at the site until it is no longer needed or if closure is accomplished.  Once closure is met, or if carbon polishing is more economical, the consultant must notify the STF for equipment relocation purposes.

7.400

Purchase of a Thermal or Catalytic Oxidizer:  SOW includes final invoice for purchase of a thermal or catalytic oxidizer.  Consultant must include a copy of the bid specification work plan, invitation to bid letters to all vendors and written bids from those vendors (complete and submit Secondary Form Sec-J). As with Task 7.390 above, this task will only be reimbursable where necessary as a reasonably unforeseen additional requirement for effective operation of an approved CAP remediation system.  Three written bids are required if cost exceeds $2,000 and five (5) bids if the costs exceed $25,000.  Price is cost.

7.410

Lease Charges for Remediation System:   Use of this task requires specific pre-approval from the  UST Section.  SOW includes submitting invoices from the vendor.  Please see secondary form for reimbursable costs for allowable remedial technologies. SOW shall include documenting all costs in the Secondary Form Sec-J.  Price is cost.

Please Note: The STF will only reimburse lease charges up to the purchase price of the equipment. Three bids will be required to establish the purchase price of the system.  The consultant must be able to reasonably predict if a lease is the most cost-effective approach. The STF will track all lease charges for the above-referenced equipment and will immediately discontinue reimbursement once the purchase price is met. If a lease is expected to come within 15% of the purchase price, it is in the best interest of the consultant to purchase the system and apply for reimbursement. Once the system is no longer needed at the site, the consultant must notify the STF Central Office in Raleigh for equipment relocation purposes.

7.420

Costs for a Mobile Multi-Phase Extraction (MMPE) Event: The SOW includes all costs associated with leasing a full MMPE system including power supply, blower and mobilization of both equipment and personnel.  Allowable rates can be found on Secondary Form Sec-D. The consultant must show that the use of this system is more cost efficient that a traditional fixed in place system.  Use of POTW or NPDES permits is required where discharge points are available and water recovery rates are excessive, >20,000 gallons.  If less than 4,000-gallons of fluids are expected, then no tanker pump out or change out is necessary.  If more than 4,000-gallons of fluids are expected then either tanker change out or tanker pump out, whichever is less, may be reimbursed.

Relocation of Remedial Systems

7.500

Relocation of a Remediation System: In an effort to help control costs at STF reimbursable sites, the STF encourages the reuse of remedial systems at sites were active remediation has ceased.  Responsible parties are required to allow the reuse of Trust Fund reimbursed remedial systems at other STF eligible sites, at no cost to the STF). If a system is relocated, the responsible party will not be responsible for ineligible costs for the replacement of the system should one be needed again for the same incident.  If a system is being de-activated because the site has received a Notice of No Further Action letter from the Section, then the responsible party/system owner is required to notify the Trust Fund of the availability of the system.  A consultant who has knowledge of such a system and wishes to look at the system may be pre-approved for up to a one-day site visit.  Once written approval from the system owner is obtained for the relocation of the system, the STF will reimburse for the transportation, installation and needed maintenance of the system at the new site.  This task is meant for complete systems and replaces the application of the other system manufacture Tasks 7.020 to 7.065 above.  Based on the estimated relocation costs, bidding may be required as described in 1.061.  Attach Secondary Form Sec-J to document all bided costs.  Reimbursement will not be given if the costs associated with relocating a system exceed the estimated costs of purchase and delivery of a new system.

Section 8 - Permits

Soil Disposal/Treatment Permits

Please Note:  The following three permits are only reimbursable if it can been clearly shown that onsite disposal and the cost of these permits is a more cost-effective alternative to disposal of the soil at a permitted soil disposal facility.

8.010

Certificate of Disposal (Form UST-71): SOW includes preparation and submittal of a Certificate of Disposal UST-71 Form.  This is considered to be a field technician level activity not to exceed one hour.

8.020

Permit for Land Application (UST-70): SOW includes preparation and submittal of a Permit for Land Application (Form UST-70. This task will also include an erosion control plan (if required) and the inspection of the proposed site by a NC Certified Soil Scientist. For surveying requirements, please use task codes 7.330 and 7.340. For reimbursement of the UST Section assessed permit fee, use Task 8.100 and include a copy of the permit and cancelled check showing payment.  Commercial land farms or disposal facilities are not eligible for reimbursement of this task code or permit fee.

8.030

Agreement for Land Application (UST-72): SOW includes preparation and submittal of an Agreement for Land Application (Form UST-72). This is considered to be a field technician level activity not to exceed one hour.

Remedial Permits

Please Note: When submitting for reimbursement for the following permits, you must include the fee schedule from the appropriate State agency along with the invoice in order to receive reimbursement.  Only approved permits will be reimbursed.

8.040

Air Quality Permit (for remediation systems; only where required): SOW includes preparation and submittal of the required permit application for nonattainment areas (includes modeling and design where applicable).

8.041

Air Quality Registration (for remediation systems): SOW includes preparation and submittal of a letter registering the remediation system in attainment areas.

8.050

Injection Well Permit: SOW includes preparation and submittal of a complete injection well permit application. Includes all necessary figures and design calculations.

8.060

Non-Discharge Permit: SOW includes preparation and submittal of a complete non-discharge permit.  SOW will include a soil scientist performing an amoozemeter test or a double ring infiltrometer test to establish hydraulic load rating parameters. SOW includes injection design and system layout and design (includes detailed drawings and system schematic).

8.070

NPDES Individual Permit: SOW includes preparation and submittal of a complete NPDES Individual Permit Application (water quality). SOW includes modeling and design and system layout, proposed equipment types, proposed influent and effluent concentrations, etc. (sampling for design is not included in SOW).

8.080

NPDES General Permit:  SOW includes preparation and submittal of a complete NPDES General Permit Application (water quality).  SOW includes design and system layout, proposed equipment types, proposed influent and effluent concentrations, etc. (sampling for design is not included in SOW).

8.090

POTW Discharge Permit: SOW shall include preparation and submittal of a POTW Discharge Permit (where applicable). SOW shall also include modeling and design (sampling for design is not included in SOW).  This is for the permit application only, not for renewal.

8.091

CAMA Minor Development Permit:  SOW includes preparation and submittal of a complete CAMA Permit Application (where applicable).  SOW includes all necessary information to complete the application.

8.092

CAMA Major Development Permit:  SOW includes preparation and submittal of a complete CAMA Permit Application (where applicable).  SOW includes all necessary information to complete the application.

8.100

Cost for Permit Fees (All Permits except county MW Permits): SOW includes payment to consultant for fees associated with all required permits listed above as well as the renewals of these permits. A copy of the invoice from the agency requesting payment and any subsequent correspondence stating that the payment was received and the permit has been approved is required for reimbursement. Price is cost.

8.105

Cost for Monitoring Well Permit Fees (As Required): SOW includes payment to consultant for fees associated with all required well construction permits as well as permit renewals. A copy of the invoice from the agency requesting payment and any subsequent correspondence stating that the payment was received and the permit has been approved is required for reimbursement. Price is cost.

8.110

Cost for Performing a Variance to any Permit: SOW includes preparation and submittal of a variance to an already existing permit. Reason for variance may include a request for alternative analytical methods or an alternative sampling frequency. Regardless of the reason, please use this task for all permits.

##### Section 9 – Disposal Services

9.020

Cost for Disposal of Free Product and Contaminated Groundwater: SOW includes submitting the final invoice from the vendor for the disposal of free product or contaminated groundwater collected as a result of skimming/product recovery, aquifer testing, and well development. This task may not be used for activities conducted as part of the Site Check, Limited Site Assessment phases, or de-watering excavation pits for the installation of new UST systems. Along with the invoice, the consultant must submit a copy of the analytical results showing that the groundwater is contaminated, three written bids if cost exceeds $2,000 and five (5) bids if the costs exceed $25,000 and disposal manifests (complete and submit Secondary Form Sec-J if bidding is necessary). The STF will only reimburse the lowest bid. Price is at cost per gallon.

9.040

Cost for Disposal of Sorbents (booms, well socks, etc.): SOW includes submitting the final invoice from the disposal contractor for the disposal of sorbents as a result of recovering free product from surface waters as well as disposal of free product recovery well socks .  Along with the invoice, the consultant must submit bidding documentation as described in Task 1.061 above, where applicable (complete and submit Secondary Form Sec-J if bidding is necessary).   Price is cost per drum.

9.060

Cost for Disposal of Drummed Soil/Drill Cutting (From Drilling): SOW includes submitting the final invoice from the vendor for the disposal of drummed soil cuttings (contaminated only) generated by drilling activities. This task may not be used for activities conducted as part of the Site Check or Limited Site Assessment phases. Along with the invoice, the consultant must submit bidding documentation as described in Task 1.061 above (complete and submit Secondary Form Sec-J if bidding is necessary).  Price is at cost per drum.

Please Note: The use of drums for soil requires pre-approval from the Section.  Drill cuttings should be spread onsite wherever feasible.  Otherwise, soils being held for transportation offsite should be stockpiled on plastic until final disposal.

Section 10 – Site Repair

Please Note: Listed below are provisions for site restoration.  These costs are only reimbursable for items which are planned such as an approved corrective action (excavation of soils, installation of trenches, infiltration galleries, etc) where the costs for repair activities should be included in the activity proposals themselves. This will also not cover any accidental damage (i.e. rupturing of water lines, telephone and fiber optic lines, cable lines, power lines, on-site underground utilities, etc). It is the responsibility of the consultant to ensure proper utility clearance prior to performing field activities.  This section may also not be used for repair necessitated by UST closure or Site Check activities.

10.010

Structure Repair/Stabilization:  Structures that are repaired must be of same like and kind as original.  Structures do not include appliances (i.e. air conditioning units, heating units, aboveground tanks, etc.) or components of the UST system. This task requires pre-approval from UST Section for reimbursement.  This task is will only be considered if it facilitates the most cost-effective remedial action. Along with the invoice, the consultant must provide bidding documentation as described in Task 1.061 above (complete and submit Secondary Form Sec-J if bidding is necessary).

10.030

Cost for Replacing Impacted Utilities: Utilities must be replaced in the exact manner in which they were removed unless relocation or alternative suitable materials that results in less expense to the STF can be used.  SOW includes submitting the final invoice from the subcontractor.  Cost will not be reimbursed above the maximum rate.

10.050

Cost for Repairing Landscaping: SOW includes submitting the final invoice from the subcontractors. This SOW for this task is to provide basic grading, erosion control and ground cover measures following assessment and remedial activities.  Such measures include straw, pine straw, mulch and grass seed.  The area restored is not to exceed the area affected by the assessment or remedial activities.  Restoration of damage done to areas outside the affected area is not reimbursable.  The SOW includes the equipment and personnel necessary to apply the erosion measures. Cost will not be reimbursed above the maximum rate.

10.070

Cost for Repairing Asphalt and/or Concrete: SOW includes submitting the final invoice from the subcontractor and it is limited to only those areas required to be impacted by the assessment and/or remedial activities.  Damages to asphalt or concrete caused by the consultant or their sub-contractors to areas not related to the assessment or remedial areas (even if the damage was caused while conducting the required assessment and/or remedial activities) will not be reimbursed. Photographs of the impacted areas before and after the required assessment and/or remedial activities are required to be submitted along with the invoice. Along with the invoice, the consultant must provide bidding documentation as described in Task 1.061 above (complete and submit Secondary Form Sec-J if bidding is necessary).   The contractor shall ensure that the asphalt work reimbursed under this task is limited to only those areas that were impacted by the remedial activities.

##### Section 11 – Connecting to Public Water

Please Note: Connecting a well user or users to public water systems may be considered a cleanup cost if the UST Section determines that connection of the users and abandonment of appropriate supply and/or irrigation wells is a cost-effective means to lower the risk classification of the site (Reduction of risk from High to Intermediate or Low, not reduction of the Risk, Rank and Abatement Value).  If the risk cannot be lowered, connecting a well user to municipal water is considered a third party cost and will only be reimbursed for sites where the well has been contaminated and the third party deductible of $100,000 has been met.  All Section 11 costs require pre-approval from the UST Section.

11.020

Agreements to Connect Water Supply Well Users to Public Water:  This SOW consists of contacting water supply well users and providing them with an agreement to connect them to a public water system. SOW includes negotiating and meeting with the water supply well user concerning the connection. Please keep in mind that once the water line connection is made, all contaminated water supply wells must be properly abandoned and the STF will not reimburse monthly water bills. Price is per signed agreement. This task is not to be used for the abandonment of irrigation or out of use water supply wells or any other remedial access utilizing agreements under Task Code 1.050.

11.040

Coordination and Verification of Water Line Connection: SOW will include coordinating and managing the subcontractor performing the specified connection of water supply well user(s). SOW also includes the verification of work once completed.  Price is per connection.

11.050

Cost for Water Line Connections: SOW includes submitting the final invoice from the subcontractor conducting the work.  This work is limited to only pay for water supply replacement, and not for property upgrades or running expanded services to accommodate future development (such as large diameter lines, hydrants, sewer, etc.) that directly results in the lowing of the Risk, Rank and Abatement Value, not the numerical ranking within a category. If multiple houses are to be connected, the bid is to include the connection of all the houses, not one house at a time. Along with the invoice, the consultant must provide bidding documentation as described in Task 1.061 above. Price is cost and is to be presented as a price per foot or price per residence.

Section 12 – Travel Time & Lodging

Please Note: Mileage costs are not reimbursable for the following Task Code Sections: Section 1, Task 2.071, Section 4, Section 5, Section 6, Section 8, Section 9, Section 10, and Section 11 . Maximum mile roundtrip available for reimbursement is 180 miles.  For most areas of the state, consultants performing UST work can be obtained within a 90-mile radius.  The responsible party may use a consultant located beyond this distance at their own expense.  Exceptions to this 180-mile limit may be allowed for work performed in the following counties: Currituck, Camden, Pasquotank, Dare, Tyrrell, Gates, Perquimans, Cherokee, Clay, Macon, Hyde and Graham due to the extreme rural nature and limited road systems within these areas.  Consultants must receive pre-approval from the UST Section in order to receive reimbursement for mileage exceeding the 180-mile limit when working in those counties.  The 180-mile limit would apply to work performed in all other counties of the State.  Excessive travel without considering overnight lodging will not be allowed. When overnight lodging indicates a cost saving, lodging must be charged.  When visiting multiple sites during a trip, the consultant must evenly divide the mileage and lodging costs among the sites visited.  The maximum reimbursable travel and lodging costs will be evaluated based on the nearest consultant’s office.  However, only the actual costs incurred may be claimed even if they do not meet these maximums due to more local satellite (or local) duty stations, etc.

12.010

Required Consultant Travel: The price per mile includes the use of one completely equipped vehicle and travel time for all personnel (any level).  Price is per mile based upon the Standard Mileage Rates established by the Federal Internal Revenue Service at the time that the mileage was incurred, 45 miles per hour traveled, and the average of the field technician and project manager hourly rates.  If multiple sites are visited on the same day, then each leg of travel must be included on any claim for the applicable sites to ensure the appropriate travel apportionment as described in Section 12 header above. Travel mileage is based on the distance to the site from the consultant’s nearest office (adjusted to account for travel between sites for multiple-site events).  Complete Primary Form P-12 and include the appropriate IRS mileage tables from www.IRS.gov.

Please Note: Overnight lodging is not reimbursable for the following Task Code Sections: 1, 6, 8, 9 and 10.

12.030

Overnight Lodging: Price includes overnight lodging for one person (any level). Per diems are only reimbursable for overnight stays between two working days (10 hours or more field time onsite or 15 total hours field and travel combined), and are not reimbursable for staying the night before starting or night after completing the eligible activities (except where done as part of a milk-run with other eligible sites, with the per diem and travel costs divided evenly between them and all sites listed in the milk-run on each affected claim submitted).   Please attach lodging and meal invoices.  Price is per night.

Please Note: Overnight lodging is only reimbursable where pre-approved by the UST Section and is not reimbursable for the following Task Code Sections: 1, 5, 6, 8, 9, 10, and 11.