**Consumer Confidence Report (CCR) Certification Form**

**Water System Name:**\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**Water System No.: NC\_\_ \_\_ \_\_ \_\_ \_\_ \_\_ \_\_ Report Year: \_\_\_\_\_\_\_\_ Population Served: \_\_\_\_\_\_\_\_\_**

The Community Water System (CWS) named above hereby confirms that all provisions under 40 CFR parts 141 and 142 requiring the development of, distribution of, and notification of a consumer confidence report have been executed. Further, the CWS certifies the information contained in the report is correct and consistent with the compliance monitoring data previously submitted to the primacy agency by their NC certified laboratory. In addition, if this report is being used to meet Tier 3 Public Notification requirements, as denoted by the checked box below, the CWS certifies that public notification has been provided to its consumers in accordance with the requirements of 40 CFR 141.204(d)**.**

**Certified by: Name: Title: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

 **Signature: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_** **Phone #: \_\_\_\_**

 **Delivery Achieved Date: \_\_\_\_\_\_\_\_ Date Reported to State: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

**[ ]  The CCR includes the mandated Public Notice for a monitoring violation (check box, if yes).**

Check **all** methods used for distribution (see instructions on back for delivery requirements and methods):

* Paper copy to all US Mail Hand Delivery
* Notification of Availability of Paper Copy (Provide a copy of the notice.)

 Notification Method \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ (i.e. US Mail, door hanger)

* Notification of CCR URL (must be direct URL) URL: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

 Notification Method \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_(i.e. on bill, bill stuffer, separate mailing, email)

* Direct email delivery of CCR (attached? \_\_\_or embedded?\_\_\_) (Provide a copy of the email.)

Notification Method \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ (i.e. on bill, bill stuffer, separate mailing)

* Newspaper (attach copy) What Paper? \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_Date Published: \_\_\_\_\_\_\_\_\_

Notification Method \_\_\_\_\_\_\_ \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ (i.e. US Mail, on bill, bill stuffer, door hanger, a postcard dedicated to the CCR, or email)

* **“Good faith” efforts** (in addition to one of the above required methods) were used to reach non-bill paying consumers such as industry employees, apartment tenants, etc. Extra efforts included the following methods:
	+ posting the CCR on the Internet at URL: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_
	+ mailing the CCR to postal patrons within the service area
	+ advertising the availability of the CCR in news media (attach copy of announcement)
	+ publication of the CCR in local newspaper (attach copy)
	+ posting the CCR in public places such as: (attach list if needed) \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_
	+ delivery of multiple copies to single bill addresses serving several persons such as: apartments, businesses, and large private employers
	+ delivery to community organizations such as: (attach list if needed)

 **Note:** Use of social media (e.g., Twitter or Facebook) or automated phone calls DO NOT meet existing CCR distribution methods under the Rule.

**INSTRUCTIONS for Water System (**Remove this page prior to distribution.**)**

**Submittal of your CCR and Certification Form to the Public Water Supply Section**

Beginning in 2018, the CCR for report year 2017 and future years must be submitted using our new ECERT Online Certification application. You must submit your CCR, Certification form, and supporting documentation (copy of notice, email, or bill example) using the links provided below. Follow the directions to ensure efficient tracking and receipt of your submittal, expedited review of report data by the Public Water Supply (PWS) Section, and your system’s compliance with state and federal regulations.

* **CCR Template:** [http://ncdenr.s3.amazonaws.com/s3fs-public/Water%20Resources/files/pws/pnrule/CCR\_Template\_(with%20Certification%20&%20ECert%20Inst.)\_lfr.doc](http://ncdenr.s3.amazonaws.com/s3fs-public/Water%20Resources/files/pws/pnrule/CCR_Template_%28with%20Certification%20%26%20ECert%20Inst.%29_lfr.doc)
* **ECERT Online Certification and Submittal of CCR:** <https://pws.ncwater.org/ECERT/pages/default.aspx>

For assistance with accessing ECERT please send email to: PWSS.CCR@ncdenr.gov (use ‘Return Receipt Requested’ to verify PWS Section’s receipt.) **Note:** ECERT Access Instructions are located at the following link:<https://files.nc.gov/ncdeq/Water%20Resources/files/pws/compliance/ECERT_Access%20Instructions_Revision_tam_lfr.pdf>

If you do not have internet access, please submit using the following methods:

* **By Postal Mail:** Mail your CCR, Certification form, and supporting documentation to:

Public Water Supply Section, 1634 Mail Service Center, Raleigh, NC 27699-1634, Attn: CCR Rule Manager

* **By FAX:** FAX your CCR, Certification form, and supporting documentation to (919) 715-6637, Attn: CCR Rule Manager

**CCR Customer Direct Delivery Requirements (Based on Population)**

* **Systems serving 100,000 or more persons must** post the CCR on a publicly-accessible Internet site using a direct URL.
* **Systems serving 10,000 or more persons must** distribute the CCR by mail or direct delivery.
* **Systems serving less than 10,000 persons but more than 500 persons** **must either**: (1) distribute the CCR by mail or direct delivery **OR** (2)notify their customers that the CCR is not being mailed, but it will be in what newspaper(s) and when (attach copy of notice). The complete CCR should be printed in the local newspaper, and a copy of the CCR must be made available upon request. *(The 2nd option is not acceptable if using the CCR for Tier 3 Public Notification!)*
* **Systems serving 500 or fewer persons must either:** (1) distribute the CCR by mail or direct delivery OR (2) notify their customers that the CCR is not being mailed, and a copy of the CCR must be made available upon request. *(The 2nd option is not acceptable if using the CCR for Tier 3 Public Notification!)* A copy of the notice must be submitted to the State with the CCR and Certification Form.

**CCR Direct Delivery Methods for Bill-Paying Customers**

|  |  |
| --- | --- |
| **CCR DELIVERY METHOD** | **METHOD DESCRIPTION** (Click link: [EPA-CCR Rule Delivery Options Memo January 3, 2013](http://www.ncwater.org/pws/Compliance/CCRcertform_files/EPA%20Safe%20Drinking%20Water%20Act%20CCR%20Delivery%20Options%20memo%202013.pdf)**.**for referenced Appendix Figures below.)  |
| Mail – paper copy  | CWS mails a paper copy of the CCR to each bill-paying customer. |
| Mail – notification that CCR is available on web site via a direct URL  | CWS mails to each bill-paying customer a notification that the CCR is available and provides a direct URL to the CCR on a publicly available site on the Internet where it can be viewed. A URL that navigates to a web page that requires a customer to search for the CCR or enter other information does not meet the “directly deliver” requirement. The mail method for the notification may be, but is not limited to, a water bill insert, statement on the water bill or community newsletter. See Figure 1 in the Appendix. A copy of the notice of the direct URL must be submitted to the State with the CCR and Certification Form. |
| Email – direct URL to CCR  | CWS emails to each bill-paying customer a notification that the CCR is available and provides a direct URL to the CCR on a publicly available site on the Internet. A URL that navigates to a web page that requires a customer to search for the CCR or enter other information does not meet the “directly deliver” requirement. This method may only be used for customers when a CWS has a valid email address to deliver the CCR electronically. See Figure 2 in the Appendix. A copy of the email must be submitted to the State with the CCR and Certification Form. |
| Email – CCR sent as an attachment to email | CWS emails the CCR as an electronic file email attachment [e.g., portable document format (PDF)]. This method may only be used for customers when a CWS has a valid email address to deliver the CCR electronically. See Figure 3 in the Appendix. A copy of the email must be submitted to the State with the CCR and Certification Form. |
| Email – CCR sent as an embedded image in an email | CWS emails the CCR text and tables inserted into the body of an email (not as an attachment.) This method may only be used for customers when a CWS has a valid email address to deliver the CCR electronically. See Figure 4 in the Appendix. A copy of the email must be submitted to the State with the CCR and Certification Form. |
| Additional electronic delivery that meets “otherwise directly deliver” requirement | CWS delivers CCR through a method that “otherwise directly delivers” to each bill-paying customer and in coordination with the primacy agency. This category is intended to encompass methods or technologies not included above. CWSs and primacy agencies considering new methods or technologies should consult with the EPA to ensure it meets the intent of “otherwise directly deliver.”  |

 **Note**: Use of social media or automated phone calls DO NOT meet existing CCR distribution methods under the Rule**.**

**Instructions for Notice of Availability and/or a Direct URL:**

**Systems serving 500 or fewer persons must either:** (1) distribute the CCR by mail or direct delivery OR

(2) notify their customers that the CCR is not being mailed, but a copy of the CCR will be made available upon request. [*Option (2) is not acceptable if using the CCR for Tier 3 Public Notification!]* **The Notice of Availability in the Example below must be delivered to each customer if Option (2) is being used.**

**Regardless of the population**, if the water system intends to provide delivery of the CCR report on a publicly available site on the Internet, a notice of availability containing the direct URL to that website must be directly delivered to all bill paying customers if the full report is not mailed or directly delivered by approved means.

**Example Notice of Availability:**

The Annual Drinking Water Quality Report for (YEAR) will not be distributed to each customer, but a copy is available upon request.

Contact your water system representative, [insert Name] at [insert phone number with area code],

*or if applicable,*

view the report on our website at the following direct link: example ([www.yourwater.org/ccr](http://www.yourwater.org/ccr)).

**Note**: Water systems should provide a translation of this statement if >10 percent of the population served is non-English speaking.

**Spanish Translation of the Example Notice of Availability:**

El Informe Anual de Calidad de Agua Potable (Informe de Confianza del Consumidor) del año [YEAR] no se distribuirá a cada cliente, pero puede obtener una copia si la pide.

Contacte al representante de su compañía de agua,[insert Name] al [insert phone number with area code] para pedir una copia

*o si es aplicable*,

puede ver el Informe en nuestra página electrónica en el enlace siguiente: (example: ww.yourwater.org/ccr).

\*\***Consumer Confidence Report (CCR) Template** (revised 2/2021)

\*\*This year’s CCR and Certification form MUST be submitted to the Public Water Supply Section using our on-line ECERT application (see instructions on the back of the Certification form or access the ECERT “Help” video available on our website at: **https://deq.nc.gov/about/divisions/water-resources/drinking-water/compliance-services).**

\*\*Since 2013, electronic delivery of your CCR to your customers is acceptable as a direct delivery method IF performed properly (for delivery requirements and methods, see instructions on the back of the Certification form or on the Public Water Supply Section’s website address noted above).

\*\*Before printing the finished report, remove all instructions. All instructions are in blue text with \*\* symbols at the beginning of each paragraph. The \*\*s are included in case the blue color is not visible.

\*\*Yellow highlighted text indicates the updates/revisions to the former template.

\*\*It is best to remove all non-detected contaminants and all contaminants not required to be monitored by the water system from the report. Thus, the report will be shorter, and it will be less expensive to make multiple copies for the customers.

\*\*If you wish to include non-detected contaminants in your report, the CCR Rule requires that all detected and non-detected contaminants be presented in separate tables.

\*\*A detected contaminant stays in the report from year to year until the particular contaminant is tested again, in which case, the result may either be modified, if detected again, or removed, if not detected. No data older than 5 years needs to be included.

\*\*Systems that have a large proportion of non-English speaking customers must include information in the appropriate language(s) regarding the importance of the report or provide a telephone number or address where such residents may contact the system to obtain a translated copy of the report or assistance in the appropriate language.

\*\*As is, this report has numerous pages. Once all the instructions and non-detects are removed from the report, the average CCR Report is normally 2 to 4 pages in length (without any public notices attached).

\*\*Change the word “year” below to the correct report year in the title (i.e., 2019) and change the words “System Name” to the water system’s name. Change “99-99-999” to the water system’s number.

***“2020” Annual Drinking Water Quality Report***

***“System Name”***

Water System Number: “**99-99-999”**

\*\*The report must include the telephone number of the owner, operator, or designee of the water system as a source of additional information concerning the report. If there are meetings for opportunities for public participation in decisions that may affect the quality of the water, the time and place of these meetings must be included.

\*\*Suggested Introduction:

**Este informe contiene información muy importante sobre su agua potable. Tradúzcalo o hable con alguien que lo entienda bien.**

We are pleased to present to you this year's Annual Drinking Water Quality Report. This report is a snapshot of last year’s water quality. Included are details about your source(s) of water, what it contains, and how it compares to standards set by regulatory agencies. Our constant goal is to provide you with a safe and dependable supply of drinking water. We want you to understand the efforts we make to continually improve the water treatment process and protect our water resources. We are committed to ensuring the quality of your water and to providing you with this information because informed customers are our best allies. **If you have any questions about this report or concerning your water, please contact [name of water system contact] at [(999) 999-9999]. We want our valued customers to be informed about their water utility. If you want to learn more, please attend any of our regularly scheduled meetings. They are held at [location/dates/time].**

**What EPA Wants You to Know**

\*\*Paragraphs 1, 2 & 3 below MUST remain as is, including the required lead health effects language that each system is required to include per the revisions to the Lead and Copper and CCR Rules.

Drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants. The presence of contaminants does not necessarily indicate that water poses a health risk. More information about contaminants and potential health effects can be obtained by calling the Environmental Protection Agency's Safe Drinking Water Hotline (800-426-4791).

Some people may be more vulnerable to contaminants in drinking water than the general population. Immuno-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infections. These people should seek advice about drinking water from their health care providers. EPA/CDC guidelines on appropriate means to lessen the risk of infection by *Cryptosporidium* and other microbial contaminants are available from the Safe Drinking Water Hotline (800-426-4791).

If present, elevated levels of lead can cause serious health problems, especially for pregnant women and young children. Lead in drinking water is primarily from materials and components associated with service lines and home plumbing. [Name of Utility] is responsible for providing high quality drinking water, but cannot control the variety of materials used in plumbing components. When your water has been sitting for several hours, you can minimize the potential for lead exposure by flushing your tap for 30 seconds to 2 minutes before using water for drinking or cooking. If you are concerned about lead in your water, you may wish to have your water tested. Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available from the Safe Drinking Water Hotline or at <http://www.epa.gov/safewater/lead>.

\*\*Paragraphs 4 and 5 must remain, but they may be modified.

The sources of drinking water (both tap water and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs, and wells. As water travels over the surface of the land or through the ground, it dissolves naturally-occurring minerals and, in some cases, radioactive material, and can pick up substances resulting from the presence of animals or from human activity. Contaminants that may be present in source water include microbial contaminants, such as viruses and bacteria, which may come from sewage treatment plants, septic systems, agricultural livestock operations, and wildlife; inorganic contaminants, such as salts and metals, which can be naturally-occurring or result from urban stormwater runoff, industrial or domestic wastewater discharges, oil and gas production, mining, or farming; pesticides and herbicides, which may come from a variety of sources such as agriculture, urban stormwater runoff, and residential uses; organic chemical contaminants, including synthetic and volatile organic chemicals, which are by-products of industrial processes and petroleum production, and can also come from gas stations, urban stormwater runoff, and septic systems; and radioactive contaminants, which can be naturally-occurring or be the result of oil and gas production and mining activities.

In order to ensure that tap water is safe to drink, EPA prescribes regulations which limit the amount of certain contaminants in water provided by public water systems. FDA regulations establish limits for contaminants in bottled water, which must provide the same protection for public health.

**When You Turn on Your Tap, Consider the Source**

\*\*This annual report must provide information on the source(s) of water which includes the type of water [such as ground, surface, purchase surface, ground water under the direct influence of surface water (GWUDI), etc]; the commonly used name (if any), and the location of the source(s).

The water that is used by this system is … and is located at …

**Source Water Assessment Program (SWAP) Results**

\*\*The Source Water Assessment Program (SWAP) assessments have been completed. Your CCR must include a brief summary of the system’s susceptibility to potential sources of contamination. The system must also notify customers in the CCR that an assessment is available and where they can obtain a copy. Replace [SYSTEM NAME] in the paragraphs below with your water system’s name.

\*\*All 4 paragraphs must remain, but they may be modified.

The North Carolina Department of Environmental Quality (DEQ), Public Water Supply (PWS) Section, Source Water Assessment Program (SWAP) conducted assessments for all drinking water sources across North Carolina. The purpose of the assessments was to determine the susceptibility of each drinking water source (well or surface water intake) to Potential Contaminant Sources (PCSs). The results of the assessment are available in SWAP Assessment Reports that include maps, background information and a relative susceptibility rating of Higher, Moderate or Lower.

The relative susceptibility rating of each source for [SYSTEM NAME] was determined by combining the contaminant rating (number and location of PCSs within the assessment area) and the inherent vulnerability rating (i.e., characteristics or existing conditions of the well or watershed and its delineated assessment area). The assessment findings are summarized in the table below:

\*\* Please note that the source water assessments will be periodically updated. Therefore, the results reported in your CCR may differ from the results displayed on the SWAP web site at the time you deliver the CCR to your customers. In order to avoid confusion, you should include the most current SWAP Report date (found in the footer of each page of your SWAP report) with the susceptibility rating as indicated in the table below.

**\*\*EXAMPLE:** Enter your water system’s source(s) under the Source Name column, your source(s)’ Susceptibility Rating from Table 2 found in your water system’s SWAP report under the Susceptibility Rating column, and the date of the report under the SWAP Report Date column. Add or remove rows from the table below, as needed.

**Susceptibility of Sources to Potential Contaminant Sources (PCSs)**

|  |  |  |
| --- | --- | --- |
| **Source Name** | **Susceptibility Rating** | **SWAP Report Date** |
| Well # 1 | Lower | September 2020 |
| Well #2 | Higher | September 2020 |
| Well #3 | Moderate | September 2020 |

The complete SWAP Assessment report for [SYSTEM NAME] may be viewed on the Web at: <https://www.ncwater.org/?page=600> Note that because SWAP results and reports are periodically updated by the PWS Section, the results available on this web site may differ from the results that were available at the time this CCR was prepared. If you are unable to access your SWAP report on the web, you may mail a written request for a printed copy to: Source Water Assessment Program – Report Request, 1634 Mail Service Center, Raleigh, NC 27699-1634, or email requests to swap@ncdenr.gov. Please indicate your system name, number, and provide your name, mailing address and phone number. If you have any questions about the SWAP report please contact the Source Water Assessment staff by phone at 919-707-9098.

It is important to understand that a susceptibility rating of “higher” does not imply poor water quality, only the system’s potential to become contaminated by PCSs in the assessment area.

**Help Protect Your Source Water**

\*\* Water systems are encouraged to use this report to inform consumers of source water protection actions that are in the planning stages or are already in place, to invite public participation in locally based source water protection efforts, and to provide tips on ways they can protect their source water. See paragraph below for suggested content.

Protection of drinking water is everyone’s responsibility. We have implemented the following source water protection actions: ……….. You can help protect your community’s drinking water source(s) in several ways: (examples: dispose of chemicals properly; take used motor oil to a recycling center, volunteer in your community to participate in group efforts to protect your source, etc.).

**Violations that Your Water System Received for the Report Year**

\*\*If the water system received any violation during any compliance period(s) ending by the end of the report year, the report must include a clear and readily understandable explanation of the violation(s) including: length of the violation(s), steps taken by the water system to correct the violation(s), and any potential adverse health effects if a violation was a Maximum Contaminant Level (MCL) violation (also known as a Tier 1 or Tier 2 violation). Adverse health effects are found in Appendix A of the CCR Rule. **Use of the CCR for primary distribution of a Tier 1 or Tier 2 violation is not allowed since the Public Notification Rule requires that Tier 1 and Tier 2 notices be directly delivered within 24 hours or 30 days (respectively) of the awareness date of the violation**.

\*\*Change the word “year” below to the report year (i.e., 2020).

During (year), or during any compliance period that ended in (year), we received a *[insert type]* violation that covered the time period of *[insert compliance period].* We are/have *[insert information on corrective action]* to assure this does not happen again.

Note that certain Treatment Technique (TT) violations also require specific language for potential adverse health effects [see 141.153(f)(2 through 4) of the CCR Rule]. Complete the table below for any Treatment Technique violations. You may want to use the table format for other violations, as well. Any administrative orders or penalties should also be mentioned. You are not required to explain any reporting violations that may have occurred during the report year. TT violations are either Tier 1 or Tier 2 violations and the mandatory public notice must be performed within 24 hours or 30 days (respectively) of the awareness date of the violation.

**Treatment Technique Violations**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| TT Violation | Explanation | Length of Violation | Steps Taken to Correct the Violation | Health Effects Language |
|  |  |  |  |  |

\*\***Public Notification (PN):** If the water system chooses to use the CCR for distribution of Tier 3 violation Public Notice(s), the water system does not have to mention the particular violation in this area of the report but must either complete the proper information in the Tier 3 Notice to the Public below or attach a copy of the Notice to the Public on a separate sheet of paper to meet the PN requirements. ***You are required to check the box by your signature on the CCR Certification form to indicate that a Public Notice is included in the CCR***. The CCR Certification will count as your Public Notification Certification. **Note:** Those systems using the CCR mailing waiver option that allows only notification to customers of the availability of the CCR cannot use the CCR for distribution of the Public Notice(s) because Public Notice(s) must be delivered to all customers.

\*\*If you choose to use the CCR as the means of distribution for a Tier 3 Public Notification, you MUST use the following language, in its entirety, and upload the CCR Report file to **both** the CCR and PN modules in ECERT to fulfill both Rules’ requirements.

**NOTICE TO THE PUBLIC**

**IMPORTANT INFORMATION ABOUT YOUR DRINKING WATER**

**Violation Awareness Date: \_\_\_\_\_\_\_\_\_\_\_\_\_\_**

***We are required to monitor your drinking water for specific contaminants on a regular basis. Results of regular monitoring are an indicator of whether or not our drinking water meets health standards. During the compliance period specified in the table below, we [‘did not monitor or test' or ‘did not complete all monitoring or testing'] for the contaminants listed and therefore cannot be sure of the quality of your drinking water during that time.***

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Contaminant group\*\*** | **Facility ID NO./****Sample point ID** | **Compliance period****begin Date** | **Number of samples/****sampling frequency** | **WHEN SAMPLES WERE TAKEN**(Returned to Compliance) |
|  |  |  |  |  |
|  |  |  |  |  |

\*\*Delete the contaminant listings below that do not apply to your violations.

**(AS) Asbestos -** includes testing for Chrysotile, Amphibole and Total Asbestos.

**(BA) Total Coliform Bacteria –** includes testing for Total Coliform bacteria and Fecal/*E.coli* bacteria. Testing for Fecal/*E.coli* bacteria is required if total coliform is present in the sample.

**(BB) Bromate/Bromide** – includes testing for Bromate and/or Bromide.

**(CD) Chlorine Dioxide/Chlorite** – includes testing for Chlorine Dioxide and/or Chlorite.

**(DI) Disinfectant Residual** must be tested with the collection of each compliance bacteriological sample, at the same time and site.

**Fecal Indicators** – includes *E.coli*, enterococci or coliphage.

**(HAA5)- Haloacetic Acids** - include Monochloroacetic Acid, Dichloroacetic Acid, Trichloroacetic Acid, Monobromoacetic Acid, Dibromoacetic Acid.

**(IOC) Inorganic chemicals** - include Antimony, Arsenic, Barium, Beryllium, Cadmium, Chromium, Cyanide, Fluoride, Iron, Manganese, Mercury, Nickel, pH, Selenium, Sodium, Sulfate, and Thallium.

**(LC) Lead and Copper** are tested by collecting the required number of samples and testing each of the samples for both lead and copper.

**(NT) Nitrate/ (NI) Nitrite –** includes testing for nitrate and/or nitrite.

**(RA) Radionuclides -** includes Gross Alpha, Radon, Uranium, Combined Radium, Radium 226, Radium 228, Potassium 40 (Total), Gross Beta, Tritium, Strontium 89, Strontium 90, Iodine 131, and Cesium 134.

**(SOC) – Synthetic Organic Chemicals/Pesticides** – include 2,4-D, 2,4,5-TP (Silvex), Alachlor, Atrazine, Benzo(a)pyrene, Carbofuran, Chlordane, Dalapon, Di(2-ethylhexyl)adipate, Di(2-ethylhexyl)phthalate, Dibromochloropropane (DBCP), Dinoseb, Endrin, Ethylene dibromide (EDB), Heptachlor, Heptachlor Epoxide, Hexachlorobenzene, Hexachlorocyclopentadiene, Lindane, Methoxychlor, Oxamyl(vydate), PCBs, Pentachlorophenol, Picloram, Simazine, Toxaphene.

**(TOC) - Total Organic Carbon -** includes testing for Alkalinity, Dissolved Organic Carbon (DOC), Total Organic Carbon (TOC) and Ultraviolet Absorption 254 (UV254). Source water samples must be tested for both TOC and Alkalinity. Treated water samples must be tested for TOC. Source water samples and treated water samples must be collected on the same day.

**(TTHM)** - **Total Trihalomethanes -** include Chloroform, Bromoform, Bromodichloromethane, and Dibromochloromethane.

**(VOC) - Volatile Organic Chemicals -** include 1,2,4-Trichlorobenzene, Cis-1,2-Dichloroethylene, Xylenes (Total), Dichloromethane, o-Dichlorobenzene, p-Dichlorobenzene, Vinyl Chloride, 1,1,-Dichloroethylene, Trans-1,2,-Dichloroethylene, 1,2-Dichloroethane, 1,1,1-Trichloroethane, Carbon Tetrachloride, 1,2-Dichloropropane, Trichloroethylene, 1,1,2-Trichloroethane, Tetrachloroethylene, Chlorobenzene, Benzene, Toluene, Ethylbenzene, and Styrene.

**(WQP) Water Quality Parameters** (for Lead and Copper Rule) - includes Calcium, Orthophosphate (as PO4), Silica, Conductivity, pH, Alkalinity and Water Temperature.

**What should I do?** There is nothing you need to do at this time**.**

**What is being done?** [Describe corrective action.]

***Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.***

 For more information about this violation, please contact the responsible person listed in the first paragraph of this report.

**Water Quality Data Tables of Detected Contaminants**

\*\*Suggested introduction for the table(s) of detected contaminants - should leave as is, except change the word “year” in the bolded sentence below to the particular report year (i.e., 2020).

We routinely monitor for over 150 contaminants in your drinking water according to Federal and State laws. The tables below list all the drinking water contaminants that we detected in the last round of sampling for each particular contaminant group. The presence of contaminants does not necessarily indicate that water poses a health risk. **Unless otherwise noted, the data presented in this table is from testing done January 1 through December 31, (2020).** The EPA and the State allow us to monitor for certain contaminants less than once per year because the concentrations of these contaminants are not expected to vary significantly from year to year. Some of the data, though representative of the water quality, is more than one year old.

\*\*Special Note: Where a system is allowed to monitor for regulated contaminants less often than once a year, the table(s) must include the date and results of the most recent samples, and the report must include a brief statement indicating that the data presented in the report are from the most recent monitoring performed in accordance with the regulations. No data older than 5 years need to be included.

**Important Drinking Water Definitions:**

\*\*Suggested definitions for the report - remove the definitions that are not needed.

***Not-Applicable (N/A****)* – Information not applicable/not required for that particular water system or for that particular rule.

***Non-Detects (ND)*** - Laboratory analysis indicates that the contaminant is not present at the level of detection set for the particular methodology used.

***Parts per million (ppm) or Milligrams per liter (mg/L)*** - One part per million corresponds to one minute in two years or a single penny in $10,000.

***Parts per billion (ppb) or Micrograms per liter (ug/L)*** - One part per billion corresponds to one minute in 2,000 years, or a single penny in $10,000,000.

***Parts per trillion (ppt) or Nanograms per liter (nanograms/L)*** - One part per trillion corresponds to one minute in 2,000,000 years, or a single penny in $10,000,000,000.

***Parts per quadrillion (ppq) or Picograms per liter (picograms/L)*** - One part per quadrillion corresponds to one minute in 2,000,000,000 years or one penny in $10,000,000,000,000.

***Picocuries per liter (pCi/L)*** - Picocuries per liter is a measure of the radioactivity in water.

***Million Fibers per Liter (MFL)*** - Million fibers per liter is a measure of the presence of asbestos fibers that are longer than 10 micrometers.

***Nephelometric Turbidity Unit (NTU)*** - Nephelometric turbidity unit is a measure of the clarity of water. Turbidity in excess of 5 NTU is just noticeable to the average person.

\*\***Definitions** that must stay in the report, if any are used in the table(s) of detected contaminants--remove any definitions not needed/required.

***Action Level* *(AL)*** *-* The concentration of a contaminant which, if exceeded, triggers treatment or other requirements which a water system must follow.

***Treatment Technique (TT****)* **-** A required process intended to reduce the level of a contaminant in drinking water.

***Maximum Residual Disinfection Level (MRDL)*** – The highest level of a disinfectant allowed in drinking water. There is convincing evidence that addition of a disinfectant is necessary for control of microbial contaminants.

***Maximum Residual Disinfection Level Goal* *(MRDLG)*** – The level of a drinking water disinfectant below which there is no known or expected risk to health. MRDLGs do not reflect the benefits of the use of disinfectants to control microbial contaminants.

***Locational Running Annual Average (LRAA)*** – The average of sample analytical results for samples taken at a particular monitoring location during the previous four calendar quarters under the Stage 2 Disinfectants and Disinfection Byproducts Rule.

***Level 1 Assessment -*** *A Level 1 assessment is a study of the water system to identify potential problems and determine (if possible) why total coliform bacteria have been found in our water system.*

***Level 2 Assessment -*** *A Level 2 assessment is a very detailed study of the water system to identify potential problems and determine (if possible) why an E. coli MCL violation has occurred and/or why total coliform bacteria have been found in our water system on multiple occasions.*

\*\***Definitions** that MUST stay in the report.

***Maximum Contaminant Level (MCL)*** - The highest level of a contaminant that is allowed in drinking water. MCLs are set as close to the MCLGs as feasible using the best available treatment technology.

***Maximum Contaminant Level Goal* *(MCLG)*** - The level of a contaminant in drinking water below which there is no known or expected risk to health. MCLGs allow for a margin of safety.

**Tables of Detected Contaminants**

\*\*The tables below, as well as Appendix A of the CCR Rule, indicate which unit of measurement must be used in the report. Appendix A of the CCR Rule shows the water system if and when to convert the reported result(s) to another unit of measurement and how to convert the result(s). Do NOT change the unit of measurements in the tables below. Clear highlighting/denotation of any contaminant detected in violation of a MCL, MRDL or TT, or exceeding an AL should be indicated in the tables (i.e., different color, larger or bolder font, etc.).

**\*\* REVISED TOTAL COLIFORM RULE (RTCR) REQUIREMENTS:**

The CCR Rule has been modified to include a number of new provisions to address the requirements of the RTCR. Since CWSs had to begin complying with the RTCR requirements on April 1, 2016, the CCR need only address RTCR detections, violations and situations.

1. CWSs with EC+ sample results must include:

− The total number of positive samples in the table of detected contaminants.

− The health effects language found in 40 CFR Appendix A to Subpart O.

− Either the language found in 40 CFR 141.153(h)(7)(iii) if the system has an *E. coli* MCL

violation; or, if the system detects *E. coli* but does not have an *E. coli* MCL violation, the

system may include a statement that explains that although they have detected *E. coli,* they

are not in violation of the *E. coli* MCL [40 CFR 141.153(h)(7)(iv)].

2. A CWS that detects *E. coli* and has violated the *E. coli* MCL, must include one or more of the

following statements to describe the noncompliance, as applicable:

− We had an *E. coli*-positive repeat sample following a total coliform-positive routine sample.

− We had a total coliform-positive repeat sample following an *E. coli*-positive routine sample.

− We failed to take all required repeat samples following an *E. coli*-positive routine sample.

− We failed to test for *E. coli* when any repeat sample tests positive for total coliform.

**REVISED TOTAL COLIFORM RULE:**

**Microbiological Contaminants in the Distribution System -** For systems that collect ***less than 40***samples per month

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Contaminant (units) | MCL ViolationY/N | YourWater | MCLG | MCL | Likely Source of Contamination |
| Total Coliform Bacteria(presence or absence) | N/A | N/A | N/A | TT\* | Naturally present in the environment |
| *E. coli*(presence or absence) |  |  | 0 | Routine and repeat samples are total coliform-positive and either is *E. coli*-positive or system fails to take repeat samples following *E. coli*-positive routine sample or system fails to analyze total coliform-positive repeat sample for *E. coli* Note: If either an original routine sample and/or its repeat samples(s) are *E. coli* positive, a Tier 1 violation exists. | Human and animal fecal waste |

\* If a system collecting fewer than 40 samples per month has two or more positive samples in one month, an assessment is required.

**Microbiological Contaminants in the Distribution System -** For systems that collect ***40 or more*** samples per month

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Contaminant (units) | MCL ViolationY/N | YourWater | MCLG | MCL | Likely Source of Contamination |
| Total Coliform Bacteria (presence or absence) | N/A | N/A | N/A | TT\* | Naturally present in the environment |
| *E. coli*(presence or absence) |  |  | 0 | Routine and repeat samples are total coliform-positive and either is *E. coli*-positive or system fails to take repeat samples following *E. coli*-positive routine sample or system fails to analyze total coliform-positive repeat sample for *E. coli* Note: If either an original routine sample and/or its repeat samples(s) are *E. coli* positive, a Tier 1 violation exists. | Human and animal fecal waste |

\* If a system collecting 40 or more samples per month finds greater than 5% of monthly samples are positive in one month, an assessment is required.

3. CWSs that triggered a Level 1 or Level 2 assessment must inform their customers of:

− The number of assessments required and completed.

− The corrective actions required and completed.

− The reasons for conducting assessments and corrective actions.

− Whether the CWS has failed to complete any required assessments or corrective actions.

4. A CWS that must conduct a Level 1 or Level 2 assessment must include in their CCR, the specific assessment-related definitions from 40 CFR 141.153(c)(4), as appropriate. These can be found in this template under Important Drinking Water Definitions.

5. Any CWS required to comply with the Level 1 or Level 2 assessment requirements, **not** due to an *E. coli* MCL violation, must include in the CCR the appropriate text from 40 CFR 141.53(h)(7)(i) and included in the table below, filling in the blanks accordingly.

**CCR Health Effects Language for the RTCR: Level 1 or 2 Assessment Not Due to E. coli MCL Violation**

|  |  |
| --- | --- |
| **CCR Language** | **Citation** |
| Coliforms are bacteria that are naturally present in the environment and are used as an indicator that other, potentially harmful, waterborne pathogens may be present or that a potential pathway exists through which contamination may enter the drinking water distribution system. We found coliforms indicating the need to look for potential problems in water treatment or distribution. When this occurs, we are required to conduct assessment(s) to identify problems and to correct any problems that were found during these assessments. | 40 CFR 141.153(h)(7)(i)(A) |
| During the past year we were required to conduct [INSERT NUMBER OF LEVEL 1 ASSESSMENTS] Level 1 assessment(s). [INSERT NUMBER OF LEVEL 1 ASSESSMENTS] Level 1 assessment(s) were completed. In addition, we were required to take [INSERT NUMBER OF CORRECTIVE ACTIONS] corrective actions and we completed [INSERT NUMBER OF CORRECTIVE ACTIONS] of these actions. | 40 CFR 141.153(h)(7)(i)(B) |
| During the past year [INSERT NUMBER OF LEVEL 2 ASSESSMENTS] Level 2 assessments were required to be completed for our water system. [INSERT NUMBER OF LEVEL 2 ASSESSMENTS] Level 2 assessments were completed. In addition, we were required to take [INSERT NUMBER OF CORRECTIVE ACTIONS] corrective actions and we completed [INSERT NUMBER OF CORRECTIVE ACTIONS] of these actions. | 40 CFR 141.153(h)(7)(i)(C) |
| For a TT violation for failure to complete all required assessments or correct all identified sanitary defects, include one or both of the following statements, as appropriate: *-* During the past year we failed to conduct all of the required assessment(s).- During the past year we failed to correct all identified defects that were found during the assessment.  | 40 CFR 141.153(h)(7)(i)(D) |

6. A CWS that must comply with the Level 2 assessment requirements because of an *E. coli* MCL violation, must include in their CCR the appropriate text from 40 CFR 141.153(h)(7)(ii) and included in the table below, filling in the blanks accordingly.

**CCR Health Effects Language for the RTCR: Level 2 Assessment Due to an *E. coli* MCL Violation**

|  |  |
| --- | --- |
| **CCR Language** | **Citation** |
| *E. coli* are bacteria whose presence indicates that the water may be contaminated with human or animal wastes. Human pathogens in these wastes can cause short-term effects, such as diarrhea, cramps, nausea, headaches, or other symptoms. They may pose a greater health risk for infants, young children, the elderly, and people with severely compromised immune systems. We found *E. coli* bacteria, indicating the need to look for potential problems in water treatment or distribution. When this occurs, we are required to conduct assessment(s) to identify problems and to correct any problems that were found during these assessments**.** | 40 CFR 141.153(h)(7)(ii)(A) |
| We were required to complete a Level 2 assessment because we found *E. coli* in our water system. In addition, we were required to take [INSERT NUMBER OF CORRECTIVE ACTIONS] corrective actions and we completed [INSERT NUMBER OF CORRECTIVE ACTIONS] of these actions. | 40 CFR 141.153(h)(7)(ii)(B) |
| For a TT violation for failure to complete all required assessments or correct all identified sanitary defects, include one or both of the following statements, as appropriate:*-*We failed to conduct the required assessment.-We failed to correct all sanitary defects that were identified during the assessment that we conducted. | 40 CFR 141.153(h)(7)(ii)(C) |

\*\***For water systems required to comply with the Ground Water Rule (Subpart S):**

 (Remove the table and the Significant Deficiency Explanation information below, if not applicable)

 Any ground water system that receives notice from the State of a significant deficiency or notice from a laboratory of a fecal indicator (*E.coli, enteroccocci* or coliphage) -positive ground water source sample must inform its customers of any significant deficiency that is uncorrected at the time of the next report or of any fecal indicator-positive ground water source sample in the next report. The system must continue to inform the public annually until the State determines that particular significant deficiency is corrected or the fecal contamination in the ground water source is addressed. Each report must include the following elements: (A) The nature of the particular significant deficiency or the source of the fecal contamination (if the source is known) and the date the significant deficiency was identified by the State or the dates of the fecal indicator-positive ground water source samples; (B) If the fecal contamination in the ground water source has been addressed under §141.403(a) and the date of such action; (C) For each significant deficiency or fecal contamination in the ground water source that has not been addressed, the State-approved plan and schedule for correction, including interim measures, progress to date, and any interim measures completed; and (D) If the system receives notice of a fecal indicator-positive ground water source sample, the potential health effects using the health effects language from Appendix A of Subpart O.

\*\* If directed by the State, a system with significant deficiencies that have been corrected before the next report is issued must inform its customers of the significant deficiency, how the deficiency was corrected, and the date of correction.

**Microbiological Contaminants in the Source Water**

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Fecal Indicator | Number of “Positive/Present” Samples | Date(s) of fecal indicator-positive source water samples | Source of fecal contamination, if known | Significant Deficiency Cited by the State? Y/N(If “Y”, see explanation below) | MCLG | MCL | Likely Source of Contamination |
| *E. coli,* (presence or absence) |  |  |  |  | 0 | 0 | Human and animal fecal waste |
| *enterococci* or coliphage, (presence or absence) |  |  |  |  | N/A | TT | Human and animal fecal waste |

\*\*Insert the applicable information as specified below:

**Special Notice for Significant Deficiencies and Fecal Indicator-Positive Ground Water Source Samples:**

1. Significant deficiency identified/cited by the State *[insert information];* Date of State’s Citation: *[insert date]*
2. Has the fecal contamination in the ground water source been addressed under §141.403(a)? *[“Yes” or “No”];*

 Date Corrective Action Completed (if applicable): *[insert date or “N/A”]*;

1. For each significant deficiency or fecal contamination in the ground water source that has NOT been addressed: *[insert information on the State-approved plan and schedule for corrective action, including interim measures, progress to date, and any interim measures completed]*. \*\*Note: You may want to attach a copy of your system’s Source Water Corrective Action – Approval letter from the State.

1. The potential health effects from the health effects language from Appendix A of Subpart O are as follows:

***E.coli - Fecal coliforms and E.coli are bacteria whose presence indicates that the water may be contaminated with human or animal wastes. Microbes in these wastes can cause short-term effects, such as diarrhea, cramps, nausea, headaches, or other symptoms. They may pose a special health risk for infants, young children, some of the elderly, and people with severely-compromised immune systems.***

***Fecal Indicators (enterococci or coliphage) - Fecal indicators are microbes whose presence indicates that the water may be contaminated with human or animal wastes. Microbes in these wastes can cause short-term health effects, such as diarrhea, cramps, nausea, headaches, or other symptoms. They may pose a special health risk for infants, young children, some of the elderly, and people with severely compromised immune systems*.**

\*\***Turbidity:**

\*\*Record the highest single measurement for the report year and the lowest monthly percentage of samples meeting the turbidity limits. Remove the Turbidity table if not needed for your water system.

**Turbidity\***

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Contaminant (units) | Treatment Technique (TT) Violation Y/N | Your Water | MCLG | Treatment Technique (TT) Violation if:  | Likely Source of Contamination |
| Turbidity (NTU) - Highest single turbidity measurement |  |  NTU | N/A | Turbidity > 1 NTU | Soil runoff |
| Turbidity (NTU) - Lowest monthly percentage (%) of samples meeting turbidity limits |  |  % | N/A | Less than 95% of monthly turbidity measurements are < 0.3 NTU |

 **\*** Turbidity is a measure of the cloudiness of the water. We monitor it because it is a good indicator of the effectiveness of our filtration system. The turbidity rule requires that 95% or more of the monthly samples must be less than or equal to 0.3 NTU.

\*\* **For Inorganic and Organic Contaminants (regulated and unregulated):**

\*\* 1) One entry point - any of the below contaminants:

 For example: Contaminant: nitrate; Sample Date: March 2020; Result: 0.03 ppm

 Report in table: highest detected result (“Your Water” value) = 0.03

 report range as N/A.

\*\* 2) Multiple entry points - any of the below contaminants:

 For example: Contaminant: arsenic; Sample Date: March 2020

 Results: Well 1 0.006 ppm

 Well 2 0.002 ppm

 Well 3 ND [lab analysis report indicates “X” in the “NOT DETECTED (i.e., < R.R.L.)” column]

 Report in table: highest detected result (“Your Water” value) = 6 ppb,

 report range as ND (low) to 6 ppb (high). (Note: Convert arsenic from ppm to ppb.)

\*\* 3) If the system had to continue sampling a particular contaminant for any of the below contaminants because of a detection or an exceedance of the MCL:

 For example: Contaminant: atrazine (Note: Convert atrazine from ppm to ppb.)

 Results: Well 1: Sample Dates: 1st quarter 2019: 0.8 ppb

 2nd quarter 2019: 3.8 ppb

 3rd quarter 2019: 2.1 ppb

 4th quarter 2019: 0.9 ppb

 Report in table: average (“Your Water” value) = 1.9 ppb

 report range as 0.8 ppb (low) to 3.8 ppb (high)

**Inorganic Contaminants**

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Contaminant (units) | Sample Date | MCL ViolationY/N | YourWater | RangeLow High | MCLG | MCL | Likely Source of Contamination |
| Antimony (ppb) |  |  |  |  | 6 | 6 | Discharge from petroleum refineries; fire retardants; ceramics; electronics; solder |
| Arsenic (ppb) |  |  |  |  | 0 | 10 | Erosion of natural deposits; runoff from orchards; runoff from glass and electronics production wastes |
| Barium (ppm) |  |  |  |  | 2 | 2 | Discharge of drilling wastes; discharge from metal refineries; erosion of natural deposits |
| Beryllium (ppb) |  |  |  |  | 4 | 4 | Discharge from metal refineries and coal-burning factories; discharge from electrical, aerospace, and defense industries |
| Cadmium (ppb) |  |  |  |  | 5 | 5 | Corrosion of galvanized pipes; erosion of natural deposits; discharge from metal refineries; runoff from waste batteries and paints |
| Chromium (ppb) |  |  |  |  | 100 | 100 | Discharge from steel and pulp mills; erosion of natural deposits |
| Cyanide (ppb) |  |  |  |  | 200 | 200 | Discharge from steel/metal factories; discharge from plastic and fertilizer factories |
| Fluoride (ppm) |  |  |  |  | 4 | 4 | Erosion of natural deposits; water additive which promotes strong teeth; discharge from fertilizer and aluminum factories |
| Mercury (inorganic) (ppb) |  |  |  |  | 2 | 2 | Erosion of natural deposits; discharge from refineries and factories; runoff from landfills; runoff from cropland |
| Selenium (ppb) |  |  |  |  | 50 | 50 | Discharge from petroleum and metal refineries; erosion of natural deposits; discharge from mines |
| Thallium (ppb) |  |  |  |  | 0.5 | 2 | Leaching from ore-processing sites; discharge from electronics, glass, and drug factories |

\*\*Special Note: If the water system’s arsenic result or arsenic average result is above 0.005 mg/L (ppm) and up to and including 0.010 mg/L (ppm), then the below language is required: (Remove if not needed)

**Arsenic: *While your drinking water meets EPA’s standard for arsenic, it does contain low levels of arsenic. EPA’s standard balances the current understanding of arsenic’s possible health effects against the costs of removing arsenic from drinking water. EPA continues to research the health effects of low levels of arsenic, which is a mineral known to cause cancer in humans at high concentrations and is linked to other health effects such as skin damage and circulatory problems.***

**Nitrate/Nitrite Contaminants**

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Contaminant (units) | Sample Date | MCL ViolationY/N | YourWater | RangeLow High | MCLG | MCL | Likely Source of Contamination |
| Nitrate (as Nitrogen) (ppm) |  |  |  | N/A | 10 | 10 | Runoff from fertilizer use; leaching from septic tanks, sewage; erosion of natural deposits |
| Nitrite (as Nitrogen) (ppm) |  |  |  | N/A | 1 | 1 | Runoff from fertilizer use; leaching from septic tanks, sewage; erosion of natural deposits |

\*\*Special Note: If the water system’s nitrate result or nitrate average result is above 5 mg/L (ppm), but below 10 mg/L (ppm), then the below language is required: (Remove if not needed)

**Nitrate: *Nitrate in drinking water at levels above 10 ppm is a health risk for infants of less than six months of age. High nitrate levels in drinking water can cause blue baby syndrome. Nitrate levels may rise quickly for short periods of time because of rainfall or agricultural activity. If you are caring for an infant you should ask advice from your health care provider.***

**Asbestos Contaminant**

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Contaminant (units) | Sample Date | MCL ViolationY/N | YourWater | RangeLow High | MCLG | MCL | Likely Source of Contamination |
| Total Asbestos (MFL) |  |  |  |  | 7 | 7 | Decay of asbestos cement water mains; erosion of natural deposits |

**Synthetic Organic Chemical (SOC) Contaminants Including Pesticides and Herbicides**

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Contaminant (units) | Sample Date | MCL ViolationY/N | YourWater | RangeLow High | MCLG | MCL | Likely Source of Contamination |
| 2,4-D (ppb) |  |  |  |  | 70 | 70 | Runoff from herbicide used on row crops |
| 2,4,5-TP (Silvex) (ppb) |  |  |  |  | 50 | 50 | Residue of banned herbicide |
| Alachlor (ppb) |  |  |  |  | 0 | 2 | Runoff from herbicide used on row crops |
| Atrazine (ppb) |  |  |  |  | 3 | 3 | Runoff from herbicide used on row crops |
| Benzo(a)pyrene (PAH) (ppt) |  |  |  |  | 0 | 200 | Leaching from linings of water storage tanks and distribution lines |
| Carbofuran (ppb) |  |  |  |  | 40 | 40 | Leaching of soil fumigant used on rice and alfalfa |
| Chlordane (ppb) |  |  |  |  | 0 | 2 | Residue of banned termiticide |
| Dalapon (ppb) |  |  |  |  | 200 | 200 | Runoff from herbicide used on rights of way |
| Di(2-ethylhexyl) adipate (ppb) |  |  |  |  | 400 | 400 | Discharge from chemical factories |
| Di(2-ethylhexyl) phthalate (ppb) |  |  |  |  | 0 | 6 | Discharge from rubber and chemical factories |
| DBCP [Dibromochloropropane] (ppt) |  |  |  |  | 0 | 200 | Runoff/leaching from soil fumigant used on soybeans, cotton, pineapples, and orchards |
| Dinoseb (ppb) |  |  |  |  | 7 | 7 | Runoff from herbicide used on soybeans and vegetables |
| Endrin (ppb) |  |  |  |  | 2 | 2 | Residue of banned insecticide |
| EDB [Ethylene dibromide] (ppt) |  |  |  |  | 0 | 50 | Discharge from petroleum refineries |
| Heptachlor (ppt) |  |  |  |  | 0 | 400 | Residue of banned pesticide |
| Heptachlor epoxide (ppt) |  |  |  |  | 0 | 200 | Breakdown of heptachlor |
| Hexachlorobenzene (ppb) |  |  |  |  | 0 | 1 | Discharge from metal refineries and agricultural chemical factories |
| Hexachlorocyclo-pentadiene (ppb) |  |  |  |  | 50 | 50 | Discharge from chemical factories |
| Lindane (ppt) |  |  |  |  | 200 | 200 | Runoff/leaching from insecticide used on cattle, lumber, gardens |
| Methoxychlor (ppb) |  |  |  |  | 40 | 40 | Runoff/leaching from insecticide used on fruits, vegetables, alfalfa, livestock |
| Oxamyl [Vydate] (ppb) |  |  |  |  | 200 | 200 | Runoff/leaching from insecticide used on apples, potatoes and tomatoes |
| PCBs [Polychlorinated biphenyls] (ppt) |  |  |  |  | 0 | 500 | Runoff from landfills; discharge of waste chemicals |
| Pentachlorophenol (ppb) |  |  |  |  | 0 | 1 | Discharge from wood preserving factories |
| Picloram (ppb) |  |  |  |  | 500 | 500 | Herbicide runoff |
| Simazine (ppb) |  |  |  |  | 4 | 4 | Herbicide runoff |
| Toxaphene (ppb) |  |  |  |  | 0 | 3 | Runoff/leaching from insecticide used on cotton and cattle |

**Volatile Organic Chemical (VOC) Contaminants**

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Contaminant (units) | Sample Date | MCL ViolationY/N | YourWater | RangeLow High | MCLG | MCL | Likely Source of Contamination |
| Benzene (ppb) |  |  |  |  | 0 | 5 | Discharge from factories; leaching from gas storage tanks and landfills |
| Carbon tetrachloride (ppb) |  |  |  |  | 0 | 5 | Discharge from chemical plants and other industrial activities |
| Chlorobenzene (ppb) |  |  |  |  | 100 | 100 | Discharge from chemical and agricultural chemical factories |
| o-Dichlorobenzene (ppb) |  |  |  |  | 600 | 600 | Discharge from industrial chemical factories |
| p-Dichlorobenzene (ppb) |  |  |  |  | 75 | 75 | Discharge from industrial chemical factories |
| 1,2 – Dichloroethane (ppb) |  |  |  |  | 0 | 5 | Discharge from industrial chemical factories |
| 1,1 – Dichloroethylene (ppb) |  |  |  |  | 7 | 7 | Discharge from industrial chemical factories |
| cis-1,2-Dichloroethylene (ppb) |  |  |  |  | 70 | 70 | Discharge from industrial chemicalfactories |
| trans-1,2-Dichloroethylene (ppb) |  |  |  |  | 100 | 100 | Discharge from industrial chemical factories |
| Dichloromethane (ppb) |  |  |  |  | 0 | 5 | Discharge from pharmaceutical and chemical factories |
| 1,2-Dichloropropane (ppb) |  |  |  |  | 0 | 5 | Discharge from industrial chemical factories |
| Ethylbenzene (ppb) |  |  |  |  | 700 | 700 | Discharge from petroleum refineries |
| Styrene (ppb) |  |  |  |  | 100 | 100 | Discharge from rubber and plastic factories; leaching from landfills |
| Tetrachloroethylene (ppb) |  |  |  |  | 0 | 5 | Discharge from factories and dry cleaners |
| 1,2,4 –Trichlorobenzene (ppb) |  |  |  |  | 70 | 70 | Discharge from textile-finishing factories |
| 1,1,1 – Trichloroethane (ppb) |  |  |  |  | 200 | 200 | Discharge from metal degreasing sites and other factories |
| 1,1,2 –Trichloroethane (ppb) |  |  |  |  | 3 | 5 | Discharge from industrial chemical factories |
| Trichloroethylene (ppb) |  |  |  |  | 0 | 5 | Discharge from metal degreasing sites and other factories |
| Toluene (ppm) |  |  |  |  | 1 | 1 | Discharge from petroleum factories |
| Vinyl Chloride (ppb) |  |  |  |  | 0 | 2 | Leaching from PVC piping; discharge from plastics factories |
| Xylenes (Total) (ppm) |  |  |  |  | 10 | 10 | Discharge from petroleum factories; discharge from chemical factories |

\*\***Lead and Copper**

\*\* For example: lead (action level is 15 ppb): Sample Date: July 2020

 Results: Site 1 = ND, Site 2 = ND, Site 3 = 8 ppb, Site 4 = 12 ppb, Site 5 = 19 ppb, Site 6 = 3 ppb, Site 7 = ND,

 Site 8 = ND, Site 9 = 4 ppb and Site 10 = 22 ppb

 Report in table: 90th percentile (“Your Water” value) = 19 and the # of sites above the action level = 2

 (have to convert lead from ppm to ppb.)

\*\* For example: copper (action level is 1.3 ppm): Record the same as lead, but no conversion of units is required.

\*\* If the system is required to only take 5 samples, calculate the average of the 2 highest results to get the 90th percentile “Your Water” value.

**Lead and Copper Contaminants**

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Contaminant (units) | Sample Date | YourWater | Number of sites found above the AL | MCLG | AL | Likely Source of Contamination |
| Copper (ppm)(90th percentile) |  |  |  | 1.3 | AL=1.3 | Corrosion of household plumbing systems; erosion of natural deposits  |
| Lead (ppb)(90th percentile) |  |  |  | 0 | AL=15 | Corrosion of household plumbing systems; erosion of natural deposits |

\*\***Radionuclides:**

\*\* If taking quarterly samples or more than one sample was taken per quarter for some reason, average the results for each quarter, then average the 4 quarters to get the running annual average (RAA) for “Your Water” value. If the lab did a composite sample, then no averaging is needed; use the composite results provided by the lab.

**Radiological Contaminants**

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Contaminant (units) | Sample Date | MCL ViolationY/N | YourWater | RangeLow High | MCLG | MCL | Likely Source of Contamination |
| Alpha emitters (pCi/L)(Gross Alpha Excluding Radon and Uranium) |  |  |  |  | 0 | 15 | Erosion of natural deposits |
| Beta/photon emitters (pCi/L) |  |  |  |  | 0 | 50 \* | Decay of natural and man-made deposits |
| Combined radium (pCi/L) |  |  |  |  | 0 | 5 | Erosion of natural deposits |
| Uranium (pCi/L) |  |  |  |  | 0 | 20.1 | Erosion of natural deposits |

\* Note: The MCL for beta/photon emitters is 4 mrem/year. EPA considers 50 pCi/L to be the level of concern for beta particles.

\*\***Total Organic Carbon (TOC):**

\*\*TOC removal is REQUIRED for all surface water and groundwater under the direct influence of surface water (GWUDI) systems using conventional filtration, regardless of population served. The system should report the TOC Ratio, both raw and treated, by providing the running annual average ratio in the column entitled “Your Water”, and the highest and lowest monthly removal ratios in the column entitled “Range.” In the last column entitled “Compliance Method,” provide the method used to comply with the D/DBP treatment technique requirements

**Total Organic Carbon (TOC)**

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Contaminant (units) | TT Violation Y/N | Your Water(RAA Removal Ratio) | Range Monthly Removal RatioLow - High | MCLG | TT | Likely Source of Contamination | Compliance Method(Step 1 or ACC#\_\_) |
| Total Organic Carbon (removal ratio)(TOC)-TREATED |  |  |  | N/A | TT | Naturally present in the environment |  |

|  |
| --- |
| **STEP 1 TOC Removal Requirements** |
| Source Water TOC (mg/L) | Source Water Alkalinity mg/L as CaCO3 (in percentages) |
|
| 0 - 60 | > 60-120 | > 120 |
| > 2.0 - 4.0 | 35.0 | 25.0 | 15.0 |
| > 4.0 - 8.0 | 45.0 | 35.0 | 25.0 |
|  > 8.0 | 50.0 | 40.0 | 30.0 |

|  |
| --- |
|  **Alternative Compliance Criteria (ACC)** |
| Alt. 1 |  Source Water TOC < 2.0 mg/L |
| Alt. 2 |  Treated Water TOC < 2.0 mg/L |
| Alt. 3 |  Source Water SUVA < 2.0 L/mg-m |
| Alt. 4 |  Treated Water SUVA < 2.0 L/mg-m |
| Alt. 5 |  Treated Water Alkalinity < 60 mg/L (for softening systems only) |
| Alt. 6 |  THM & HAA RAA's < 1/2 MCL & uses only chlorine  |
| Alt. 7 |  Source TOC RAA < 4.0 mg/L and Source Alkalinity > 60 mg/L and THM & HAA RAAs < 1/2 MCL  |

\*\***Disinfectant Residuals:**

\*\*For Disinfectant Residuals, record the highest running annual average (RAA) in “Your Water” column. The range should be the lowest to highest results of all compliance samples.

\*\*Chlorine Dioxide is sampled at the EP and compliance is based on the results of 2 consecutive daily samples.

You may retrieve this information which is already calculated for you by going to:

**https://www.pwss.enr.state.nc.us/ncdww/**

* Enter your water system ID number (i.e. NC9999999, no dashes) click Search
* On this page, click on the water system ID number
* On the next page that appears, select the “Residual Disinfectant (for CCR) link.

\*\***Disinfectant Residuals –** Reporting Example:

• Monitoring for chloramines

• System size: 1,001-2,500 people

• Samples: 2 times per month

• Chloramines MRDL: 4 ppm

• MRDL in CCR units: 4 ppm

 Example: 2020 Results:

|  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Samples (ppm)** | **Jan.** | **Feb.** | **Mar.** | **Apr.** | **May** | **Jun.** | **Jul.** | **Aug.** | **Sept** | **Oct.** | **Nov.** | **Dec.** |
| **Sample 1** | 1.0 | 2.1 | 1.4 | 2.2 | 1.4 | 1.4 | 2.5 | 2.6 | 1.4 | 2.9 | 3.7 | 1.8 |
| **Sample 2** | 1.4 | 1.9 | 0.8 | 2.2 | 2.3 | 1.6 | 2.1 | 2.8 | 1.4 | 2.7 | 2.9 | 1.8 |
| **Monthly****Average** | 1.2 | 2.0 | 1.1 | 2.2 | 1.9 | 1.5 | 2.3 | 2.7 | 1.4 | 2.8 | 3.3 | 1.8 |
| **Quarterly****RAA\*** | 1.7 | 2.3  | 1.9 | 2.0 |

\*Reported RAA for quarters 1-3 are based on results from previous quarters not reported on this table.

\*\*Note: Gray highlighted numbers in table above represent the range and the highest RAA.

 **Disinfectant Residuals Summary**

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|   | Year Sampled | MRDL ViolationY/N | YourWater(highest RAA) | RangeLow High | MRDLG | MRDL | Likely Source of Contamination |
| Chlorine (ppm) |  |  |  |  | 4 | 4.0 | Water additive used to control microbes |
| Chloramines (ppm) |  |  |  |  | 4 | 4.0 | Water additive used to control microbes |
| Chlorine dioxide (ppb) |  |  |  |  | 800 | 800 | Water additive used to control microbes |

**\*\*Stage 2 Disinfection Byproducts (Stage 2 DBPs):**

\*\*In “Your Water” column, record the highest locational running annual average (LRAA).

\*\*For each monitoring location, report the range (lowest to highest results) of all compliance samples.

\*\* If an MCL violation occurred, include a discussion of the MCL violation, including health effects language, below the appropriate table. Systems with a LRAA MCL exceedance at more than one location, must report the highest LRAA for each location that exceeded the MCL.

\*\* **Stage 2 DBPs –EXAMPLE WORKSHEET (not to be included in CCR):**

• Total Trihalomethane monitoring under Stage 2 DBPR

• TTHM MCL: 0.080 ppm

• MCL in CCR units: 80 ppb

 **Example:** 2019 Results:

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Total Trihalomethane Monitoring Results\* (in ppb)** | **1st quarter****2019** | **2nd quarter****2019** | **3rd quarter****2019** | **4th quarter****2019** |
| **Site 1 Quarterly Results** | 62 | 65 | 125 | 100 |
| ***Site 1- LRAA\**** | *52* | *87* | *74* | ***88*** |
| **Site 2 Quarterly Results** | 40 | 55 | 115 | 60 |
| ***Site 2- LRAA\**** | *42* | *49* | *71* | *68* |
| **Site 3 Quarterly Results** | 45 | 60 | 105 | 70 |
| ***Site 3- LRAA\**** | *40* | *48* | *69* | *70* |
| **Site 4 Quarterly Results** | 50 | 65 | 135 | 62 |
| ***Site 4- LRAA\**** | *60* | *55* | ***82*** | *78* |

\*Reported LRAA for quarters 1-3 are based on results from previous quarters not reported on this table.

\*\*Include discussion of the TTHM MCL violation at Sites 1 and 4, including health effects language below the table.

**Stage 2 Disinfection Byproduct Compliance -** Based upon Locational Running Annual Average (LRAA)

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Disinfection Byproduct | Year Sampled | MCL ViolationY/N | YourWater(highest LRAA) | RangeLow High | MCLG | MCL | Likely Source of Contamination |
| TTHM (ppb) |  |  |  |  | N/A | 80 | Byproduct of drinking water disinfection |
|  Location (Ex. B01) |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
| HAA5 (ppb) |  |  |  |  | N/A | 60 | Byproduct of drinking water disinfection |
|  Location (Ex. B01) |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |

\*\*Special Note: If TTHMs are detected in any individual sample above 0.080 mg/L (ppm), or if HAA5s are detected in any individual sample above 0.060 mg/L (ppm), the corresponding health effects language below is required, even if their locational running annual averages (LRAAs) are below the TTHM MCLs of 0.080 mg/L (80 ppb) or the HAA5 MCL of 0.060 mg/L (60 ppb). (Remove health effects language below, if not needed.)

**For TTHM: *Some people who drink water containing trihalomethanes in excess of the MCL over many years may experience problems with their liver, kidneys, or central nervous systems, and may have an increased risk of getting cancer.***

**For HAA5: *Some people who drink water containing haloacetic acids in excess of the MCL over many years may have an increased risk of getting cancer.***

\*\*Chlorite samples should be collected at the entry point (EP) and three points in the distribution system to get the three sample set average for “Your Water” value. If any EP chlorite sample exceeds the chlorite MCL [1.0 mg/L (ppm)], three distribution samples must be taken the next day and this average would be the “Your Water” value on the table.

**Other Disinfection Byproducts Contaminants**

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Contaminant (units) | MCL/MRDLViolationY/N | YourWater | RangeLow High | MCLG | MCL | Likely Source of Contamination |
| Bromate (ppb) |  |  |  | 0 | 10 | By-product of drinking water disinfection  |
| Chlorite (ppm) |  |  |  | 0.8 | 1.0 | By-product of drinking water chlorination |

\*\*Additional contaminants that can be included in the report: (Remove if not wanted.)

The PWS Section requires monitoring for other misc. contaminants, some for which the EPA has set national secondary drinking water standards (SMCLs) because they may cause cosmetic effects or aesthetic effects (such as taste, odor, and/or color) in drinking water. The contaminants with SMCLs normally do not have any health effects and normally do not affect the safety of your water**.**

**Other Miscellaneous Water Characteristics Contaminants**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Contaminant (units) | Sample Date | YourWater | RangeLow High  | SMCL |
| Iron (ppm) |  |  |  | 0.3 mg/L |
| Manganese (ppm) |  |  |  | 0.05 mg/L |
| Nickel (ppm) |  |  |  | N/A |
| Sodium (ppm) |  |  |  | N/A |
| Sulfate (ppm) |  |  |  | 250 mg/L |
| pH |  |  |  | 6.5 to 8.5 |

***Cryptosporidium***

\*\*If the system has performed any monitoring for *Cryptosporidium*, including monitoring to satisfy the Information Collection Rule (ICR) requirements, which indicates that *Cryptosporidium* may be present in the source water or the finished water, the CCR must contain a summary of the analytical results of the monitoring and an explanation of the significance of the results. A sample explanation is given below. Remove this section if not needed.

Our system monitored for *Cryptosporidium* and found levels of *[insert data].*

*Cryptosporidium* is a microbial pathogen found in surface water throughout the U.S. Although filtration removes *Cryptosporidium*, the most commonly-used filtration methods cannot guarantee 100 percent removal. Our monitoring indicates the presence of these organisms in our source water and/or finished water. Current test methods do not allow us to determine if the organisms are dead or if they are capable of causing disease. Ingestion of *Cryptosporidium* may cause cryptosporidiosis, an abdominal infection. Symptoms of infection include nausea, diarrhea, and abdominal cramps. Most healthy individuals can overcome the disease within a few weeks. However, immuno-compromised people, infants and small children, and the elderly are at greater risk of developing life-threatening illness. We encourage immuno-compromised individuals to consult their doctor regarding appropriate precautions to take to avoid infection. *Cryptosporidium* must be ingested to cause disease, and it may be spread through means other than drinking water*.*

**Radon**

\*\*If the system has performed any monitoring that indicates the presence of radon in its finished water, the CCR must contain the analytical results of the monitoring and an explanation of the significance of the results. Following is a possible explanation. Remove this section if not needed.

Our system monitored for Radon and found levels of *[insert data].*

Radon is a radioactive gas that you cannot see, taste, or smell. It is found throughout the U.S. Radon can move up through the ground and into a home through cracks and holes in the foundation. Radon can build up to high levels in all types of homes. Radon can also get into indoor air when released from tap water from showering, washing dishes, and other household activities. Compared to radon entering the home through soil, radon entering the home through tap water will in most cases be a small source of radon in indoor air. Radon is a known human carcinogen. Breathing air containing radon can lead to lung cancer. Drinking water containing radon may also cause increased risk of stomach cancer. If you are concerned about radon in your home, test the air in your home. Testing is inexpensive and easy. (You should pursue radon removal for your home if the level of radon in your air is 4 picocuries per liter of air (pCi/L) or higher. There are simple ways to fix a radon problem that are not too costly. For additional information, call your state radon program or call EPA’s Radon Hotline (800-SOS-RADON).

**Unregulated Contaminants**

\*\*If any unregulated contaminants, including those from the **Unregulated Contaminant Monitoring Regulation (UCMR)**, are detected, include the paragraph below and provide the information in the table. The data for detections of these contaminants need only be included in the report for the year that the samples were taken. Remove the paragraph and the table below if no unregulated contaminants were detected.

\*\*If the water system participated in the **Information Collection Rule (ICR)** and/or the **UCMR** (where the water system reported directly to EPA), any detected results must be included in the report.

\*\* For detected unregulated contaminants for which monitoring is required (except *Cryptosporidium*), the table(s) must contain the average and range at which the contaminant was detected. The report may include a brief explanation of the reasons for monitoring for unregulated contaminants.

Unregulated contaminants are those for which EPA has not established drinking water standards. The purpose of unregulated contaminant monitoring is to assist EPA in determining the occurrence of unregulated contaminants in drinking water and whether future regulations are warranted.

**Unregulated Contaminants**

|  |  |  |  |
| --- | --- | --- | --- |
| Contaminant (units) | Sample Date | YourWater(average) | RangeLow High |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |

**Additional Monitoring of Other Contaminants**

\*\*If the system has performed additional monitoring and this monitoring indicates the presence of other contaminants in the finished water, EPA **strongly** encourages the system to report any results that may indicate a health concern. To determine if results may indicate a health concern, EPA recommends that systems find out if EPA has proposed a National Primary Drinking Water Regulation or issued a health advisory for that contaminant by calling the EPA Safe Drinking Water Hotline (800-426-4791). EPA considers detects above a proposed MCL or health advisory level to indicate possible health concerns. For such contaminants, EPA recommends that the report include the results of monitoring, and an explanation of the significance of the results noting the existence of a health advisory or a proposed regulation. The EPA website (<http://www.epa.gov/safewater/hfacts.html>) may provide additional information. Again, if provided, this information must be displayed outside of the detected contaminants table(s).