NOTICE TO THE PUBLIC

#### IMPORTANT INFORMATION ABOUT YOUR DRINKING WATER

__________________________ [system] Has Levels of Asbestos

Above Drinking Water Standards

Our water system recently violated a drinking water standard. Although this is not an emergency, as our customers, you have a right to know what happened, what you should do, and what we are doing to correct this situation.

We routinely monitor for the presence of drinking water contaminants. Testing results we received on __________ [date] show that our system exceeds the standard, or maximum contaminant level (MCL), for asbestos. The standard for asbestos is 7 Million Fibers per Liter (MFL). The average level of asbestos over the last year was ______MFL [level] or asbestos was found at ______MFL [level].

# What should I do?

You do not need to use an alternative (e.g., bottled) water supply. However, if you have specific health concerns, consult your doctor.

# What does this mean?

This is not an immediate risk. If it had been, you would have been notified immediately. However, some people who drink water containing asbestos in excess of the MCL over many years may have an increased risk of developing benign intestinal polyps.

What happened? What is being done? When will the problem be corrected?

[Describe situation and corrective action being taken.] We anticipate resolving the problem within [estimated time frame].

Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.

For more information, please contact:

| Responsible Person | System Name | System Address (Street) |
| --- | --- | --- |
| Phone Number | System PWSID # | System Address (City, State, Zip) |

##### Violation Awareness Date:  _____________

##### Date Notice Distributed:  _______________        Method of Distribution:  __________________

Public Notification Certification: The public water system named above hereby affirms that public notification has been provided to its consumer in accordance with all delivery, content, format, and deadline requirements specified in 15A NCAC 18C .1523. Owner/Operator: __________________________ _________________________ ______________ (Signature) (Print Name) (Date)

Instructions for Asbestos MCL Notice

Since exceeding the asbestos maximum contaminant level (MCL) is a Tier 2 violation, you must provide public notice to persons served as soon as practical but within 30 days after you learn of the violation (C.F.R. 141.203(b)).  You must issue a repeat notice every three months for as long as the violation persists.

Community systems must use one of the following methods (C.F.R. 141.203(c)):

- Hand or direct delivery

- Mail, as a separate notice or included with the bill

Non-community systems must use one of the following methods (C.F.R. 141.203(c)):

- Posting in conspicuous locations

- Hand delivery

- Mail

In addition, both community and non-community systems must use another method reasonably calculated to reach others IF they would not be reached by the first method (C.F.R. 141.203(c)).  Such methods could include newspapers, e-mail, or delivery to community organizations.

You must also perform the following:

- If you mail, post, or hand deliver, print your notice on letterhead, if available.

- Notify new billing customers or units prior to or at the time their service begins.

- Provide multi-lingual notifications if 30% of the residents served are non-English speaking.

The notice on the reverse is appropriate for hand delivery or mail.  If you modify the notice, you must still include the 10 required elements listed in C.F.R. 141.205(a), and the standard language (including the health effects language) in bold italics must not be changed.  This language is mandatory (C.F.R. 141.205(d)).

# Corrective Action

In your notice, describe correction actions you are taking.  Do not use overly technical terminology when describing treatment methods.  Listed below are some steps commonly taken by water systems with chemical or radiological violations.  Use one or more of the following actions, if appropriate, or develop your own:

- We are working with [local/state agency] to evaluate the water supply and researching options to correct the problem.  These options may include treating the water to remove asbestos or connecting to [system]’s water supply.

- We have stopped using the contaminated well.  We have increased pumping from other wells, and we are investigating drilling a new well.

- We will increase the frequency at which we test the water for thalium.

- We have since taken samples at this location and had them tested.  They show that we meet the standards.

# Repeat Notices

You must issue a repeat notice every three months for as long as the violation persists.  If this is an ongoing violation and/or you fluctuate above and below the MCL, you should give the history behind the violation, including the source of contamination, if known.  List the date of the initial detection, as well as how levels have changed over time.  If levels are changing as a result of treatment, you can indicate this.

# After Issuing the Notice (C.F.R. 141.31(d))

Within 10 days after completing the initial public notification, the Public Water Supply Section MUST receive a copy of the notice you distributed to your customers with your signature and date on the Public Notification Certification (located at the bottom of the notice) indicating that you have fully complied with all the public notice requirements.  Mail your notice/certification to the Public Water Supply Section, Compliance Services Branch, ATTN:  Public Notification Rule Manager, 1634 Mail Service Center, Raleigh, NC  27699-1634.   Retain a copy of these documents for your files.

# It is a good idea to inform your consumers when the violation is resolved.			(10/2004)