| AP 1A - Threat of or Actual Contamination to Water System POSSIBLE STAGE |
| --- |
| AP Summary: | This Action Plan applies to the intentional introduction of a contaminant into the water system. The contaminant could be introduced at any point within the system, including raw water, treatment facilities, distribution system including distribution pipes, finished water storage, or pump stations. The adversary may or may not give notice of the contaminant or provide the location. Contamination may have actually occurred or it may be a hoax. |
| Initiation and Notification: | Initiate this AP if any of the following has occurred: Security Breach (including, for example): Unsecured Doors Open Hatches Unlocked/Forced Gates Alarm Triggered Witness Account (including, for example): Suspicious Activity Trespassing Breaking and Entering Tampering with Equipment or Property Direct Notification by Perpetrator (including, for example): Verbal Threat Threat in Writing Notification by Law Enforcement (including, for example): Suspicious Activity Threat made to Water System Notification by News Media (including, for example): Threat Delivered to News Media Media Discovers Threat Unusual Water Quality Parameters (including, for example): Changes in pH, chlorine residual or turbidity Unexpected monitoring or sampling results Strange odor, color or appearance Customer Complaints (including, for example unexplained or unusually high complaints of): Odor Color or Appearance Taste Public Health Notification (including, for example): Victims in Emergency Rooms and/or Clinics High Incidence of Similar Health Complaints in one Local Area | Use this AP if you receive any incident warning (see types of warnings to left) indicating possible contamination of your water system If you have evidence that corroborates the warning, or if collective information indicates that contamination is likely, GO TO AP 1B – CREDIBLE STAGE. If there is confirmed evidence and/or definitive information that the water system has been contaminated. GO TO AP 1C – CONFIRMED STAGE. |
| Initiation and Notification: | Notify [WUERM] or [Alternate WUERM] immediately upon discovery of any of the above Threat Warnings. | The individual who first notices or receives the threat warning should contact the [WUERM] immediately by whatever means of communication may be available. |
| Equipment Identified: | Equipment Location | This equipment is available to assist in the execution of this AP. |
| Specific Activities: |  |  |
| I. Assess the Problem | Complete the following Threat Warning Report Forms according to the type of Threat Warning received. (Section VIII of ERP). Security Incident Report Form Witness Account Report Form Phone Threat Report Form (to be filled out during actual phone call) Written Threat Report Form Water Quality / Consumer Complaint Report Form Public Health Information Report Form Complete Threat Evaluation Worksheet (Section VIII of ERP). Evaluate Threat Evaluation Worksheet, and determine if threat is Possible. If YES, perform Response Steps 1 – 8 below. If NO, return to normal operations. | Threat Warning Report Forms help document, organize and summarize information about a security incident. The individual who discovers the incident warning, the [WUERM], or another designated individual may complete the form. Only the form that corresponds to the type of threat warning needs to be completed. Completion of the form should not distract emergency responders from more urgent matters. Threat Evaluation Worksheets help organize information about a threat warning that will be used during the Threat Evaluation Process. The individual responsible for conducting the Threat Evaluation (e.g., the [WUERM]) should complete this worksheet. |
| II. Isolate and Fix the Problem | Notify local law enforcement. Notify State Drinking Water Agency. Do not disturb site if location could be possible crime scene. Consult Maintaining Crime Scene Integrity Form in Section VIII. Alert staff and emergency response personnel about threat. Consider containment / isolation, elevating chlorination, and/or discharge of suspect water. Evaluate spread of suspect water and potential impact on public health. | Notification phone numbers can be obtained from the Organization Contact List in the Appendices as well as from Section III.D of the ERP. The immediate operational response actions are primarily intended to limit exposure of customers to potentially contaminated water. See EPA Toolbox Module 2, Section 3.3.2 for guidance on containing contaminants and evaluating movement of potentially contaminated water through distribution systems. |
| III. Monitoring | Initiate Site Characterization Activities: Define the investigation site. Designate site characterization team members. Conduct preliminary assessment of potential site hazards. Approach site and conduct field safety screening to detect any hazards to the characterization team. Search for physical evidence (discarded containers, etc.). Investigate records from CCTV cameras. Look for environmental indicators (dead animals or fish, dead vegetation, unusual odors or residues). Perform rapid field testing of the water. Collect water samples according to sampling plan. | Site Characterization is intended to gather critical information to support the ‘credible’ stage of threat evaluation. If signs of a hazard are evident during the site approach, the team should halt their approach and immediately inform the [WUERM] of their findings. The site may then be turned over to the HAZMAT Team. The [WUERM] may determine the threat is credible based preliminary information before the site characterization has been completed. |
| IV. Recovery and Return to Safety | Determine if threat is credible. If YES, initiate AP 1B. If NO, Return to normal operations. Store water samples for (enter predetermined time period here). | You should determine whether or not the threat is ‘credible’ within 2 to 8 hours (preferably within 2 hours) from the time the threat is deemed ‘possible’, depending on the effectiveness of the containment strategy. If the threat is not deemed ‘credible’, the samples obtained during site characterization should be stored in case the situation changes and analysis is determined to be necessary. |
| V. Report of Findings | File incident reports. | The Utility [Security Director] should file an internal report for the Utility’s files, and also provide information as requested to Local Law Enforcement. |
| VI. AP-1A Revision Dates |  |