Threat Evaluation Worksheet

INSTRUCTIONS

The purpose of this worksheet is to help organize information about a contamination threat warning that would be used during the Threat Evaluation Process.  It gathers information that can be used to help determine threat credibility and to provide information to outside agencies.  The individual responsible for conducting the Threat Evaluation (typically the Incident Commander or his/her designee)  should complete this worksheet.  This individual could be someone from the utility or if necessary PWSS staff.  The worksheet is generic to accommodate information from different types of threat warnings; thus, there will likely be information that is unavailable or not immediately available.

THREAT WARNING INFORMATION

Date/Time threat warning discovered:

Name of person who discovered threat warning:

Type of threat warning:

(  Security breach	(  Witness account	(  Phone threat
(  Written threat	(  Law enforcement	(  Unusual water quality 
(  News media	(  Consumer complaints	(  Public health notification

(  Other

Identity of the contaminant:	(  Known	(  Suspected	(  Unknown

If known or suspected, provide additional detail below

(  Chemical	(  Biological	(  Radiological

Describe

Time of contamination:	(  Known	(  Estimated	( Unknown

If known or estimated, provide additional detail below

Date and time of contamination:

Additional Information:

Mode of contamination:	(  Known	( Suspected	( Unknown

If known or suspected, provide additional detail below

Method of addition: 	(  Single dose	(  Over time	(  Other

Amount of material:

Additional Information:

Site of contamination:	(  Known	( Suspected	( Unknown

If known or suspected, provide additional detail below

Number of sites:  										Provide the following information for each site.

Site #1

Site Name:

Type of facility

(  Source water	(  Treatment plant	(  Pump station 
(  Ground storage tank	(  Elevated storage tank	(  Finished water reservoir
(  Distribution main	(  Hydrant	(  Service connection 
(  Other

Address:

Additional Site Information:

Site #2

Site Name:

Type of facility

(  Source water	(  Treatment plant	(  Pump station 
(  Ground storage tank	(  Elevated storage tank	(  Finished water reservoir
(  Distribution main	(  Hydrant	(  Service connection

(	Other

Address:

Additional Site Information:

Site #3

Site Name:

Type of facility

(  Source water	(  Treatment plant	(  Pump station
(  Ground storage tank	(  Elevated storage tank	(  Finished water reservoir
(  Distribution main	(  Hydrant	(  Service connection

(	Other

Address:

Additional Site Information:

ADDITIONAL INFORMATION

Has there been a breach of security at the suspected site?	(  Yes	(  No

If “Yes”, review the completed ‘Security Incident Report’

Are there any witness accounts of the suspected incident?	(  Yes	(  No

If “Yes”, review the completed ‘Witness Account Report’

Was the threat made verbally over the phone?	(  Yes	(  No

If “Yes”, review the completed ‘Phone Threat Report’

Was a written threat received?	(  Yes	(  No

If “Yes”, review the completed ‘Written Threat Report’

Are there unusual water quality data or consumer complaints?	(  Yes	(  No

If “Yes”, review the completed ‘Water Quality/Consumer Complaint Report’

Are there unusual symptoms or disease in the population?	(  Yes	(  No

If “Yes”, review the completed ‘Public Health Report’)

Is a ‘Site Characterization Report’ available?	(  Yes	(  No

If “Yes”, review the completed ‘Site Characterization Report’

Are results of sample analysis available?	(  Yes	(  No

If “Yes”, review the analytical results report, including appropriate QA/QC data

Is a ‘Contaminant Characterization and Transport Worksheet’ available?

(  Yes	(  No

If “Yes”, review the completed ‘Contaminant Characterization and Transport Worksheet’

Is there relevant information available from external sources?	(  Yes	(  No

Check all that apply

( Local law enforcement	( FBI	( DW primacy agency
( Public health agency	( Hospitals/911 call centers	( US EPA/WaterISAC
( Media reports	(  Homeland security alerts	( Neighboring utilities

( Other

Point of Contact:

Summary of key information from external sources (provide detail in attachments as necessary):

THREAT EVALUATION

Has normal activity been investigated as the cause of the threat warning?

(  Yes	(  No

Normal activities to consider

(  Utility staff inspections	( Routine water quality sampling
(  Construction or maintenance	( Contractor activity
(  Operational changes	( Water quality changes with known cause

(  Other

Is the threat ‘possible’?	(  Yes	(  No

Summarize the basis for this determination:

Response to a ‘possible’ threat:

(  None	( Site characterization 	( Isolation/containment
(  Increased monitoring/security	(  Other

Is the threat ‘credible’?	(  Yes	 (  No

Summarize the basis for this determination:

Response to a ‘credible’ threat:

(  Sample analysis	(  Site characterization	(  Isolation/containment
(  Partial EOC activation	(  Public notification	(  Provide alternate

water supply

(  Other

Has a contamination incident been confirmed?	(  Yes	(  No

Summarize the basis for this determination:

Response to a confirmed incident:

(  Sample analysis	(  Site characterization	(  Isolation/containment
(  Full EOC activation	(  Public notification	(  Provide alternate water

(  Initiate remediation and recovery 	supply

(  Other

How do other organizations characterize the threat?

| Organization | Evaluation | Comment |
| --- | --- | --- |
| Local Law Enforcement | Possible Credible Confirmed |  |
| FBI | Possible Credible Confirmed |  |
| Public Health Agency | Possible Credible Confirmed |  |
| Drinking Water Primacy Agency | Possible Credible Confirmed |  |
| Other | Possible Credible Confirmed |  |
| Other | Possible Credible Confirmed |  |

SIGNOFF

Name of person responsible for threat evaluation:

Print name

Signature							  Date/Time: